## Slide 2: Three Imaging Methods
B/W image = anatomy
‘Colour’ Doppler = blood movement /
direction
‘Waveform’ Doppler = quality of flow
(e.g. velocity, VFR)

## Slide 3: Three areas to examine
The supplying artery
Main body of the fistula (vein)
Outflow into deep veins

## Slide 4: Brachial Artery (normal inflow)

## Slide 5: Pristine fistula origin

## Slide 6: FISTULA ORIGIN Typical perivascular vibration

## Slide 7: Tortuous anastomosis

## Slide 8: Main body of Fistula

## Slide 9: Colour filling entire fistula

## Slide 10: Outflow : Cephalo-Subclavian confluence

## Slide 11: Outflow : SCV typically pulsatile, high volume

## Slide 12: IJV : slightly pulsatile, antegrade flow

## Slide 13: Volume Flow Rates (VFR)
Time Averaged Mean Velocity & Cross Section Area
Over 3 cardiac cycles
500 / 600mL/min = borderline sufficient
<350 / 400mL/min = critically low

## Slide 14: Doppler measurements
Straight segment
Tilt probe to angle vessel on screen
Steer colour box in line with vessel direction
Colour sensitivity to match expected flow velocities
Doppler angle 30° to 60°

## Slide 15: VFR

## Slide 16: Typical Fistula Waveform : slightly ‘scrappy’ profile

## Slide 17: COMMON ABNORMALITIES

## Slide 18: Triphasic inflow = problem with fistula Typical low resistance flow Triphasic arterial flow

## Slide 19: Long standing fistula origin No stenosis

## Slide 20: Repeated access : stenosed

## Slide 21: Critically stenosed : flow limiting

## Slide 22: Fistula Stenosis
Velocities at Peak Systole (PSV)
ratio >2 = >50% stenosis

## Slide 23: Fistula : pre stenosis PSV

## Slide 24: Fistula : intra stenosis PSV

## Slide 25: Post stenosis loss of pulsatility

## Slide 26: Extensive thrombus Not occluded

## Slide 27: Barely patent : transverse image

## Slide 28: Occluded (thrombosed)

## Slide 29: SCV flow returns to normal No ‘arterialised’ flow

## Slide 30: Rigid valve

## Slide 31: Valve causing a stenosis

## Slide 32: Aneurysmal BCF (outflow chronically impeded?)

## Slide 33: Haematoma