CPD Questions Autumn 2015

Radiofrequency Ablation of Varicose Veins

1 What type of generator is used for RFA?

Radiofrequency ablation of varicose veins involves heating the wall of the vein using a bipolar generator.

2 How many cm/minute is the catheter is manually withdrawn?

The catheter is manually withdrawn at 2.5–3 cm/minute.

3 What temperature is maintained?

The vein wall temperature is maintained at 85°C.

4 What percentage of Long Saphenous Veins were immediately occluded using RFA technique?

Evidence indicated that radiofrequency treatment resulted in immediate occlusion of 90–100% of long saphenous veins.

5 What percentage of patients experienced clinical phlebitis post-operatively?

Clinical phlebitis occurred in 2–3% of patients.

Cyanacrylate Glue

1 When did NICE issue full guidance to NHS England, Scotland, Wales and Northern Ireland on cyanoacrylate glue occlusion of varicose veins?

NICE guidance publish date was June 2015 with changes after publication in October 2015: Minor maintenance and August 2015: Minor maintenance.

2 What two advantages does this treatment have over other varicose vein treatment techniques?

Cyanoacrylate glue occlusion aims to close varicose veins by adherence then fibrosis of the lumen, without the need for tumescent anaesthesia (infusion of a large volume of dilute local anaesthetic around and along the entire length of the vein).

The need for post-operative compression therapy is also reduced.

3 State two theoretical adverse events concerning specialists regarding this technique. Theoretical adverse events: embolisation of glue to the lungs; cerebrovascular complications giving rise to transient or permanent neurological sequelae;

Endovenous Laser Treatment

1 What wavelengths are emitted from the diode laser?

Energy from a diode laser (810 or 940 nm wavelength) is applied in short pulses.

2 In some studies, what percentage range of patients experienced post-operative phlebitis?

In some studies phlebitis was reported in between 5% (21/423) and 12% (10/85) of patients.

Transilluminated Powered Phlebectomy

1 Under what types of anaesthersia can this technique be performed?

Transilluminated powered phlebectomy is performed under general, regional or local anaesthesia.

2 Why might this technique be advantageous over traditional hook phlebectomy?

The main efficacy outcomes identified in the studies were reduced pain and greater cosmetic satisfaction compared to hook phlebectomy. Comparative data suggested that transilluminated powered phlebectomy resulted in similar or less pain, at six weeks, and greater cosmetic satisfaction.

The evidence indicated that fewer incisions were required for transilluminated powered phlebectomy than with hook phlebectomy (mean 6 versus 17 incisions in one study).

It was noted by one Advisor that this procedure might be particularly suitable for the treatment of multiple and recurrent varicosities, which can be difficult to treat by hook phlebectomy.

The comparative data indicated that transilluminated powered phlebectomy had fewer complications than hook phlebectomy. Common complications reported in the studies included haematomas, bruising and paraesthesia.

3 Out of a study of 114 patients, how many developed a post-operative DVT?

One case of deep vein thrombosis, in a study of 114 patients (0.9%), was also reported as a complication of the procedure.