Canon Vascular Days – Peripheral Artery Disease: Non-Invasive Imaging

Wednesday 3 April 2024

- Lower Limb Doppler Waveform Interpretation in Challenging Cases | Dr. Matt Bartlett - presentation on Doppler wave profiles and how they can be used to diagnose arterial perfusion

  - As the pressure gradient decreases, flow lessens

  - As the distal resistance increases, flow lessens

  - Systolic rise time demonstrates a good correlation with ABPI

  - Increased spectral broadening indicates disturbed flow

  - The mean velocity tracing can help to demonstrate the amount of spectral broadening present

- Advanced CT Imaging in Peripheral Artery Disease | Prof. Catherine Roy - presentation on SureSubtraction software for CTA.

  - Can provide extremely detailed picture of flow, even calcified calf and pedal vessels

  - Traditional recontruction time-consuming; SureSubtraction very quick, and can use low-dose contrast

  - Automatic1-click process which takes 3-5 minutes

  - Better identification of tiny vessels and collateral circulation than previous methods; however, very aggressive algorithm, and has a tendency to over-call severe disease

- Clinical Cases in Vascular Imaging | Dr. Kanae Mukai - Presentation comparing imaging techniques.  Prefers the use of no contrast MRA