## Slide 1: Carotid Duplex Scanning

## Slide 2: Carotid Duplex Audit
Two comparisons in audit
  Comparing scan 1 vs scan 2
  Analyse velocities against grading criteria
30 patients
  29 audited – 1 had MRA vs US

## Slide 3: Findings
Scan 1 median % grading vs Scan 2 median % grading:
  (median to account for 10% grading margin reported e.g. 60-70% stenosis. Median = 65%)
14 of 29 patients (48%) had no discrepancy between their reported stenosis percentages.
10 had a 2.5% or 5% discrepancy (34%)

## Slide 4: 24 patients had very similar grading (83%)
Chart: Scan 1 vs Scan 2 discrepancies
| same (no discrepency) | </= 5% difference | 10% or 15% difference | 40% difference
 | 14 | 10 | 4 | 1

## Slide 5: Scan 1 vs Scan 2 Carotid Stenosis Grading
Chart: Scan 1 vs Scan 2 Carotid Stenosis Grading
Scan 1 median | 70 | 85 | 50 | 90 | 90 | 90 | 90 | 65 | 57.5 | 62.5 | 57.5 | 90 | 90 | 65 | 90 | 85 | 85 | 35 | 50 | 90 | 55 | 55 | 90 | 60 | 85 | 50 | 92.5 | 60 | 55
Scan 2 median | 65 | 85 | 50 | 90 | 90 | 90 | 90 | 50 | 60 | 65 | 57.5 | 90 | 90 | 70 | 90 | 90 | 75 | 45 | 55 | 90 | 55 | 50 | 90 | 50 | 87.5 | 90 | 90 | 60 | 50

## Slide 6: Findings continued…
1 patient had a 40% difference – complex patient due to chronic contralateral CCA occlusion.
4 patients had a 10% or 15% difference (14% of sampled patients).
  Pt A: 60-70% vs 50% (scans 10 days apart)
  Pt B: ~60% VS >50% (caveat on 2nd report; velocities may not accurately grade the significance due to echolucent plaque/thrombus)
  Pt C: 30-40% vs 45% (two episodes 3 months apart. Not an official “2nd scan”)
  Pt D: 10% difference in medians (scans on same day)

## Slide 7: How would we grade Pt D?
Scan 1 (Machine: S8)

## Slide 8: Scan 1

## Slide 9: Scan 1

## Slide 10: Scan 2 (Machine: E9)

## Slide 11: Scan 2

## Slide 12: Scan 2

## Slide 14: Reported Stenosis vs Grading Criteria
The greatest range that the 4 different grading criteria would report the disease as was 30%.
24 of 29 patients were reported within 5% of how the grading criteria would categorise the disease (83%).
2nd part of audit
Notes: The greatest difference between a range that the 4 different grading criteria would report the disease as was 30%.

## Slide 15: Scan 1 Analysis - Report (median) vs Criteria Grading Table (median)
Chart: 
| same (no discrepency) | </= 5% difference | 7.5% difference | 10% difference | 15% difference | 30% difference
 | 10 | 14 | 1 | 2 | 1 | 1

## Slide 16: Scan 1 - Report vs Criteria Grading Table (median)
Key

## Slide 17
Chart: Scan 2 Analysis
 | 5 | 0 | -5 | 0 | 0 | 0 | 15 | -5 | 0 | -15 | 2.5 | 0 | 0 | 0 | 0 | 0 | 5 | -5 | 0 | 0 | 0 | -5 | 0 | -5 | 7.5 | 15 | 0 | 5 | -5
 | 65 | 85 | 50 | 90 | 90 | 90 | 90 | 50 | 60 | 65 | 57.5 | 90 | 90 | 70 | 90 | 90 | 75 | 45 | 55 | 90 | 55 | 50 | 90 | 50 | 87.5 | 90 | 90 | 60 | 50
 | 60 | 85 | 55 | 90 | 90 | 90 | 75 | 55 | 60 | 80 | 55 | 90 | 90 | 70 | 90 | 90 | 70 | 50 | 55 | 90 | 55 | 55 | 90 | 55 | 80 | 75 | 90 | 55 | 55
Red - Scan 2 grading (median)
Green – Grading by criteria grading table (median)
Blue - Difference between Scan 2 and criteria grading table

## Slide 18
Chart: Scan 2 Analysis - Report vs Criteria Table (medians)
| same (no discrepency) | </= 5% difference | 7.5% difference | 15% difference
 | 15 | 10 | 1 | 3

## Slide 19: Why might we be getting reporting discrepancies
Different day
Different machine
Different sonographer

## Slide 20: Scanning a significant stenosis
VSU Protocol

## Slide 21: Carotid Duplex Scanning
Minimum image requirements

## Slide 22: Discussion points
Should we report an exact percentage, or a range? If a range, 5, 10 or 20% range?
Which grading criteria do you each think is most representative?
Affect on velocities of echolucent plaque/thrombus vs calcified plaque.

## Slide 23: What the literature says
Regarding ICA grading criteria

## Slide 24: Summary
Compare the 1st and 2nd scan grading categories to see if they fall within a similar range. If the 2nd scan is different %stenosis range, this audit will investigate this and aim to report the reason or whether this is a significant discrepancy applying the process as described in the MDT Ultrasound Audit V1 (Document 034) FINDINGS: 83% of patients same grading category reported at scan 1 and 2.
The 1st scan and the 2nd scan grading categories are investigated to ensure they have applied and reported the appropriate % stenosis grading for the velocity data FINDINGS: 83-86% of patients graded in accordance to grading criteria.