## Slide 1: Carotid Doppler ULTRASOUND
Leah Cunningham,
courtesy of Janine Fletcher, Vascular scientists

## Slide 2: Signs and symptoms
Hemiparesis (weakness)
Paraesthesia
Dysphasia, Aphasia
Amaurosis fugax
Bruit

## Slide 3: What causes stroke/TIA?
Infarction in the brain. This can be:
    Haemodynamic (rarely); very tight stenosis or an occlusion causes fall in perfusion pressure. Symptoms tend to be progressive
  Thrombo-embolic (85%); clots/debris travel within arterial system and lodge in cerebral hemisphere. 50% arise from disease in the carotid arteries. Symptoms are often transient
Notes: obstruction of the blood supply to an organ or region of tissue, causing local death of the tissue.

## Slide 4: Carotid disease
Most commonly due to atherosclerosis causing build up of plaque on the artery walls

## Slide 5: Carotid imaging requirement
NICE guidelines
  “All people with suspected TIA who after specialist assessment are considered as candidates for carotid endarterectomy should have carotid imaging within 1 week of onset of symptoms.”
  Surgery is likely to be beneficial in people with stable neurological symptoms from TIA who have symptomatic carotid stenosis of significant diameter reduction

## Slide 6: Carotid duplex ultrasound
Duplex = imaging plus Doppler (flow) studies
Cheap
Accessible
No radiation or contrast needed

## Slide 7: What do we scan?
Extracranial anatomy

## Slide 8: Duplex scanning
B mode imaging
Colour Doppler
Spectral Doppler

## Slide 9: Overview
Define Plaque
site
extent
appearance
Record Velocities
Grade Stenoses
Note points of interest

## Slide 10: B mode imaging
Normal

## Slide 11: B mode imaging
Plaque classification
  Echogenic/echolucent
  Heterogeneous/homogeneous
  Irregular/smooth
  Isolated/extensive
  Ulcerated?
Notes: Link to liklihood of rupture stability

## Slide 12: B mode imaging
Disease

## Slide 13: B mode imaging
Disease

## Slide 14: How does Doppler work?

## Slide 15: Aligning Doppler angle

## Slide 16: Importance of Doppler angle
Angle of insonation should NOT be more than 60° as % error is too great

## Slide 17: Colour Doppler
Normal

## Slide 18: Colour Doppler
Stenosis

## Slide 19: Colour Doppler
Occlusion

## Slide 20: Colour Doppler
Vertebral artery assessment

## Slide 21: Spectral Doppler
Normal CCA
Pre-occlusion

## Slide 22: Spectral Doppler
Normal ECA

## Slide 23: Spectral Doppler
Normal ICA
Notes: At systole: Sharp systolic rise time, Clear Systolic Window, At diastole: Continuous forward flow through diastole

## Slide 24: Spectral Doppler
Stenosis

## Slide 25: How do we grade a stenosis?
Looked at benefit of performing surgery for different degrees of stenosis
Symptomatic
50–99% according to NASCET criteria
70–99% according to ECST criteria
2 pivotal studies: NASCET and ECST
Notes: North American symptomatic carotid endarterectomy trial and European carotid surgery trial

## Slide 26: How do we grade a stenosis?
Carotid imaging is used to define the extent of carotid artery narrowing- the % stenosis
Haemodynamic significance
  Oates, C. P. et al. 2008. Joint Recommendations for Reporting Carotid Ultrasound Investigations in the United Kingdom. European journal for vascular and endovascular surgery. Volume 37 (3) p251-61

## Slide 27: Case study
80 year old male
Ex-smoker
Hypertension
Known CAD
Episode of left leg weakness
Right arm was also weak later

## Slide 28: Case study

## Slide 29: Case study

## Slide 30: Case study

## Slide 31: Case study

## Slide 32: Case study
Vascular referral
  Right carotid lesion is not consistent with bilateral symptoms
  Risk of right sided carotid endarterectomy not deemed appropriate
  7 day heart monitor requested to look for other sources of emboli

## Slide 33: Other abnormalities
Subclavian steal
Dissection
Aneurysm
Carotid body tumour

## Slide 34: Are there limitations?
Patient positioning/mobility
Neck size/length
Doppler angle correction
Acoustic shadowing from calcified plaque

## Slide 35: Are there limitations?
Difficult to correct Doppler angle due to shadowing

## Slide 36: Other uses?
Pre-endarterectomy
  Confirm disease
  Confirm patency of ICA
  Mark bifurcation
Pre-cardiac surgery
  To reduce peri-operative events
Pulsatile tinnitus
  In NICE guidance

## Slide 37: DEMO