Environmental and Patient Specific Factors associated with AVF Blood Flow

David H King*#, Graeme Taylor,PhD±, Mo Al Qaisi, MD#, Sumith C Abeygunasekara, MD# and Abdelgalil A Ali, MD# . Broomfield Hospital, Chelmsford, Essex, UK#, Kings College Hospital, London, UK±.

Background: AVF blood pressure measurement using a novel monitoring device BluedopTM combined with Color Duplex blood flow measurement has been used to identify the incidence of Normal and Failing Arteriovenous Fistulae 1. The study protocol has been repeated in two widely different environments, Europe (UK) and Africa (Sudan).

Methods: A patented algorithm based on  blood velocity waveform shape, was used to calculate mean distal brachial artery blood pressure P  proximal to the a-v anastomosis. Dividing flow Q by pressure P yields venous conductance VC.  A value of less than 10ml per minute per mmHg correlates with a significant venous outflow stenosis of 60% or greater.

Results: There were 54 dialysis patients in the Sudan cohort of which 9 were failing according to VC criteria leaving 45 normally functioning AVF .There were 68 dialysis patients in the UK cohort of which 10 were failing, leaving 58 normally functioning AVF in the study. There was no significant difference in the percentage of failing AVF in either group (Sudan = 17%, UK = 15%).  Table 1 shows Mean ± 1SD for P, Q and VC in normally functioning AVF.

| Location | P mmHg | Q ml/min | VC ml/min/mmHg |
| --- | --- | --- | --- |
| Sudan normal AVF | 50 ± 19 | 1797 ± 843 | 38.8 ± 21.3 |
| UK normal AVF | 48 ± 11 | 1062 ± 543 | 22.4 ± 11.1 |

AVF blood flow in the Sudanese cohort was 69% greater than the UK cohort. This is a highly significant difference. The following dependencies were tested and shown to be minor or not significant NS. The tests shown here were on the Sudanese cohort: AVF Flow vs Age = NS (R2= 0.0019), AVF Flow vs Gender = NS ( female vs male = 1578 ± 567ml/min vs 1882 ± 910 ml/min ). In contrast published values for minimum seasonal ambient temperatures show Khartoum is approximately 14 deg C hotter than London throughout the year, supporting the concept of a temperature related association with AVF development.

Conclusion: Further research into the influence of a range of low medium and high seasonal temperatures on AVF blood flow may supply insight into early AVF failure as well as early maturation.

1  Volume blood flow, static pressure ratio and venous conductance in native arterio-venous fistulae: three surveillance methods compared: J Vasc Access 2015;16(3);211-217