Medical imaging convention – 6-7th June 2018.

I attended the medical imaging convention on both days. Talks of particular interest were about 3D printing for surgical planning and VR and AR. Philips had a stand there and their new probes which plugged into any android tablet were impressive but unfortunately lacked pulsed wave technology at this point, however would be suitable for a bedside DVT scan, AAA screening or very basic carotid scan. No CPD certificate has been issued for this conference.