- A matching layer in front of a piezoelectric transducer element is most efficient at increasing the transmission of ultrasound into tissue whenever:

- the transmission frequency is greater than 9MHz

- the matching layer has the same thickness as the piezoelectric plate

- harmonic mode is selected

- the transmission frequency is between 3 and 5MHz

- the layer has a thickness equal to 25% of the transmission wavelength