## Slide 1: The VOPIC Feasibility Study
Venous Outflow changes in Patients undergoing deep venous Iliofemoral reCanalisation
Katherine Chamberlin
Nottingham University Hospitals NHS Trust

## Slide 2: Background
Iliofemoral venous obstruction (DVT, stenosis, compression)
Recanalisation (venoplasty ± stenting)
Reduced venous outflow
Air plethysmography to assess venous outflow

## Slide 3: Rationale
Generally, venous assessments are not quantitative
Outflow determined by plethysmography may provide a useful quantitative measure
Iliofemoral DVT has worse outcomes - is a new/improved management plan needed?
Safer and cheaper than CT

## Slide 4: Aims
To determine:
  whether plethysmography is sensitive enough to detect changes in venous outflow after recanalisation
  the repeatability of venous plethysmography
  normal ranges of outflow in healthy volunteers

## Slide 5: Sample Size and Recruitment
10 patients and 10 healthy volunteers
Patients from vascular clinics by vascular scientists, doctors and nurses
Healthy volunteers using posters in communal areas of the hospital

## Slide 6: Inclusion Criteria
Patients | Healthy Volunteers
≥ 18 years old and ability to give consent | 
Diagnosed iliofemoral venous disease | No history of DVT or venous disease
Planned iliofemoral venoplasty ± stenting | 

## Slide 7: Exclusion Criteria
Patients | Healthy Volunteers
Age < 18 years old | 
Unable to comply/ give consent | 
Non-iliofemoral venous disease/recanalisation not planned | History of DVT/venous disease

## Slide 8: Trial Assessments (Measurements)
Plethysmography to assess venous outflow
Ultrasound – iliac and common femoral veins
Questionnaires - VCSS and Villalta
Leg circumference measurements

## Slide 9: Timeline

## Slide 10: Statistical Analysis
Paired t-test comparing outflow before and after recanalisation
Repeatability of outflow measurements analysed using intraclass correlations

## Slide 11: Summary
Ethical approval obtained (21/11/19)
Recruitment to start ASAP