## Slide 1: Carotid Doppler ULTRASOUND
Janine Fletcher, Vascular scientist

## Slide 2: Who do we scan?
Pre-cardiac surgery
Pulsatile tinnitus
Postural symptoms, vertigo
Stroke/TIA

## Slide 3: What is a stroke/TIA?
A stroke or TIA occurs as a result of infarction in the brain. This can be caused by 2 types of situation:
  Thrombo-embolic; clots or debris travel within arterial system and lodge in cerebral hemisphere. Can arise from disease in the carotid arteries. Often leads to transient weakness or sensory dysfunction
  Haemodynamic; very narrow stenosis or an occlusion causes fall in perfusion pressure and ischaemia results. Symptoms produced tend to be progressive

## Slide 4: Signs and symptoms
Bruit
Unilateral weakness
Loss of sensation
Aphasia
Amaurosis fugax

## Slide 5: When is carotid imaging required?
NICE guidelines
  “All people with suspected TIA who after specialist assessment are considered as candidates for carotid endarterectomy should have carotid imaging within 1 week of onset of symptoms.”

## Slide 6: Carotid duplex ultrasound
Duplex = imaging plus Doppler (flow) studies
B mode imaging
Colour Doppler
Spectral Doppler

## Slide 7: What do we scan?
Extracranial anatomy

## Slide 8: B mode imaging
Normal

## Slide 9: B mode imaging
Plaque classification
  Echogenic/echolucent
  Heterogeneous/homogeneous
  Irregular/smooth
  Isolated/extensive
  Ulcerated?

## Slide 10: B mode imaging
Disease

## Slide 11: B mode imaging
Disease

## Slide 12: How does Doppler work?

## Slide 13: Importance of Doppler angle

## Slide 14: Importance of Doppler angle
Angle of insonation should NOT be more than 60° as % error is too great

## Slide 15: Colour Doppler
Normal

## Slide 16: Colour Doppler
Stenosis

## Slide 17: Colour Doppler
Occlusion

## Slide 18: Colour Doppler
Vertebral artery assessment

## Slide 19: Spectral Doppler
Normal ECA

## Slide 20: Spectral Doppler
Normal ICA
Notes: At systole: Sharp systolic rise time, Clear Systolic Window, At diastole: Continuous forward flow through diastole

## Slide 21: Spectral Doppler
Stenosis

## Slide 22: Spectral Doppler
Normal CCA
Pre-occlusion

## Slide 23: Overview

## Slide 24: How do we grade a stenosis?
Haemodynamic significance
  Velocity measurements
  Oates, C. P. et al. 2008. Joint Recommendations for Reporting Carotid Ultrasound Investigations in the United Kingdom. European journal for vascular and endovascular surgery. Volume 37 (3) p251-61

## Slide 25: How do we grade a stenosis?
Diameter reduction

## Slide 26: Case study
80 year old male
Ex-smoker
Hypertension
Known CAD
Episode of left leg weakness
Right arm was also weak later

## Slide 27: Case study

## Slide 28: Case study

## Slide 29: Case study

## Slide 30: Case study

## Slide 31: Case study
Vascular referral
  Right carotid lesion is not consistent with bilateral symptoms
  Risk of right sided carotid endarterectomy not deemed appropriate
  7 day heart monitor requested to look for other sources of emboli

## Slide 32: Other abnormalities
Subclavian steal
Dissection
Aneurysm
Carotid body tumour

## Slide 33: Are there limitations?
Patient positioning/mobility
Neck size/length
Acoustic shadowing from calcified plaque
Doppler angle correction

## Slide 34: Are there limitations?
Acoustic shadowing limits Doppler information

## Slide 35: Are there limitations?
Difficult to correct Doppler angle due to shadowing

## Slide 36: Scanning pre-endarterectomy
Confirm disease
Confirm patency of ICA
Mark bifurcation

## Slide 37: Case study
53 year old woman presenting with severe expressive dysphasia and right facial droop
NIHSS score of 9
MRI showed left side infarct
Dopplers also done
Subsequent CTA showed extensive left carotid occlusion
High dose aspirin, PPI
Not a candidate for surgery