The use of ultrasound to assess giant cell arteritis: review of the current evidence and practical guide for the rheumatologist

Sarah Monti et al

Halo is wall oedema – can reach 100% specivity if bilateral halo seen, but sensitivity lower.

This study has found papers suggesting 1mm as cut-off for normal intima media thickness of AxArt, 0.3mm temp art. Ie.Halo is significant at 1.1mm axillary artery and 0.4mm temporal artery

“Diagnostic of vasculitis” with 1.5mm AxArt and >0.7mm temp art

Duplex carried out at 2, 4, 8 and 12 weeks post commencing steroids – halo disappeared mean of 21 days. Patients with less vessels affected resolve quicker.

Halo size is smaller after only 2-4 days – should there be a lower limit for halo?? But……axillary arteries, the halo persists for months to years.

GCA – other vessels involved:-

Subclavian/Axillary – 30-75%

Thoracic aorta – 45-65%  MRI/PET studies show that if Ax +ve then almost always ThorAo +ve

Most commonly involved is Ax art, which is often bilateral. Czihal showed 39% of their gca cohort had only Ax halo.  28% of this cohort had carotid artery halo too.

Facial arteries can be involved but did not add to the sensitivity….just added to length of scan.

Equipment recommendations:-

Ax art >10MHz

Temp art >15MHz hockeystick

Colour Doppler freq >6MHz

If halo suspected – do compression and document thickness of IM in longitudinal plane.

Takayashu arteritis has mid to high echogenicity halo rather than low echogenicity in GCA.

Stenosis and occlusion were not found to be sensitive or specific GCA

Oxford Nuffield SOP

Axillary arteries – origin to 10cm beyond bifurcation – 1.1mm

CSTA – whole length – IM 0.4mm

Parietal – up to 10cm from CSTA bifurcation – 0.3mm

Frontal – to bifurcation into distal (hairline on forehead) – 0.3mm

Differentiate atherosclerosis (hyperechoic and irregular) from halo. Include note of presence in comments.

Store image of all vessels in B mode/LS

If halo suspected, then measure IMT in LS and save cineloop of compression in TS