Vascular Studies Unit

Department of Surgery

Royal United Hospitals Bath NHS Foundation Trust

# Standards & Protocols

For Vascular Ultrasound Examinations

# Contents

- General guidance applicable to all investigations

- Carotid Duplex Assessment

- Ankle Brachial Pressure Indices (ABPI) with or without exercise

- Lower limb arterial duplex assessment

- Duplex Assessment For Bypass Grafts (graft surveillance)

- Upper Limb Arterial Duplex Assessment /TOS

- Abdominal Aorta – Aneurysmal Disease

- Endovascular Aneurysm Repair (EVAR) Surveillance

- Mesenteric Artery Duplex Assessment

- Renal Artery Duplex Assessment

- Lower Limb Arterial Duplex – False Aneurysm

- Ultrasound Guided Thrombin Injection of False Aneurysm

- Temporal Artery Duplex Scan

- Lower Limb Venous Duplex Assessment – Reflux

- Lower Limb Venous Duplex Assessment – Deep vein thrombosis

- Upper Limb Venous Duplex Assessment – Deep vein thrombosis

# General guidance applicable to all investigations

Investigations should only be carried out by scientific or technical staff trained or training in vascular duplex scanning.

## Prior to attendance

- The patient should be aware of any special requirements or preparation prior to attendance in the unit. If a letter is sent out this takes the form of an attached sheet answering some common questions. If the appointment is made over the phone a short explanation can be given over the phone.

## Before the investigation

- If the examination doesn’t already exist on CRIS (It should be if it has been requested on ICE (by GPs) or EVENTUALLY on Quick Orders on Millennium (by hospital doctors)) it needs to be created using the appropriate CRIS exam codes. Until Quick Orders is properly set up for the VSU the only exams available are ABPI, Carotid, DVT and Other.

- Prior to the scan, the patient should be attended in CRIS. They will then be available on the Work List, found on the Patient screen on the duplex scanner (you will need to press the “Query” button to refresh the list). Click on the name of the patient and then press the “B Mode button”. The duplex scanner will then enter scanning mode with the patient details seen on top of the screen.

- The patient should be positively identified by two means (e.g. full name, address, date of birth)

- The reason why the test is being carried out should be explained.

- A description of what to expect should be given.

- A brief clinical history should be obtained if appropriate to investigation. Check this against the referral.

- The patient should be verbally consented for the procedure.

- Any patient handling problems should be identified and managed in accordance with local Manual Handling guidelines and protocols. See “ RUH Safer Manual Handling Policy (May 2016, review date May 2019)”

- Infection risks should be identified and managed in accordance with Infection Control Policies. See “RUH Standard Infection Control Precautions (February 2018, review date February 2021)”.

## During the investigation

- Only relevant items of clothing should be removed for all investigations ie underpants left on if pyjama bottoms removed. If no underwear then patient should be allowed to place towel in appropriate place before examination commences. Modesty should remain at all times.

- The patient should be positioned appropriately for the investigation (may depend on who is performing test).

- The appropriate equipment for the examination should be selected.

- The ultrasound machine should be optimised for the examination and controls continually adjusted to ensure image optimisation – Apply default setting for the exam and when necessary adjust depth, B-mode gain, focal point(s), colour box size & position, velocity scales.

- All images should be appropriately labelled.

## Following the investigation

- The patient should be given an explanation of the results if appropriate.

- The patient should be informed who will receive the test results and what they should do next.

- The exam should be ended (press the End Exam button), and then the End Current Patient button pressed. This will send all of the images to PACS.

- Report should be written and saved on CRIS.

- Urgent information should be verbally communicated to referrer/ referring team or discussed with the vascular surgery team (Consultant of the Week, COW, Consultant on Call, COC, or Vascular Registrar) via the Bristol, Bath and Weston (BBW) Vascular Network office at North Bristol Trust (NBT) on 01174140798 and if required an outpatient appointment should be made.

- Any inconclusive tests should be discussed with the referring clinician

## Bristol, Bath and Weston (BBW) Vascular Network

- For information of on the standardised operating procedures across the local area vascular network see the “Standard Operating Procedures for Clinical Vascular Scientists” document. Version 1.0, 2016. Elliot, L et al. This includes information on the CRIS and Diagnostic codes that should be used for each examination, the minimum report content and the Diagnostic codes to be used to note presence of disease.

## Further information

- SVT Work Related Upper Limb Disorders Policy –

https://www.svtgbi.org.uk/media/resources/SVT_-_WRULD_Policy_-_march_2018_VG7SWP8.pdf

- SVT Image Storage Guidelines

- SVT Code of Conduct - https://www.svtgbi.org.uk/media/resources/Code-Professional-Conduct_2016.pdf

- SVT Chaperone Policy

# Carotid Duplex Assessment

## Background to test

- Referrals from TIA/Stroke doctors on clinical suspicion of carotid artery territory stoke, Cardiac doctors pre cardiac surgery or GPs for patients presenting with an bruit or incidental finding.

- Specialist fast track service for rapid access TIA clinic, with patients being seen in clinic first and then appropriate, high risk patients being referred for a same day scan.

- The purpose of the scan is to identify the site and severity of carotid artery disease and identify lesions that may be suitable for carotid endarterectomy. Hence the scan should only be performed in patients suitable for carotid endarterectomy

- Symptoms and risk factors should be noted to determine asymptomatic from symptomatic disease.

- Any significant disease (>50% stenosis symptomatic) should be noted. If there is a vascular surgeon present they should be informed. If not the patient should be referred back to the referring doctor and they should contact the vascular network office. It can then be decided whether the patient needs to be seen the same day or if the patient should be made an outpatient appointment with the next available consultant.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the exam code UCARO.

Examination – Based on “Joint Recommendations for Reporting Carotid Ultrasound Investigations in the United Kingdom, Oates 2009” and “Standard Operating Procedures for Clinical Vascular Scientists”. Version 1.0, 2014. Elliot, L et al.

- Preferred patient position - the patient should be scanned in a supine position lying back slightly (normally easier without pillows to extend the neck). It may be necessary for the patient to be scanned on a trolley or in a wheelchair if immobile.

- Equipment required – Duplex scanner with appropriate linear transducer (5-10 MHz). A curvy-linear probe can be used to look at patient with a high carotid bifurcation (this has a lower resolution and no beam steering however)

- Machine presets: The presets for the GE Logiq E9 are “carotid” in the “Vascular” menu.

- Scope of test: The examination will usually include assessment of the subclavian artery, common carotid artery, internal carotid artery and external carotid artery, and a brief assessment of vertebral arteries (to check flow direction – If reversed flow/steal seen ask patient about arm claudication symptoms).

- Technique – B-mode imaging in transverse and longitudinal orientation should be used to visualise the carotid arteries and determine presence or absence of atheroma. A qualitative analysis should be made of the plaque composition if possible (smooth/irregular/ulcerated, hypoechoic/hyperechoic/calcified).  Colour Doppler should be used to demonstrate patency, direction of flow, filling defects and to highlight stenotic and disturbed flow. When in long section Pulsed spectral Doppler should be used to determine degree of stenosis and provide additional information regarding inaccessible inflow or outflow lesions. In cases of  ?occlusion/sub-occlusion power Doppler should be used to look for low flows

- Doppler Measurements

- Velocity spectra data for the SCA,CCA, ICA, ECA and VA, should be taken.

- A Doppler angle of 0-60º should be used when taking velocity measurement.

- Measurement of the CCA velocity should be made within 2cm of the bifurcation, at a point where the vessel still has a uniform diameter.

- Measurements of ICA velocities should be taken for a) normal arteries, distal to the carotid bulb where the artery is of a uniform diameter b) diseased arteries, at the point of maximum aliasing/ peak PSV.

- Criteria - The following disease categories and velocity criteria (based on the NSCET criteria) should be used in grading stenoses. If

% stenosis		ICA PSV	ICA PSV to	ICA PSV to

NASCET		cm/sec		CCA PSV	CCA EDV

<50%			<125		<2		<8

50-59			>125		2-4		8-10

60-69			>125		2-4		11-13

70-79			>230		>4		14-21

80-89			>230		>4		22-29

>90			>400		>5		>30

Near Occlusion	string flow	variable	variable

Occlusion		No flow	N/A		N/A

- In the case of large plaques in large carotid bulbs, but with a good residual lumen, due to the risk of an embolic event a direct measurement of the bulb diameter and plaque thickness (i.e. the ECST ratio) should be made, reporting that there is still a good residual lumen.

## Image storage

The following images, with velocity data where appropriate, should be taken and stored during the scan:

- Subclavain, common carotid, external carotid, internal carotid and vertebral arteries in all scans.

- Images at any significant stenoses, with velocity data prior to and at the stenosis recorded (with the exception of pre stenotic velocities in the case of the external carotid artery).

- Velocity readings in the artery distal to any stenosis.

- An image of the carotid bifurcation to show the presence/absence of disease.

- Any other abnormal anatomy including: aneurysms (include diameter measurements), dissections, carotid body tumours, retrograde flow etc.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

The scan should be reported on CRIS. The report text can be inserted using report code RD1CDP, and report amended as necessary.

- Comment on the subclavian, vertebral, common carotid, carotid bifurcations, internal, and external carotid arteries

- Comment on plaque morphology (smooth/irregular/ulcerated, hypoechoic/hyperechoic, calcified)

- Give summary of findings following above criteria

- The appropriate diagnostic codes should be entered at the end of the report.

- Any significant disease (>50% stenosis symptomatic) should be noted. If there is a vascular surgeon present they should be informed. If not the patient should be referred back to the referring doctor and they should contact the vascular network office. It can then be decided whether the patient needs to be seen the same day or if the patient should be made an outpatient appointment with the next available consultant.

- Any dispute in findings discuss with vascular consultant who will advise on further imaging (CT)

Further information

- Vascular laboratory Practice Part II

- SVT Physiological Measurement – Service Specifications (Carotid Duplex) - https://www.svtgbi.org.uk/media/resources/Carotid_SS_OCT_2017_fVyQgG9.pdf

Vascular Technology Professional Performance Guidelines Extracranial Cerebrovascular Duplex Ultrasound Examination -  https://www.svtgbi.org.uk/media/resources/Carotid_PPG.pdf

# Ankle Brachial Pressure Indices (ABPI) with or without exercise

## Background to test

- Referrals from GP’s and consultants as outpatient investigations

- Junior doctors responsible for in-patient ABPI’s – If ABPIs can’t be obtained patient can be referred onto vascular studies for repeat test.

- Reproducible and quantitative assessment of arterial disease above the ankle. Used to rapidly assess the blood pressure reaching the lower limb and indicate severity of disease

- Exercise tests may quantify the effects of disease in relation to symptoms or may confirm normality

- Used to determine if compression is suitable for patients with leg swelling or ulceration if >1

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the code UABPI.

## Examination

- The following contraindicate against having ABPIs – Patient with suspected or confirmed DVT in the last 6 months or thrombophlebitis, Recent surgery, ulcers, casts or bandages that cannot or should not be compressed with pressure cuffs, Patients who have had a therapeutic intervention (stent or graft) that extends into the lower calf (SVT National Guidelines)

- Preferred patient position: The patient should lie as flat as possible and keep very still during arterial measurements. There should be a short period of rest before the test is performed (5-10 minutes).

- Equipment required – for a resting ABPI a sphygmomanometer with dial gauge, a normal adult arm blood pressure cuff (large cuffs may be required if limb size is abnormally large), a continuous wave hand held Doppler with a 5MHZ or 8MHZ probe and ultrasound gel. For the exercise test all the above is required and a treadmill. After an exercise test the repeat ABPI must be obtained as quickly as possible.

- Method for obtaining brachial systolic blood pressure

- The signal type needs to be recorded, triphasic (normal), biphasic (possibly minor disease), monophasic (significant disease) and monophasic damped (severe disease or ischaemia)

- Place the cuff around the upper arm to obtain the brachial systolic pressure (bladder of the cuff must be over the brachial artery), locate the brachial artery using the Doppler probe (usually at an angle between 45° and 60° but in practice whichever angle gives the strongest signal).

- Listen to the signal which should be triphasic (if not do not use this arm) and inflate the cuff until the artery is occluded and the Doppler signal disappears. Inflate by 20mmHg more after flow has ceased. If indication of difference in BP between arms (which should be indicated on the request form) use the arm with the higher pressure.

- Deflate the cuff slowly approx 4mmHg per second and when the Doppler signal returns the systolic blood pressure can be recorded. Deflate the cuff fully and remove the probe and cuff.

- Method for obtaining ankle pressure

- Place the cuff around the right ankle above but not covering the malleolus

- The signal type needs to be recorded, triphasic (normal), biphasic (possibly minor disease), monophasic (significant disease) and monophasic damped (severe disease or ischaemia)

- Listen in turn to the Doppler signals in the Posterior tibial, Dorsalis pedis, Anterior tibial and Peroneal arteries and determine which is the best by the pulsatility and the strength of the sound

- Use the same method as for the arm to determine the pressure by inflating the cuff and slowly deflating, recording the systolic pressure

- Repeat on the left leg

- Exercise test – performed after resting ABPI

- The following may contraindicate against an exercise test – Chest pain of recent onset, Previous myocardial infarction (MI) or CABG, Evidence of shortness of breath, Unsteadiness when walking, Uncontrolled angina, Hypertension (>200mmHg systolic pressure) (SVT National Guidelines).

- The treadmill is set at a 10% incline and the patient walks at a variable pace suitable to the patient until the patient has to stop or 10 minutes has elapsed.

- The distance to onset of pain and the distance that the patient walks before having to stop should be recorded.

- Return patient to couch as quickly as possible after exercise and repeat the pre-exercise measurements within 2 mins (symptomatic leg first)

- Criteria – Resting ABPI

- In a normal patient, lying supine at rest, the systolic pressure should be equal to or slightly greater that of the ankles.

- In a patient with disease the ankle pressure will be lower than the brachial pressure

- Each limb will vary depending on the disease in each

- The index is calculated to allow for repetition and fluctuations in blood pressure and is called the ABPI (ankle brachial pressure indicies)

- ABPI =    ankle systolic pressure

brachial systolic pressure

- Normal ABPI is >1.0

- The greater the difference between the brachial and the ankle the lower the index and the more significant the disease

| Resting ABPI | Severity of disease |
| --- | --- |
| >1.4 | Incompressible ? calcified arteries |
| >1.0 | Probably no disease |
| 1.0 – 0.81 | No significant disease or mild disease |
| 0.8 – 0.5 | Moderate disease |
| <0.5 | Severe disease |
| <0.3 | Critical ischaemia |

- Patients with a normal ABPI at rest should be exercised (if possible) as a person with a normal ABPI at rest may have a significant ankle pressure drop post exercise and therefore a lower post exercise ABPI indicating disease (not affecting limb at rest)

- An absolute pressure of 50mmHg at the ankle indicates critical disease

- Criteria - Post exercise ABPI

- In the absence of disease the ABPI with remain the same as at rest

- The ABPI will decrease the more severe the disease

- Patients with a lower ABPI post exercise normally have exercised induced leg pain (claudication) and an ABPI post exercise of 0.5 and 0.8

- Measurements of walking distance are used to grade severity along with index

- Problems with ABPI measurements

- Probe movement, probe positioning and angle, signal confusion, arm pressure differences, ulceration, calcification, oedema and cardiac arrhythmia (AF or bradycardia).

- ABPIs may be less reliable in patient with diabetes or known calcification of their arteries

## Image storage

ABPIs are a non-imaging modality, and hence no images are stored from this scan.

## Reporting

- The test should be reported on CRIS, The report text can be inserted using report code RDABPI, and the report amended as necessary.

- The appropriate diagnostic codes should be entered at the end of the report.

## Action

- The report should go back to the referring clinician with a conclusion indicating the significance of the disease and any appropriate action needing to be taken ie referring to the vascular team.

- If the patient has been referred form a vascular clinic the referring surgeon should be notified of the result.

## Further information

- Vascular laboratory Practice Part III

- Vascular Technology Professional Performance Guidelines Ankle Brachial Pressure Index Assessment (ABPI): Resting and Post Exercise - https://www.svtgbi.org.uk/media/resources/ABPI_at_rest_and_post_exerciseSept2015edit.pdf

# Lower Limb Arterial Duplex Assessment

## Background to test

- Referrals from the vascular surgical team only (must have had vascular review if i/p or o/p), on clinical suspicion of arterial disease post ABPI’s (first attempted by ward doctors if an inpatient) unless not obtainable.

- The purpose of the scan is to identify the site, severity and extent of lower limb arterial disease and identify lesions that may be suitable for angioplasty/bypass.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using both the exam codes UAILF and UALLB to create the examination (two of each code should be used if the scan is bilateral). If the scan is a focal scan use the appropriate CRIS exam code for the segment.

## Examination

- Preferred patient position: For iliac and femoral scanning the patient should lie supine on the bed, head supported with pillows.  For popliteal and calf artery scanning the patient can be sat up with legs over the edge of the bed feet resting on a stool/dangling, or on their side either towards the machine for the left leg or away from the machine for the right side (operator dependant).

- Under garments should be left on and the patient’s legs should be covered with a blanket whilst not being scanned to ensure warmth and modesty.

- Equipment required – Duplex scanner with appropriate transducers.3-5MHz curvilinear for iliac arteries, 5-10 MHz for femoral and distal vessels.

- Machine presets: The presets for the GE Logiq E9 are “LEA” in the “Vascular” menu for the 2 linear probes and for curvilinear probe (alternatively the abdominal setting may be used).

- Scope of test: The examination should include assessment of distal abdominal aorta, common iliac artery, origin of internal iliac artery if easily visible, external iliac artery, common femoral artery, profunda origin, superficial femoral artery, popliteal artery and tibio-peroneal trunk.  The calf vessels (peroneal, posterior tibi al and anterior tibial arteries) should be routinely assessed unless otherwise instructed. If ulcers are present it is discretionary as to whether it is possible to scan the calf.

- Criteria: B-mode imaging combined with Colour Doppler should be used to visualise the arteries, determine size, demonstrate patency, and highlight stenotic and disturbed flow areas.  The Pulsed Doppler should be used to obtain and record the peak systolic velocity and the waveform shape (triphasic, biphasic or monophasic and/or hyperaemic). Velocity measurements should be recorded throughout especially in areas where the colour-flow appears altered or disturbed.

- A velocity ratio is obtained from dividing the velocity at the stenosis (Vs) by the velocity proximal to the stenosis (Vp).

- A significant stenosis is defined as an area where there is at least a doubling of the peak systolic velocity which equates to 50% and a quadrupling to >75%. The severity of stenosis is described in terms of the velocity ratio in the pre and stenotic region.

- An occlusion is defined by the absence of Doppler signals.  The length of an occlusion should be measured to determine if it is amenable to angioplasty.

## Image storage

The following images, with velocity data where appropriate, should be taken and stored during the scan:

- Aorta (including diameter measurements), common iliac, external iliac, common femoral, profunda femoral, superficial femoral (origin, proximal, mid and distal vessel), popliteal (above and below knee), TPT, ATA, PTA and peroneal arteries in all scans.

- Images at any significant stenoses, with velocity data prior to and at the stenosis recorded.

- In the case of an occlusion, images showing the start of the occlusion should be stored.

- Any other abnormal anatomy including: aneurysms (include diameter measurements), dissections, retrograde flow etc.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

Results should be entered onto a diagram which should be scanned and reported in CRIS. The report text can be inserted using report code RDLART, and amended as necessary

- Summary: A description of the state of each arterial segment examined should be commented on.

- Diagram:  The velocity and phase data should be entered.  Findings should be also be drawn on the diagram when the report is printed.

- Conclusion:  A brief conclusion on the most significant findings should be written

- Diagnostic Codes: The appropriate diagnostic codes should be entered at the end of the report.

- Action: Any patient with significant disease, rest pain or ischaemia should be made an urgent vascular follow up if o/p and i/p results should be filed in notes and the Drs informed.

## Arterial stents

- If a patient has an infra-inguinal arterial stent they are routinely re-scanned at intervals of 6 weeks post op at consultant f/up appointment, then at 6 and 12 months, unless otherwise requested by a consultant. Report is placed in the appropriate month in the rescan folders with month of future appointment clearly stated.

- An ABPI should also be performed on the leg with the arterial stent.

## Further information

- Vascular laboratory Practice Part III

- SVT Physiological Measurement – Service Specifications (Arterial Duplex)  - https://www.svtgbi.org.uk/media/resources/Arterial_SS_FINAL_EDIT.pdf

- Vascular Technology Professional Performance Guidelines Lower Limb Arterial Duplex Ultrasound Examination - https://www.svtgbi.org.uk/media/resources/LLA_PPG.pdf

# Duplex Assessment For Bypass Grafts (graft surveillance)

## Background to test

- Patients post operation of infra-inguinal bypass graft for symptoms of ischaemia or ulceration routinely scanned. Other grafts such as super-inguinal and crossover grafts not routinely scanned.

- Proximal anastomosis usually arises from the common femoral artery or occasionally from the proximal superficial femoral artery

- Distal anastomosis may be to the popliteal artery (above or below knee), tibioperoneal trunk or one of the crural vessels.

- Grafts can be a synthetic material such as Dacron or PTFE or preferably patient’s vein

- Vein grafts can be in-situ, reversed or translocated ie from arms

- Purpose of graft surveillance is to prevent graft failure and loss of limb

- Any symptoms should be noted to determine asymptomatic from symptomatic disease.

- ABPI should be performed for all infra-inguinal graft, except where the graft is extending into the distal calf.

- Other types of grafts are axillo-femoral (to bypass aortic disease) or femorofemoral crossover grafts (to bypass iliac disease on one side by taking flow from the other) but these are not routinely scanned and use prosthetic material (veins not adequate calibre).

- A patient will have a graft scan at NBT prior to discharge. If patient want surveillance in Bath a copy of the scan report will be sent to the VSU with a covering form indicating next surveillance interval.  Usually a 6 week follow up O/P appointment should be made with graft scan. If everything satisfactory patient scanned at 6, 9 and 12 months from op date.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the exam code UGRAF.

## Examination

- ABPI measurement should be taken at rest (graft leg only)

- Site and type of graft needs to be determined from patients notes, previous reports and scars

- Preferred patient position – patient should be supine, oblique or lateral decubitus

- The rest of the examination is performed as per leg artery protocol using the same settings. A higher frequency transducer such as 10MHz may be used for superficial vein grafts.

- For supra-inguinal bypass grafts the settings are those for aorto-iliac scanning

## Image storage

The following images, with velocity data where appropriate, should be taken and stored during the scan:

- The inflow vessel, proximal anastomosis, mid graft, distal anastomosis and outflow in all scans.

- Images at any significant stenoses, with velocity data prior to and at the stenosis recorded.

- Images of any significant vessel calibre miss-matches.

- If the graft is occluded, an image showing the occlusion should be stored.

- Any other abnormal anatomy including: dilatations (include diameter measurements), fluid around the graft etc.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

The scan should be reported on CRIS. The report text can be inserted using report code RD1GFU, and the report amended as necessary.

- Graft type and site documented in the report

- Date of most operation/most recent intervention.

- Any problem should be noted such as valve cusps, arteriovenous fistula, kinking, anastomotic stenosis, vessel calibre miss-match aneurismal formation, graft thrombosis, infection, seroma and disease progression (inflow or outflow)

- Flow <35cm/sec classed as critical and likely to occlude from low flow state

- Patients are routinely  re-scanned at intervals of 6 weeks post op at consultant f/up appointment, then at 6, 9 and 12 months, unless otherwise requested by a consultant. Report is placed in the appropriate month in the rescan folders with month of future appointment clearly stated. The surveillance spread sheet needs to be updated after each graft scan.

- Discharged at 1 year if no problems but can self refer if concerned or GP can refer after 1 year.

- A velocity ratio is obtained from dividing the velocity at the stenosis (Vs) by the velocity proximal to the stenosis (Vp). Any doubling of velocity is >50% and quadrupling is >75%.

- If a significant narrowing is found the patient should be discussed with a vascular surgeon if available, or if not, at the next angio meeting.

- If a graft is occluded or flow is <35cm/sec and the patient is symptomatic the vascular team should be informed immediately before the patient leaves. If the patient is asymptomatic the next available O/P appointment should be made with the relevant consultant (within 2 weeks). If there is no clinic the vascular team should be contacted for advice.

- The appropriate diagnostic codes should be entered at the end of the report

- If intervention is performed the surveillance programme should be restarted.

## Further information

- Vascular laboratory Practice Part III

- SVT Physiological Measurement Service Specifications (Arterial Duplex) - https://www.svtgbi.org.uk/media/resources/Arterial_SS_FINAL_EDIT.pdf

Vascular Technology Professional Performance Guidelines Lower Limb Arterial Duplex Ultrasound Examination - https://www.svtgbi.org.uk/media/resources/LLA_PPG.pdf

# Upper Limb Arterial Duplex Assessment /TOS

## Background to test

- For TOS referrals from the vascular surgical team only, on clinical suspicion of arterial or venous disease with arm symptoms.

- The purpose of the scan is to identify the site, severity and extent of upper limb arterial disease and identify significant lesions that may require treatment.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the code UARTE.

## Examination

- Preferred patient position: Very operator dependant but the patient can lie supine on the bed, head supported with pillows or can sit with a pillow supporting the arm

- The patient’s upper body should be covered with a sheet if all items of clothing have been removed to ensure warmth and modesty.

- Equipment required – Duplex scanner with appropriate transducers normally 5-10 MHz (3.5MHz for deep subclavian vessels).

- Machine presets: The presets for the GE Logiq E9 are “UEA” in the “Vascular” menu for the 2 linear probes and for curvilinear probe.

- Scope of test: The examination may include assessment of the common carotid, subclavian, axillary, brachial, radial and ulnar arteries.

- Criteria: B-mode imaging combined with Colour Doppler should be used to visualise the arteries, determine size, demonstrate patency, and highlight stenotic and disturbed flow areas.  Spectral Doppler should be used to obtain and record the peak systolic velocity and the waveform shape (triphasic, biphasic or monophasic).  Velocity measurements should be recorded throughout especially in areas where the colour-flow appears altered or disturbed.

- A stenosis is defined as an area where there is at least a doubling of the peak systolic velocity which equates to 50% and a quadrupling to >75%. A velocity ratio is obtained from dividing the velocity at the stenosis (Vs) by the velocity proximal to the stenosis (Vp).

- An occlusion is defined by the absence of Doppler signals. The length of an occlusion should be measured.

- For ? thoracic outlet syndrome (TOS) the arteries should be imaged as above but then extreme arm movements should be performed such as abduction with external rotation, or the movement that patient reports brings on the symptoms, whilst listening/looking for a flow reduction. This can be performed with either a handheld Doppler or a linear transducer.

## Image storage

The following images, with velocity data where appropriate, should be taken and stored during the scan:

- The common carotid, subclavian, axillary, brachial, radial and ulnar arteries in all scans.

- Images at any significant stenoses, with velocity data prior to and at the stenosis recorded.

- If duplex ultrasound has been used to look  at arm arteries (usually the axillary artery) in stress positions, images should be taken showing any change in flows

- Any other abnormal anatomy including: aneurysms (include diameter measurements) etc.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

- The scan should be reported on CRIS. The report text can be inserted using report code RAART, and the report amended as necessary.

## Action

  - Patient should be seen back in clinic. If scan is happening of a non-clinic day the patient should be booked into the next available O/P clinic with the referring consultant.

## Further information

- Vascular laboratory Practice Part V

- SVT Physiological Measurement – Service Specifications (Arterial Duplex) - https://www.svtgbi.org.uk/media/resources/Arterial_SS_FINAL_EDIT.pdf

- Vascular Technology Professional Performance Guidelines Upper Limb Arterial Duplex Ultrasound Examination -

https://www.svtgbi.org.uk/media/resources/UpperLimbArterialFINALJuly2015Edit.pdf

# Abdominal Aorta – Aneurysmal Disease

## Background to test

- Open access referrals from GP’s directly and all Consultants (inpatient and outpatient) in patients at high risk or with clinical suspicion.

- Accepts referrals from National Abdominal Aortic Aneurysm Screening Programme (NAAASP).

- The purpose of the scan is to identify the size of the abdominal aorta and determine the abnormal from the normal and those that need further follow up in the form of ultrasound surveillance or consultant review.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the code UAORT.

## Examination

- Preferred patient position – The patient should lie supine on the bed, head supported with pillows and arms by sides. For popliteal scanning the patient can be sat up with legs over the edge of the bed or in a lateral decubitus position either towards the machine for the left leg or away from the machine for the right side (operator dependant), or with patient standing, facing away from the operator, with the back of both knees exposed.

- Equipment required – Duplex scanner with low frequency curvilinear transducer 3-5Mhz for the abdomen and 5-10MHz for popliteal arteries (if appropriate).

- Machine presets: The presets for the GE Logiq E9 are “Abdo” in the “Abdominal” menu for the aorta and iliacs and “LEA” in the “Vascular” menu for the linear 5-10MHz probe for popliteal arteries. The calliper setting should be used to measure the anterior to posterior diameter.

- Scope of test: The examination may include assessment of the size of the abdominal aorta and common iliac and popliteal arteries if there is an AAA. The presence of thrombus and/or dissection should also be noted.

- Criteria: B-mode imaging combined with Colour Doppler should be used to visualise the arteries, determine size and demonstrate patency. The measurement should be taken both from the outer to outer wall and inner to inner wall of the vessel. The inner wall to inner wall measurement is used to determine surveillance frequency and point of intervention.

- For the aorta the vessel is aneurysmal if it measures more than 3.0cm on an inner to inner measurement. For iliac and popliteal arteries the vessel is aneurysmal if part of it is >50% larger than a more proximal or distal section, with 12 monthly surveillance (BBW SOPS). Alert consultant if common iliac artery reaches >3.5cm in diameter and if popliteal artery reaches >2.5cm in diameter (BBW SOPS).

## Image storage

The following images should be taken and stored during the scan:

- Long section and cross section images of the aorta at the point of its maximum diameter, including outer to outer and inner to inner measurements.

- Images of the common iliac arteries with diameter measurements.

- If the popliteal arteries are scanned images of these with diameter measurements.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

- The scan should be reported on CRIS. The report text can be inserted using report code R1AAA and amended as necessary.

- The appropriate diagnostic codes should be entered at the end of the report.

## Action

- Max AP AA diameter (inner to inner wall)

<3cm normal 			no follow up (request letter to be written by consultant)

>3cm but <4.4cm 		re-scan every 12 months

4.5-4.9cm			re-scan every 6 months

5.0 – 5.5cm 			re-scan every 3 months

>5.5cm			discuss with Vascular Surgeon

- In the event of a positive scan in a newly referred patient the GP will need to refer patient to the Vascular Network so an appointment in a nurse led AAA clinic can be arranged. Therefore a note indicating this should be added to the end of the report and the GP contacted.

- When AAA reached >5.5cm the GP will need to re-refer patient to the Vascular Network for an urgent surgical clinic. Therefore a note indicating this should be added to the end of the report and the GP contacted.

## Further information

- Vascular laboratory Practice Part III

- SVT Physiological Measurement – Service Specifications (Arterial Duplex) - https://www.svtgbi.org.uk/media/resources/Arterial_SS_FINAL_EDIT.pdf

- Vascular Technology Professional Performance Guidelines Lower Limb Arterial Duplex Ultrasound Examination - https://www.svtgbi.org.uk/media/resources/LLA_PPG.pdf

# Endovascular Aneurysm Repair (EVAR) Surveillance

## Background to test

- For patients who have had an EVAR who have be discharged from routine CTA surveillance and referred for US/X-ray surveillance.

## Pre Examination

- If  it is not already on the system  the examination should be created on CRIS using the code UAOTD

## Examination

- Preferred patient position – The patient should lie supine on the bed, head supported with pillows and arms by sides.

- Equipment required – Duplex scanner with low frequency curvilinear transducer 3-5Mhz

- Machine presets: The presets for the GE Logiq E9 are “Abdo” in the “Abdominal” menu for the aorta and iliacs. The calliper setting should be used to measure the anterior to posterior diameter.

- Scope of test: The examination may include assessment of the size of the repaired aneurysm sac/sacs in longitudinal and transverse planes. Flow in the EVAR graft should be examined to check for any stenosis/kinking. The aneurysm sac/sacs should be interrogated to look any endoleaks

- Criteria: B-mode imaging combined with Colour Doppler should be used to visualise the arteries, determine size and demonstrate patency of the EVAR graft. Any kinking/stenosis of the graft should be noted. Colour and power Doppler should be used in conjunction to look for endoleaks within the repaired aneurysm sac. Spectral Doppler should be used to interrogate any potential endoleaks seen on colour and/or power Doppler. Measurement of sac size should be taken in both long and transverse planes and of both the outer to outer wall and inner to inner wall of the vessel.

## Image storage

The following images should be taken and stored during the scan:

- Long section and cross section images of the aorta at the point of its maximum diameter, including outer to outer and inner to inner measurements.

- Colour and power Doppler images of the aneurysm sac showing presence/absence of any endoleaks.

- Spectral Doppler images of any endoleaks that are present.

- Spectral and colour Doppler images of the EVAR graft, including the body and both limbs.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

- The scan should be reported on CRIS. The report text can be inserted using report code RDEVAR and amended as necessary.

- The appropriate diagnostic codes should be entered at the end of the report.

## Abdominal x-ray

After the ultrasound scan of the EVAR has been completed the patient will need to be sent for a plain film x-ray. This will need to be requested by a HCPC registered clinical scientist who had completed IR(ME)R training and has been signed off by Radiology to request these. Requests are made through Power Chart, under the Quick Orders tab. Request should include:

- Year operation and type of EVAR graft

- Request for anterior-posterior and lateral plane images to be taken.

- Request the images are interpreted by Dr Hardman or Dr Fay (DF/JH), intervention radiologists.

- Any allergies

- Patient’s mobility.

## Action

- In the event of a stable aneurysm sac size, a widely patent EVAR graft and no endoleaks patient should have a repeat scan in 12 months.

- If there has been a significant increase in the aneurysm sac size, a newly diagnosed/worsening endoleak or evidence of graft stenosis the vascular team should be notified.

## Further information

- Vascular Technology Professional Performance Guidelines Endovascular Aneurysm Repair (EVAR) Duplex Ultrasound Examination - https://www.svtgbi.org.uk/media/resources/EVARprotocolforPSCFinalJuly15edit_sSpc3A4.pdf

- SVT Physiological Measurement – Service Specifications (Arterial Duplex) - https://www.svtgbi.org.uk/media/resources/Arterial_SS_FINAL_EDIT.pdf

# Mesenteric Artery Duplex Assessment

## Background to test

- The purpose of this scan is to assess the coeliac, superior mesenteric and inferior mesenteric arteries for stenosis or occlusion and/or assess the patency of mesenteric artery stents.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the code USMAD

- At least 6 hours fasting is recommend prior to the examination to remove the influence of digestion on mesenteric blood flow.

## Examination

- Preferred patient position: The patient should lie supine on the bed, head supported with pillows.

- The patient should lift up their top to expose their abdomen but no more. A towel should be tucked into their waste band to present ultrasound gel getting on their clothing.

- Equipment required:  Duplex scanner with low frequency curvilinear transducer 3-5Mhz.

- Machine presets: The presets for the GE Logiq E9 are “Abdo” in the “Abdominal” menu or “LEA” in the “Vascular” menu.

- Scope of test: The examination should include the abdominal aorta, the coeliac axis and superior and inferior mesenteric arteries.

- Criteria: B-mode imaging combined with Colour Doppler should be used to visualise the arteries, demonstrate patency, and highlight stenotic and disturbed flow areas. Spectral Doppler should be used to obtain and record the peak systolic (PSV) and end diastolic (EDV) velocities and the waveform shape (triphasic, biphasic or monophasic).

- A mesenteric stenosis is defined by PSV and EDV. After fasting a  ≥70% stenosis is defined by:

- Coeliac axis - PSV of  ≥200cm/s and EDV of ≥55cm/s

- Superior mesenteric artery - PSV ≥275-300cm/s and EDV of  ≥55cm/s.

- Inferior mesenteric artery - PSV  ≥200cm/s and EDV of  ≥25cm/s.

- Post-prandial a greatly increase PSV/EDV in the SMA is indicative of a  ≥70% stenosis.

- An occlusion is defined by the absence of Doppler signals.

- There are no standard duplex criteria for SMA bypass grafts or stents. See SVT Professional Performance Guidelines for criteria listed in the literature.

## Image storage

The following images, with velocity data where appropriate, should be taken and stored during the scan:

- The abdominal aorta, coeliac axis, superior mesenteric and inferior mesenteric arteries in all scans.

- Images at any significant stenoses, with velocity data.

- Images of any other finds such as aneurysms.

## Reporting

- The scan should be reported on CRIS. The report text can be inserted using report code RD1SMA, and the report amended as necessary.

## Action

- The results of the scan should be discussed the vascular team, especially any significant findings

## Further information

- Vascular laboratory Practice Part VI

- Vascular Technology Professional Performance Guidelines Duplex Ultrasound Examination of Mesenteric Arteries in Adults –

https://www.svtgbi.org.uk/media/resources/Mesenteric_PPG_2018_eYGw8R0.pdf

# Renal Artery Duplex Assessment

## Background to test

- Referrals from doctors on clinical suspicion of renal artery stenosis, usually seeking a cause for uncontrolled hypertension

- The purpose of the scan is to identify the site, severity and extent of renal artery disease to improve management of hypertension.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using both the exam codes UREND to create the examination.

## Examination

- Preferred patient position: The patient should lie supine on the bed, head supported with pillows During the examination the patient may need to turn to an oblique position.

- Garments should be left on but moved  to reveal skin anteriorly and posteriorly from the xyphoid process to the iliac crest, to maintain warmth and modesty but allow both transabdominal and lateral intercostal imaging .

- Equipment required – Duplex scanner with a curvilinear 3-5MHz transducer.

- Machine presets: The presets for the GE Logiq E9 are “Renal” in the “Abdominal” menu

- Scope of test: The examination should include assessment of proximal abdominal aorta, renal arteries, kidney length measurement and renal colour perfusion.

- Criteria: B-mode imaging combined with Colour Doppler should be used to visualise the proximal abdominal aorta, renal arteries and interlobar arteries. Any duplicated renal arteries seen should be commented on.  Pulsed Doppler should be used to obtain and record the peak systolic velocity and resistive index of the Aorta and bilateral proximal and distal renal arteries.

- A Renal Aortic ratio (RAR) should be calculated by dividing the peak systolic velocity (PSV) in the renal artery by the PSV of the Aorta proximal to the renal artery origin.

- A significant stenosis (>60%) is defined as an area where there is an RAR of >3.5 and a renal artery PSV of >180cm/s. A resistive index of >0.8 is indicative of severe medical renal disease.

- An occlusion is defined by the absence of colour and Doppler signals.

- If the kidneys vary in length by >2cm this should be commented on as abnormal. Both should be between 10-12cm ideally in an adult

## Image storage

The following images, with velocity data where appropriate, should be taken and stored during the scan:

- Aorta (including diameter measurements), proximal and distal right and left renal arteries in all scans showing Doppler measurements.

- B-Mode images of both kidneys including measurement of maximum length.

- Any other abnormal anatomy including: aneurysms (include diameter measurements), dissections, retrograde flow etc.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

Results should be entered onto a diagram which should be scanned and reported in CRIS. The report text can be inserted using report code RD1REN, and amended as necessary

- Summary: A description of the state of each artery examined and any arteries or segments that were not visualised due to gas etc, should be commented on.

- Conclusion:  A brief conclusion on the most significant findings should be written

- Diagnostic Codes: The appropriate diagnostic codes should be entered at the end of the report.

## Further information

- Vascular laboratory Practice Part VI

- Abdominal and superficial structures – Diane Kawamura

- Ultrasoundpaedia.com/normal renal arteries

# Lower Limb Arterial Duplex – False Aneurysm

## Background to test

- Open access referrals from GP’s or consultants in patients post needle insertion (usually cardiac catheter in the groin region)

- The purpose of the scan is to identify the site and size of any false aneurysm (pseudo-aneurysm) and suitability for thrombin injection.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the code UARTE.

## Examination

- Preferred patient position: The patient should lie supine on the bed, head supported with pillows.  The patient’s legs should be covered with a blanket whilst not being scanned to ensure warmth and modesty. For upper limb false aneurysm scans the patient can be sat up, facing toward to operator, with the section of the arm with ?false aneurysm exposed.

- Equipment required – Duplex scanner with appropriate transducer usually 5-10 MHz for femoral. If there is a false aneurysm thrombin is required to inject into the sac.

- Machine presets: The presets for the machines are the same as for arteries.

- Scope of test: The examination includes the assessment arteries within the area of needle insertion. For lower limbs this usually included the common femoral artery, profunda origin and proximal superficial femoral artery.

- Criteria: B-mode imaging combined with Colour Doppler should be used to visualise the arteries, determine size, demonstrate patency, and highlight any velocity jets in and around the arteries into a false aneurysm.  The Pulsed Doppler should be used to obtain and record the peak systolic velocity and the waveform shape (triphasic, biphasic or monophasic). Blood into and out of a false aneurysm will be characterised by blood flowing into it during systole and out back into the native artery during diastole, with swirling blood in the sac itself).

- Action – in the presence of a false aneurysm with a thin neck a Tissell kit should be ordered which contains thrombin from the pharmacy by the referring team (normally cardiac). The Vascular team should be notified and the false aneurysm should be injected with thrombin under ultrasound guidance. The distal vessels should be scanned post procedure and an ultrasound scan should be arranged for the following day to check for occlusion of the false aneurysm.

## Image storage

The following images, including velocity data where appropriate, should be taken and stored during the scan:

- The common femoral, proximal superficial femoral and proximal profunda femoral arteries in all groin scans.

- The radial and ulnar in the region of the possible false aneurysm in all arm scans

- A spectral doppler reading in the neck of any false aneurysms seen, to demonstrate bi-directional flow. Also images showing the width and length of the neck.

- Grey scale images of any false aneurysm sacs, with measurements of the sac size and patent lumen in all three dimensions.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

- The scan should be reported on CRIS. The report text can be inserted using report code RD1GRN.

- The site, size and number of sacs of the false aneurysm should be noted along with the presence of thrombus and the size (diameter and length) of the neck.

- The appropriate diagnostic codes should be entered at the end of the report.

## Action

- In the presence of a false aneurysm if there is a vascular surgeon present they should be informed. If not the vascular network office needs to be contacted and the vascular team consulted as to the action required. If it is decided that the patient is suitable for a thrombin injection the thrombin then needs to be ordered by the referring team (if cardiac patient contact cardiac pharmacist who will arrange thrombin).

## Further information

- Vascular laboratory Practice Part III

- SVT Physiological Measurement – Service Specifications (Arterial Duplex) - https://www.svtgbi.org.uk/media/resources/Arterial_SS_FINAL_EDIT.pdf

- Vascular Technology Professional Performance Guidelines Lower Limb Arterial Duplex Ultrasound Examination - https://www.svtgbi.org.uk/media/resources/LLA_PPG.pdf

- Vascular Technology Professional Performance Guidelines Upper Limb Arterial Duplex Ultrasound Examination  - https://www.svtgbi.org.uk/media/resources/UpperLimbArterialFINALJuly2015Edit.pdf

# Ultrasound Guided Thrombin Injection of False Aneurysm

## Background to procedure

- The purpose of this procedure is to perform an ultrasound guided thrombin injection of a false aneurysm that has previously been reported.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the code UINJTI.

## Examination

- Preferred patient position: The patient should lie supine on the bed, head supported with pillows.  The patient’s legs should be covered with a blanket whilst not being scanned to ensure warmth and modesty. For upper limb false aneurysm scans the patient can be sat up, facing toward to operator, with the section of the arm with ?false aneurysm exposed.

- Equipment required – Duplex scanner with appropriate transducer usually 5-10 MHz for femoral. A thrombin kit (also known as Tisseel) needs to be ordered. These need to be kept frozen until use, and so should be collected from the pharmacy just prior to the injection. A white spinal needle will need to be requested to inject the thrombin with. This can be obtained from theatres. A sharps bin, gauze and alcohol prep pads should also be available.

- Thrombin preparation:

- Remove pre-filled syringe from inner pouch and place directly into water bath ensuring the syringe is completely immersed in the water. Maintain the product at 33-37°C until use. Once the package is opened or the product is warmed to 33-37°C, it must be used within 4 hours.

- If necessary (depending on type of kit) insert plunger into syringe barrels.

- Firmly connect the two syringe nozzles to the joining piece (Y-connector) and secure it by fastening the tether strap to the syringe.

- The whiter spinal needle should be attached to the joining piece.

- Machine presets: The presets for the machines are the same as for arteries.

- Scope of procedure: The examination involves guiding the vascular surgeon’s needle as they inject the aneurysm sac, apply compression upon the aneurysm neck post injection, and check aneurysm sac post injection for any flow.

- Criteria: B mode imaging should be used to image and demonstrate the anatomy of the aneurysm sac, and also to help show the location of the needle, making sure it is in the aneurysm sac prior to the surgeon injecting the thrombin. Colour Doppler should be used to indicate the location of the aneurysm neck and also show whether there is flow in the aneurysm sac post injection. Spectral Doppler should be used to look at flows in the local arteries post injection.

## Image storage

The following images, including velocity data where appropriate, should be taken and stored during the scan:

- Image of the false aneurysm sac prior to the injection

- Image of the false aneurysm sac post injection

- Images of the local arteries around the false aneurysm.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

- The results of the injection should be reported on CRIS. The report text can be inserted using report code RDTINJ.

- Whether or not the aneurysm sac is patent post injection should be noted.

- The appropriate diagnostic codes should be entered at the end of the report.

## Action

- Regardless of whether the injection is shown to thrombose the aneurysm sac, the patient should be scanned the next day, as for patients whose aneurysm is shown to be thrombosed after the initial injection, it is important to check that is remains occluded, whilst for patients whose aneurysm remain patent after the initial injection, the aneurysm sac may occluded later on.

- If the false aneurysm is patent on the follow up scan the next day, the vascular team should be contacted to see if they want to attempt a second injection or other form intervention (i.e. surgery)

## Further information

- Introduction to Vascular Ultrasonography, Pellerito and Polak (Eds). Pages 333-334.

- For information on the thrombin/tisseel kit from Baxter Healthcare see Prescribing Information - http://www.baxterpi.com/pi-pdf/Tisseel_PI.pdf

# Temporal Artery Duplex Scan

## Background to test

- Referrals from the Rheumatology or Ophthalmology teams only.

- The purpose of the scan is to identify any temporal/giant cell arteritis in the temporal arteries on the side of the head.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the code UDOPP.

## Examination

- Preferred patient position: The patient should lie supine on the bed, head supported with pillows. No clothing should need to be removed for this scan.

- Equipment required – Duplex scanner with appropriate transducer, usually ML 6-15.

- Machine presets: The presents for the GE Logiq E9 are “Temporal Artery” in the “Vascular” menu for the ML 6-15 probe.

- Scope of test: The examination includes assessment of the common superficial temporal artery and frontal and parietal rami.

- Criteria: B mode is used in transverse to assess the arteries of side of the head to the echogenic halo sign. If the patient is able to tolerate it compression ultrasound can be performed. Colour flow and spectral Doppler are used assess the flows in the arteries and to look for any arterial stenosis.

- The following velocity criteria, taken from “Color Duplex Ultrasonography in the Diagnosis of Temporal Arteritis, Schmidt et al 1997” are for patients with temporal arteritis, polymyalgia rheumatic, controls and patient with negative histology findings and other diagnoses:

(Image from Schmidt 1997)

- A velocity ratio is obtained from dividing the velocity at the stenosis (Vs) by the velocity proximal to the stenosis (Vp).

- A significant stenosis is defined as an area where there is at least a doubling of the peak systolic velocity which equates to 50% and a tripling to >75%. The severity of stenosis is described in terms of the velocity ratio in the pre and stenotic region.

- Action: All temporal artery scan (negative and positive) should be sent back to the referrer.

## Image storage

The following images, with velocity data where appropriate, should be taken and stored during the scan:

- Common superficial temporal, frontal rami and parietal rami. Both images in cross-section demonstrating presence/absence of the halo sign and in long section showing velocity data should be take and stored.

- Images at any significant stenoses, with velocity data prior to and at the stenosis recorded.

- In the case of an occlusion, images showing the start of the occlusion should be stored.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

- The scan should be reported on CRIS. The report text can be inserted using report code RDTEMP, and amended as necessary

- The presence/absence of an echogenic halo sign should be noted.

- Any abnormal velocities in the temporal arteries should be noted. If all velocities are normal this should be noted

- Any stenosis/occlusions should be reported, with velocity data where appropriate.

- The appropriate diagnostic code should be entered at the end of the report.

## Further Information

- Vascular Technology Professional Performance Guidelines Giant Cell Arteritis Duplex Ultrasound Examination - https://www.svtgbi.org.uk/media/resources/Temporal_Arteritis.pdf

# Lower Limb Venous Duplex Assessment - Reflux

## Background to test

- Referrals from the vascular surgical team only, on clinical suspicion of venous incompetence (both primary and recurrent varicose veins).

- A hand-held Doppler assessment may have been carried out by the vascular surgeons in clinic.

- The purpose of the scan is to identify sites of venous incompetence in the deep or superficial venous system, quantify this incompetence, and locate sites of incompetent perforators.

- A quick physical examination of the varicose veins should be performed prior to scanning.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the exam codes ULVIR for a right leg scan, ULVIL for a left leg scan or both for a bilateral scan.

## Examination

- Preferred patient position - the patient should stand.  If the patient is unable to stand then they can sit on the edge of the couch legs dependant feet resting on a stool or on the edge of a chair legs down. To scan the thigh veins patient should face towards the operator, with their weight on the leg not being scanned. The leg being scanned should be turned outwards and the knee slightly bent. To scan the calf veins the patient should face away from the operator.

- Equipment required – Duplex scanner with appropriate transducers.3-5Mhz for iliac veins, 5-10 MHz for femoral, popliteal and saphenous veins.

- Machine presets:  The preset for the GE Logiq E9 is “LEV” irrespective of probe used.

- Scope of test: The examination will usually include assessment of the common femoral vein, superficial femoral vein, popliteal vein (in the below knee vessel), sapheno-femoral junction, long saphenous vein, sapheno-popliteal junction and short saphenous vein. Any incompetent or large perforating veins should also be noted along with evidence of deep vein thrombosis or thrombophlebitis. It should be checked that any incompetent veins do actually supply the varicose veins. If there is superficial venous incompetence seen then the straightness and diameter of these veins should be recorded in the event that endovenous treatment is required.

- Criteria - Examination is performed primarily with transverse B-mode ultrasound to locate specific anatomic sites and with colour and spectral Doppler in longitudinal view to document flow abnormalities. Examine for venous reflux by squeezing and then releasing compression at the calf or thigh, distal to the site of insonation. Occasionally proximal compression can highlight otherwise ambiguous reflux in the calf. Measure the length of reflux:

- <0.5s 	no reflux

- 0.5-1s 	minor reflux

- 1-2s 	significant reflux

- >2s 	gross reflux

## Image storage

The following images should be taken and stored during the scan:

- Phasicity in the common femoral vein, showing the spectral Doppler.

- Reflux/competency in the common femoral, superficial femoral and popliteal veins.

- Reflux/competency in the long saphenous and short saphenous veins, and at the sapheno-femoral and sapheno-popliteal junctions.

- Diameters of any incompetent superficial veins.

- Reflux in any of the perforator veins or the calf veins.

- Images of any thrombus in the deep and superficial venous systems.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

The scan should be reported in CRIS. The report text can be inserted using report code RD1VV, and report amended as necessary. The appropriate diagnostic codes should be entered at the end of the report.

## Action

If patient is seen in a one stop clinic it should be shown to the relevant consultant/registrar on the day so they can decide upon course of treatment. If the patient is not scanned as part of a clinic the report will be filed for a follow up o/p vascular appointment or shown to the relevant consultant to be added to the waiting list.

NB: If fresh DVT is present or thrombophlebitis is noted near to the sapheno-femoral or popliteal junctions (within 10cm’s) ambulatory care must be informed before the patient leaves the unit in case they need to have anticoagulation medication prescribed.

## Further information

- Vascular Laboratory Practice Part IV

- Vascular Technology Professional Performance Guidelines Lower Limb Venous Duplex Ultrasound Examination for the Assessment of Venous Insufficiency/Incompetence - https://www.svtgbi.org.uk/media/resources/Venous_Reflux_PPG.pdf

- SVT Physiological Measurement – Service Specification (Assessment of Venous Incompetence) - https://www.svtgbi.org.uk/media/resources/Venous_Reflux_SS_OCT_2017.pdf

# Lower Limb Venous Duplex Assessment – Deep vein thrombosis

## Background to test

- Open access referrals from GP’s directly, Ambulatory Care and all Consultants (inpatient and outpatient)

- The purpose of the scan is to identify any deep veins with thrombus (partial or occlusive) which will need treating.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the exam codes ULLVR for a right leg scan, ULLVL for a left leg scan and both for a bilateral scan.

## Examination

- Preferred patient position – For iliac scanning the patient should be supine, with a pillow to support their head. For femoral scanning the patient should be sat up on the bed with the back of the couch raised. The leg be scanned should be tilted out slightly and bent slightly at the knee.  For popliteal and calf scanning the patient can be sat up with legs over the edge of the bed or if mobile enough can bend leg at knee so popliteal and calf can be seen.

- The patient’s legs should be covered with a blanket whilst not being scanned to ensure warmth and modesty.

- Equipment required – Duplex scanner with appropriate transducers.3-5Mhz for iliac veins, 5-10 MHz for femoral and saphenous veins.

- Machine presets: The preset for the GE Logiq E9 is “LEV” irrespective of probe used.

- Scope of test: The examination will usually include assessment of the common femoral vein, superficial femoral vein, popliteal vein, sapheno-femoral junction, proximal long saphenous vein, sapheno-popliteal junction and proximal short saphenous vein and all calf veins (gastrocnemius, soleal, posterior tibial (paired), and peroneal (paired)).

- The iliac veins should be scanned if the common femoral veins do not exhibit spontaneous phasic flow, or if an iliac obstruction is indicated by the clinical history/referring clinican. The iliac veins should also be scanned if there is occlusive thrombus in the common femoral vein, in order to determine if clot is extending into the iliac vein, as the patient may then require thrombolysis at NBT.

- Criteria - Examination is performed primarily with transverse B-mode ultrasound to locate specific anatomic sites  (compressibility of the vein is the most important criteria for assessing the patency of the vein) and with colour and spectral Doppler in longitudinal view to document flow abnormalities. Examine the common femoral vein in longitudinal section to check for phasic flow using spectral and colour Doppler. Beyond this use transverse section in B-mode and compress the veins every few cm’s to check for obstruction. Colour flow and spectral Doppler can also be used with augmentation to check patency. In the calf use mainly B-mode and compression for all veins with colour and augmentation if veins do not compress. In the abdomen compression is usually not possible and therefore phasic flow and good colour filling can be to exclude thrombus in the inferior vena-cava and iliac veins.

## Image storage

The following images should be taken and stored during the scan:

- Phasicity in the common femoral vein, showing the spectral Doppler.

- The common femoral, superficial femoral and popliteal veins showing images of vein uncompressed and in compression side by side. This should be done both in normal veins and those with thrombus present.

- Images of calf veins are not normally stored. However if there is a thrombus seen in the calf veins this should be stored.

- If iliac veins are scanned images of the inferior vena-cava, common iliac and external iliac veins with colour and spectral Doppler to show presence/absence of flow.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

- The scan should be reported on CRIS. The report text can be inserted using report code RDLDVT.

- Comment on the patency of the deep veins and presence of thrombophlebitis or Bakers cyst.

- If iliac veins are scanned comment on the presence/absence of colour filling and the phasicity of flow.

- If scan is positive for DVT write in the summary POSITIVE DVT so that hospital acquired VTEs can be picked up. Comment on whether the clot is above or below knee.

- The appropriate diagnostic codes should be entered at the end of the report.

- If there is any suspicion of a DVT or DVT cannot be excluded the patient needs to be sent to ambulatory care in a chair with the report for further assessment.

## Further information

- Vascular laboratory Practice Part IV

- SVT Physiological Measurement – Service Specifications (Assessment for Deep Vein Thrombus(DVT)) - https://www.svtgbi.org.uk/media/resources/DVT_SS_FINAL_EDIT_sm.pdf

- Vascular Technology Professional Performance Guidelines Lower Limb Venous Duplex Ultrasound Examination for the Assessment of Deep Vein Thrombosis (DVT) - https://www.svtgbi.org.uk/media/resources/DVT_PPG.pdf

- RUH Acute Medicine Clinical Guidelines DVT - http://webserver.ruh-bath.nhs.uk/clinical_directory/clinical_guidelines/documents/medicine/ACUTE-027_Deep_Venous_Thrombosis.pdf

# Upper Limb Venous Duplex Assessment – Deep vein thrombosis

## Background to test

- Open access referrals from GP’s directly and all Consultants (inpatient and outpatient)

- The purpose of the scan is to identify any deep veins and superficial veins with thrombus (partial or occlusive) which will need treating.

## Pre Examination

- If it is not already on the system the examination should be created on CRIS using the code UULVR for the right arm, UULVL for the left arm and both for a bilateral scan.

## Examination

- Preferred patient position – The patient should lie supine on the bed, head supported with pillows, or sitting up facing the operator, with legs dangling over the edge of the couch.

- The patient’s upper body should be covered with a sheet if all items of clothing have been removed to ensure warmth and modesty.

- Equipment required – Duplex scanner with appropriate transducers normally 5-10 MHz (3.5MHz for deep subclavian vessels).

- Machine presets: The presets for the GE Logiq E9 are “UEV” in the “Vascular” menu for the 2 linear probes and for curvilinear probe.

- Scope of test: The examination may include assessment of the internal jugular, subclavian, axillary, cephalic, basilica, paired brachial, radial and ulnar veins.

- Criteria - Examination is performed primarily with transverse B-mode ultrasound to locate specific anatomic sites and with colour and spectral Doppler in longitudinal view to document flow abnormalities. Examine the subclavian and axillary veins in longitudinal section to check for colour flow (may also use spectral Doppler to check for phasic flow). Beyond this use transverse section in B-mode and compress the veins every few cm’s to check for obstruction. Colour flow and spectral Doppler can also be used with augmentation to check patency. In the arm use mainly B-mode and compression for all veins with colour and augmentation if veins do not compress.

## Image storage

The following images should be taken and stored during the scan:

- Phasicity in the subclavian vein, showing the spectral Doppler.

- Colour flow images of the subclavian and axillary veins, showing the presence or absence of thrombus.

- The jugular, brachial, radial, ulnar, cephalic and basilica veins showing images of vein uncompressed and in compression side by side. This should be done both in normal veins and those with thrombus present.

- Any other abnormal anatomy.

All images should be labelled, including which side is being scanned. Abbreviations can be used.

## Reporting

- The scan should be reported on CRIS. The report text can be inserted using report code RDADVT.

- Comment on the patency of the deep and superficial veins.

- If scan is positive for DVT write in the summary POSITIVE DVT so that hospital acquired VTEs can be picked up.

- The appropriate diagnostic codes should be entered at the end of the report.

- If there is any suspicion of a DVT or DVT cannot be excluded, Ambulatory Care (or Oncology if patient is referred from there) should to be contacted to arrange for them to review the patient if appropriate.

## Further information

- Vascular laboratory Practice Part V

- SVT Physiological Measurement – Service Specifications (Assessment Deep Venous Thrombosis (DVT)) –

https://www.svtgbi.org.uk/media/resources/DVT_SS_FINAL_EDIT_sm.pdf

- Vascular Technology Professional Performance Guidelines Upper Limb Venous Duplex Ultrasound –

https://www.svtgbi.org.uk/media/resources/UpperLimbVenousProtocolJuly2015edit.pdf