Jackie Walton Vascular Studies Unit

Lower Limb Venous Duplex Protocol (June 2018)

These guidelines describe current local practice. They are intended to be an aid to best practice rather than to be prescriptive.

Patient Identification

Ask the patient their full name, date of birth and/or address and check that these correlate with the request form (OUH Identification Policy Nov 2012).

If the patient is unable to communicate these details clearly, check inpatient wristband or ask accompanying relative/carer to confirm identity.

Patient Dignity

Ensure that the scanning environment is private and ensure the patients’ dignity at all times. Always ask permission from the patient for other people to watch the scan including medical students and other health professionals.

History

Take a brief history to ascertain relevant facts that will help support and direct the investigations such as possible DVTs, leg swelling, venous surgery etc. Also, visually examine the leg prior to dimming the room lighting.

Explanation of Investigation

The scanning procedure and purpose of the scan should be explained to the patient in a clear and concise manner.

Consent

Patients must consent to the scan (see ORH trust policy for Consent to Examination or Treatment, June 2012). By attending an appointment it is assumed the patient is consenting to have a scan but this must be confirmed verbally. Discontinue scan if requested to do so but ensure the patient is aware of the consequences of not finishing the investigation.

Patient Position

Ideally the patient should be imaged in the standing position to ensure best vessel distension and reflux assessment in incompetent vessels.  Patients should stand on a stool and use the raised couch for support with the operator sat on a low stool. However, when assessing the deep veins for patency, and during an initial anatomy mapping assessment, it may be helpful to the operator for the patient to lie supine on the couch in a reverse Trendelenburg position.

Alternatively, the patient may sit upright on the edge of the couch. However, care should be taken to ensure all segments of the leg are below groin height and there is no compression of the upper venous system caused by the edge of the couch. Any spectral Doppler reflux measurements should be taken with the patient as vertical as possible or tilted no less than 30° as per SVT recommendations.

.

Venous insufficiency

Assess for competency by manual compression of the calf or thigh (if satisfactory augmentation is possible) when imaging in longitudinal section.

| Grade | Reflux duration |
| --- | --- |
| Competent: | Reflux of less than 0.5 seconds |
| Slight Incompetence: | Reflux of 0.5 - 1 second |
| Incompetent: | Reflux of more than 1 second |

Gross incompetence is usually clear from the colour image and is unequivocal however; a spectral Doppler recording will still be required as evidence of the reflux duration. Where there is doubt and the duration of reflux is borderline the use of spectral Doppler will enable the duration of reflux to be measured.

All spectral Doppler measurements must be carried out in the longitudinal plane.

Duplex Examination

Select the venous setting and use the 9-3MHz (or similar) linear array transducer to examine the deep vessels and either the L17-5Mhz or 9-3MHz (or similar) for the superficial vessels.

Deep veins

DVT assessment during routine vein scan

For a routine chronic venous insufficiency (CVI) assessment, only the femoral and popliteal veins are routinely assessed for DVT.  Evidence of old thrombus, recanalisation, partially occlusive/occlusive thrombus or vein scarring must be noted. However, if there is a lack of phasicity in the CFV, then the aorto-iliac veins must also be assessed for possible DVT.

Assess the CFV, SFV and pop veins for signs of DVT testing for compressibility; and for incompetence using colour and spectral Doppler taking recordings proximally, mid section and distally or more frequently if necessary.

- Assess the common femoral vein in longitudinal section for spontaneity of flow and phasicity. If necessary, ask patient to perform a Valsalva manoeuvre to assess patency of proximal vessels. Assess for competency.  If phasic flow cannot be demonstrated, the iliac veins and IVC should be assessed. Compare with the contralateral side if in doubt.

- The common femoral and superficial femoral veins are imaged in B-mode in transverse section and compressed at points along their length. Normal veins should be easily compressible.  Partial or non-compressibility may indicate the presence of thrombus. Note the echogenicity of any thrombus present.

- Assess the superficial femoral vein in longitudinal section for spontaneity of flow, and competency.  Also note any duplication of the vein.  If bifid check patency and competency of both branches.

- The popliteal is imaged in B-mode in transverse section and compressed along its length. Normal veins should be easily compressible.  Partial or non-compressibility may indicate the presence of thrombus.

- The popliteal vein is assessed in longitudinal section for spontaneity of flow, phasicity and competency.  Also note any duplication of the vein.

Superficial veins

- Identify the saphenofemoral junction in transverse and longitudinal section and assess competency using both colour, and taking a spectral Doppler recording. Note any sources of incompetence if present.

- The long saphenous vein (LSV) is imaged in transverse section and then longitudinal section to assess for competency using both colour and spectral Doppler recordings at points along the thigh. The presence and location of any easily identifiable incompetent tributaries and perforators should be noted.

- The distance from the SFJ of any incompetent proximal thigh LSV branches ie anterior/medial thigh should be noted as this will influence treatment decisions.

- Where the patient has undergone a previous surgical procedure for varicose veins in the thigh the presence and extent of the LSV should be noted. The region from the SFJ to the residual segment of LSV should be examined for the presence of any communicating veins via which the LSV is refilling, e.g. pudendal or pelvic vein.

The presence of thrombus within the deep and superficial veins should be noted and whether the thrombus appears old or new. The presence of recanalisation should also be noted.

Incompetent vein diameters should be measured and noted.

Below knee segment

- The sapheno-popliteal junction is assessed for competency and if incompetent, the location from the knee crease is measured. The short saphenous vein is imaged in transverse section and then longitudinally to assess for competency using both colour and spectral Doppler recordings at points along the calf. The presence of incompetent tributaries including communications with the LSV should be noted. The position of incompetent perforators should also be noted.

The presence of thrombus within the deep and superficial veins of the calf should be noted and whether the appearance is of old or recent thrombus.

Ulceration

Risk of infection should be minimised when scanning near ulcers. Bandaging must be removed to ensure as much of the venous system is assessed as possible but open wounds/ulcers must remain covered unless the referring consultant has specifically asked for this area to be scanned.  Use Clingfilm, a probe cover and sterile jelly when scanning over an ulcer.

Examination Report

The location of incompetent tributaries should be drawn onto the vein worksheet.  Arrows should be used to indicate direction of flow within the veins. Incompetent perforators should be drawn or marked with an X.

Superficial vein and tributary diameters should be noted.

Any thrombus should be drawn in.

A written report describing results should be sent to the referring vascular consultant.

DVT assessment

Patient can be supine or upright.

Assess the CFV, SFV and pop veins using compression and colour Doppler with augmentation. The vein must completely compress to discount any thrombus. Colour Doppler will demonstrate patency and flow and can help highlight areas of residual/recanalising thrombus.

Calf veins

Use a combination of compression and colour Doppler to assess the PT and peroneal paired veins. Colour Doppler with augmentation can show patency in all four vessels in cross-section.

Note any incidental findings of enlarged/thrombosed veins such as gastrocnemius or soleal veins.

Post RFA or foam sclerotherapy follow-up scans

Limited, non-diagnostic scans to evaluate treatment success unless otherwise requested

Treated LSV/branches

  - Assess the CFV for signs of DVT extending from the treated vein

  - Assess the treated vein to evaluate how much has occluded or remains patent

  - Check for any enlarged perforators to assess for DVT

Treated SSV

  - Assess the SPJ and deep vein at the junction for signs of DVT extending from the treated vein

  - Assess the treated vein to evaluate how much has occluded or remains patent

  - Check for any enlarged perforators to assess for DVT

Measure the diameter of patent sections of treated vein for possible further treatment options

Vein mapping for bypass graft harvesting

The length of vein required depends on the planned procedure i.e. femoro-above knee pop artery, Femoro-below knee pop artery, femoro-tibial artery, short popliteal artery or short vein cuff

It is possible to join more than one length of vein if necessary

The requirements of a suitable vein are-

  - Minimum internal diameter of 3mm

  - Non-varicosed

  - Undamaged ie no scarring or calcification

An incompetent vein is considered suitable provided it has not become significantly distended/varicosed.

Imaging protocol

- Start with the LSV on the ipsilateral leg

- If deemed unsuitable, assess the SSV

- If the LSV or SSV appear unsuitable, repeat the procedure on the contralateral leg

- If no leg veins appear suitable, if requested, assess the arm, cephalic and basilica veins

Leg vein scan

- Use a suitable high frequency linear array probe and a venous pre-set

- Perform a precursory assessment of the LSV to find the minimum diameter and assess whether the vein is suitable before continuing. If it appears too small or absent, perform the same assessment on the SSV.

- If one of the veins appears of suitable calibre, perform a simple compression DVT assessment of the CFV, SFV and pop veins to ensure adequate venous return in the event of superficial vein harvesting.

- Record proximal, mid and distal diameters along the vein and at places of irregular size.

Vein marking

Using a continuous line, mark the course of the vein from its origin down to where it becomes too small for use. Also mark the origins of any notable branches.

Iliofemoral/ICV stent surveillance protocol

See also ‘Treatment of chronic iliofemoral / IVC venous outflow obstruction’ Chronic venous protocol - Version 1 January 2017 AW.

Post procedure imaging schedule

- Day 1 Duplex in vascular lab

- Week 2 Duplex in vascular lab

- 3 month Duplex in vascular lab

- 6 month and 1 year Duplex in vascular lab

- Long term yearly Duplex.

If at any point concerning features, principally  in-stent thrombus immediate referral for consideration of venography / IVUS / intervention

Imaging protocol – treated side only

- Assess the CFV for patency and possible stenoses

- Image the distal end of the stent noting its location and any signs of stenoses, collapse, thrombus etc

- Follow the vessel/stent into the EIV, CIV and vena cava assessing for any signs of stenoses, collapse/waisting, thrombus etc.

- Note where the stent ends are if seen

- Record a colour Doppler image of each section showing colour flow

- Obtain a spectral Doppler signal in the CFV to demonstrate degree of phasicity

References

SVT. (2001). Vascular Laboratory Practice Part IV. 1st Edition 2001, IPEM

Zweibel. (1992). Introduction to Vascular Sonography. 4th Edition.WB Saunders Company:Philadelphia.

Thrush, Hartshorne. (2010) Vascular Ultrasound How, Why and When. Third Edition. Churchill Livingstone

SVT. (2001). Vascular Laboratory Practice Part IV. IPEM

Zweibel. (1992). Introduction to Vascular Sonography. 4th Edition.WB Saunders Company:Philadelphia.

Thrush, Hartshorne. (2010) Vascular Ultrasound How, Why and When. Third Edition. Churchill Livingstone