

**CLINICAL PROTOCOL**

|  |  |
| --- | --- |
| Protocol: | Lower Limb Venous Duplex Ultrasound Examination for the Assessment of Venous Insufficiency/Incompetence 2 |
| Protocol No: | **6.0** |
| Version | 2.0 |
| Implementation date: | Feb 2017 |
| Previous versions: |  |
| Responsible officer: | Emma Waldegrave AVS MSc |
| Position Held | Chief Clinical Vascular Scientist |
| Intended Use: | As a clinical protocol |
| Related policies: | Infection control policy;  Prevention of work related injuries |
| Next review date: | February 2018 |

**Purpose**

To evaluate the deep and superficial venous systems for evidence of valvular incompetence or thrombosis and to establish the source of any reflux identified in the superficial veins.

**Common Indications**:

Common indications for the performance of lower limb venous insufficiency evaluation include, but are not limited to:

* Skin changes, venous eczema, hyperpigmentation
* Venous ulcers
* Recurrent swelling of the lower calf and ankles
* Pain or feelings of heaviness in the lower extremity
* Visible varicose veins
* Venous claudication
* Pain and oedema of the lower extremities

Contraindications and Limitations Contraindications for lower limb venous duplex ultrasound for the assessment of venous insufficiency are unlikely; however, some limitations exist and may include the following:

* Obesity
* Casts, dressings, open wounds/ulcers etc can limit visualisation.
* Patient severe oedema/swelling.
* Limited mobility e.g. unable to stand.
* Patients who are unable to cooperate due to reduced cognitive functions e.g. Alzheimer’s or dementia and through involuntary movements.
* Patient discomfort, particularly calf tenderness.

**Equipment:**

Duplex Doppler ultrasound machine with imaging frequencies of 3.5MHz and greater; with both linear and curvilinear transducers available. Doppler frequencies of at least 3.0MHz should be available, with colour Doppler capability. Compliance with the Medical Devices Directive is necessary. Electrical safety testing is required annually, with regular maintenance and quality assurance testing to specified level by qualified personnel.

The examination couch should be height adjustable, preferably electrical. The couch should be capable of tilting by at least 30 degrees or alternatively the patient may be scanned standing in which case a raised platform/step with patient support may be useful. The CVS’s chair should provide good lumbar support, be height adjustable and allow for the CVS to move close to the examination couch1 2. The examination room should be temperature controlled with adjustable lighting levels suitable for examination1.

**Explanation of examination and patient history:**

The CVS undertaking the examination should:

* Introduce themselves
* Confirm the identity e.g. full name and date of birth
* Explain why the examination is being performed and give an indication of the test’s duration
* Complete a limited physical exam, which includes observation and localization of the presence of any signs or symptoms of peripheral venous disease: swelling, pain, tenderness, discoloration, varicosities and ulceration.
* Verify that the requested procedure correlates with the patient’s clinical presentation.

**Examination:** The examination may be unilateral or bilateral dependent upon clinical symptoms and departmental policy. The patient is asked to remove their clothing to expose the lower limb from groin to ankle. The patient is examined standing or at a minimum of 300 degree angle on a tilting table, this is to be able to assess the competency of the valves against gravity. Due to intimate nature of the examination it may be considered necessary to offer a chaperone3. During the examination the patient’s mental and physical status should be monitored and modifications made to the examination accordingly. Occasionally patients may feel faint during the examination.

The following techniques should be applied to all venous segments:

* B mode should be utilised to assess vein patency by observation of the compressibility of the vein, this should be done in a transverse scan.
* Pulsed and colour Doppler should be utilised to assess flow characteristics within the veins, this will include assessment of phasicity, spontaneity and direction of flow.
* Flow characteristics will generally be assessed in a longitudinal scan plane. Manual automated distal augmentation should be used to enhance the flow and to assess for reflux.

Start the examination in the groin at the common femoral vein (CFV) and assess the compressibility and flow. Flow should be spontaneous with respiratory and cardiac modulation. Abnormal flow in the CFV or abnormal superficial veins in the groin/abdomen may be due to iliac vein obstruction and in these cases the iliac veins and inferior vena cava need to be examined. Continue to examine the lower limb veins distally, examining the length of the femoral vein (FV), the proximal profunda femoris vein and the popliteal vein as detailed above. The calf veins may be examined as well. If thrombus is identified the extent of the thrombus should be noted. Incompetence (defined as a reflux time >0.5s)4 should also be noted.

Once the deep veins have been assessed the transducer should be moved back to the groin to assess the sapheno-femoral junction and long saphenous system (LSV). The LSV should be assessed throughout its length for patency and competency. The location and extent of any incompetent segments should be noted, along with the position of any associated perforators or branches. It may be useful to record the diameter and depth of the vein if endovenous treatment may be considered. The patient should be repositioned to assess the sapheno-popliteal junction and short saphenous vein (SSV). The SSV should be located in the posterior calf and traced back up the leg, assessing it for patency and competency as before. The anatomy associated with the origin of the SSV is very variable and should be commented on if the short saphenous vein is incompetent or if varicose veins arise from this area. Any varicose veins that have not been linked to either the long or short saphenous system should also be examined to identify any other sources of reflux –i.e. incompetent perforators.

**Reporting:**

The report is a recording and interpretation of observations made during the lower limb venous duplex ultrasound examination; it should be written by the CVS undertaking the examination and viewed as an integral part of the whole examination5. The report should include correct patient demographics; date of examination; examination type and the name and status of the CVS.

**The report should include:**

* The presence/absence of phasic flow in the proximal veins.
* Which veins have been assessed , the competency of the veins, the extent of incompetent segments, the presence/absence of any thrombus.
* Any anatomical variations due to previous procedures (i.e. absence of LSV due to previous strip.)
* Where thrombus is identified, the location, length/extent, degree of patency and estimated age should be documented.
* Any limitations e.g. if areas in the calf are not visualized due to ulceration.
* An appropriate number of annotated images that represent the entire ultrasound examination - in accordance with local protocols and SVT Image Storage Guidelines.5

Referral of critical ultrasound results should be made to the referring consultant or appropriate medical/surgical team (as per local protocol) prior to the patient being discharged so that treatment plans can be developed, enforced or expedited accordingly.

**RESOURCES:**

Society for Vascular Ultrasound Vascular Technology Professional Performance Guidelines Lower Limb Extremity Venous Insufficiency Evaluation 2010 [www.svunet.org](http://www.svunet.org)

American Institute of Ultrasound in Medicine Practice Guideline for the Performance of Peripheral Venous Ultrasound Examinations 2010 [www.aium.org](http://www.aium.org)

Australasian Society for Ultrasound in Medicine Policies and Statements D20 Peripheral Venous Ultrasound 2007www.asum.com.au

**REFERENCES:**

1 Guidelines for Professional Working Standards Ultrasound Practice United Kingdom Association of Sonographers (UKAS) October 2008 www.sor.org/learning/document-library

2 The Causes of Musculoskeletal Injury Amongst Sonographers in the UK Society of Radiographers, June 2002 www.sor.org/learning/document-library

3 Society for Vascular Technology Professional Standards Committee Chaperone Guidelines April 2012 www.svtgbi.org.uk

4 Coleridge-Smith, P, Labropoulos,N, Partsch H, Myers K, Nicolaides A, Cavezzi A. Duplex ultrasound investigation of the veins in chronic venous disease of the lower limbs –UIP Consensus Document. Part 1 Basic principles. Eur J Vasc Endovasc Surg 2006; 31:83-92

5 Society for Vascular Technology Professional Standards Image Storage Guideline 2012 [www.svtgbi.org.uk](http://www.svtgbi.org.uk)