## Department of Vascular Surgery

## Broomfield  Hospital Vascular Lab

## Mid Essex Hospital Services NHS Trust

## Varicose Vein Duplex Protocol to be utilised by all Sonographers/Scientists trained in Varicose vein Duplex imaging and reporting.

## History Taking:

## 1.Confirm referral details  and identification with the patient prior to the start of the examination. Confirm patients symptoms and take any additional relevant information that you may require e.g. Previous VV surgery/treatment, DVT, ulceration, itching, phlebitis, bleeding vv’s etc.

## 2. Inform patient of examination that you are going to undertake and ask for removal of any garments that you will require.

## Patient preparation:

## 1.Removal of garments of limb(s) to be assessed. (If ulceration, bandages may need to be removed and cling film applied to scan these areas, good probe hygiene needs to be adopted).

## 2.Patient needs to be positioned in a leg dependent position as much as can be achieved in the setting and in relation to the patient’s mobility. A standing/ ‘perched’ position with the use of a step to elevate the patients legs for the sonographer is most desirable. However a reverse trendelenburg position may be utilised for bed patients, to help fill the calf veins. Leg to be assessed turned slightly outwards with a slight bend in the knee. Paper towel should be provided at the groin level to prevent gel transfer onto patient’s undergarments. In addition to this a sheet should be provided to cover the other limb to maintain the patient’s dignity.

## 3. Appropriate scanning venous preset on the ultrasound machine and a linear 8-4 MHz probe selected. Gel should be applied to the area to be scanned or on the probe. Alternatively in large or slim patient a lower or higher frequency probe can be utilised.

## 4. Examine the leg(s) clinically prior to the start of the scan procedure, ascertaining which the symptomatic veins/areas are.

## Scanning Protocol:

## 1.Begin in the groin and assess the CFV for compressibility (cross section) and phasicity with respiration (longitudinal section in colour Doppler).

## 2. Assess the SFV and Popliteal veins in cross section for compressibility and in longitudinal sections for competence by squeezing the leg beneath the area being assessed, by augmenting the flow up the vein in both colour and spectral Doppler. Document if more than one vein present i.e. bifid systems. Incompetence is defined as >0.5 second. (0.5 second = mild or low grade reflux should also be documented).

## 3. Identify the SFJ in the groin and assess for competence in colour and spectral Doppler with or without the use of the Valsalva  manoeuvre.

## 4. Identify the LSV and it’s position in the thigh and calf and assess for patency and competence throughout, via vein compression and calf augmentation using colour and spectral Doppler. If LSV is incompetent, record the diameter and depth of the vein in the mid thigh. Document any characteristics of vein in relation to potential laser treatment.

## 5. Identify and assess the SPJ for incompetence in the region of the popliteal fossa using colour and spectral Doppler. Document any anatomical variations.

## 6. Identify the SSV and its anatomical position and assess for patency and competence by vein compression and calf augmentation, using colour and spectral Doppler.

## 7. Identify any thigh or calf perforators relevant to the venous disease, and assess for competence using colour and spectral Doppler and record their location and their size as they cross the fascia layer.

## 8. Record any images/cine loops appropriate to the diagnosis of the patient’s symptoms. Report anomalies, diseased systems and position of incompetent perforators via written CRIS report and /or a patient diagram. Document any suboptimal views/difficulties during the examination.

## 9. Prior to the end of the examination, recheck with the patient that symptomatic veins have been located and a source of their incompetence identified.

## 10. Verbalise the results to the patient if appropriate to do so and advise on future treatment pathway if appropriate to do so.

## References:

## IPEM SVT Varicose vein scanning Text.