LOWER EXTREMITY VENOUS INSUFFICIENCY

PROTOCOL SUMMARY

All vessels should be assessed in longitudinal and transverse planes, using B-mode, colour and spectral Doppler.

LONGITUDINAL SCANS

- Common femoral vein.

- Common femoral and long saphenous vein junction (saphenous-femoral junction).

- Superficial femoral vein just below the bifurcation.

- Popliteal vein.

- Posterior tibial vein.

- Peroneal vein.

- Long and short saphenous veins.

All positions require a proximal augmentation or valsalva manoeuvre to force blood backward against the valve to demonstrate whether the vein is patent and if any reflux is present.  Reflux can be demonstrated with either colour Doppler or spectral Doppler waveforms.

The deep and superficial venous systems must be evaluated to determine whether either both are involved.  This observation will determine whether surgery is warranted or if another treatment must be employed.

TRANSVERSE SCANS

- Scan down the long saphenous vein to identify any incompetent perforators or varices.

- Place transducer between the long saphenous and tibial veins immediately above the medial malleolus, or medial aspect of the knee.

- Screen by scanning up or down the calf to identify any incompetent perforators or varices.

Prior to any venous examination, it is important to carefully assess the patient’s lower extremity for the presence of swelling, oedema, varicose veins, stasis, dermatitis, stasis cellulitis, brawny induration, hyperpigmentation or ulceration.

ASSESSMENT OF VENOUS INSUFFICIENCY

LOWER EXTREMITY VENOUS ANATOMY

The venous system of the lower limb can be divided into the deep and superficial veins.  The deep veins lie below the fascia that separates the muscles from the subcutaneous tissue.  There are numerous perforators that connect the deep and superficial venous systems.

Deep Veins

The deep veins of the lower extremities begin in the abdomen as the IVC and iliac veins.  The common iliac veins are formed at the junction of the internal and external iliac veins approximately at the level of the sacroiliac joints.  The internal iliac veins drain the pelvis, and the external iliac veins drain the lower extremities.

At the level of the inguinal ligament the external iliac vein continues into the thigh as the common femoral vein.  Two branches arise from the common femoral vein, the superficial femoral vein and the profunda femoral vein (or deep femoral vein).  The common, superficial and deep femoral veins lie deeper than their corresponding arteries.

The superficial femoral vein continues through the thigh as the primary route of venous drainage.  This vein is duplicated in approximately 25% of the population, as is the popliteal vein.

In the lower portion of the thigh, the superficial femoral vein becomes the popliteal vein as it dives deep into the adductor canal.  The popliteal vein circles around the distal thigh to the back of the knee, where it lies superficial to the popliteal artery.  The median head of the gastrocnemius muscle may contain large veins, the gastrocnemius veins.  The popliteal vein is formed at the confluence of the anterior, posterior tibial veins and the peroneal veins.  Each of these systems consists of paired veins that accompany the artery.  The anterior tibial vein trunk has a unique anatomic configuration, in that it extends almost straight laterally from its junction with the popliteal vein.

Superficial Veins

The primary components of the superficial venous system are the long and short saphenous veins.  The long saphenous vein is the longest vein in the body.  It joins the common femoral vein approximately 4cm below the inguinal ligament, and extends along the medial aspect of the thigh and calf to the ankle.  It then passes anterior to the medial malleolus and extends onto the foot.

The short saphenous vein empties into the popliteal vein posteriorly in the popliteal fossa.  This vein extends along the posterior aspect of the calf, between the two heads of the gastrocnemius muscle.

ANATOMICAL VARIATIONS

Duplicated vein systems are relatively common and mainly involve the long saphenous, superficial femoral and popliteal veins.  Some patients will have a large deep femoral vein in the thigh, and in this situation the superficial femoral vein may appear small in comparison to the superficial femoral artery.  This appearance may be mistaken for venous obstruction; therefore, assessment of the femoral vein just below the saphenofemoral junction with colour flow imaging and augmentation should be used to demonstrate good venous flow.

PRACTICAL CONSIDERATIONS FOR DUPLEX ASSESSMENT OF VENOUS INSUFFICIENCY

The purpose of the scan is to assess the competency of the lower extremity venous system, and to identify the cause of any varicose veins.

The patient should be asked the following questions prior to the examination:

- Whether they have had any previous treatment for varicose veins, either by surgery, injection sclerotherapy or other non-surgical treatment.

- Whether they have had a deep vein thrombosis (DVT) or any severe leg swelling.

The position and distribution of any varicose veins should be visually examined, as this can provide some idea as to their supply.

The patient’s legs should be accessible from the groin to the ankles.  The patient should be positioned so that the feet are substantially lower than the heart, as to generate sufficient hydrostatic pressure to assess the competency of the venous valves.  This can be done either, lying the patient supine and tilting the couch down by an angle of at least 30 degrees.  Having the patient in a standing position with the leg under examination non-weight bearing, or with the patient sitting on the edge of the couch with the feet resting on a stool.

It is not uncommon for patients to feel faint during the examination, and therefore, should be asked to lie down immediately if they feel unwell.  Appropriate medial advice should be sought if necessary.

SCANNING PROTOCOL

A venous preset should be selected, with a PRF of 1000Hz.  The colour wall filter should be set at a low level.  A 5 MHz (or broad band equivalent) flat linear array transducer is required for imaging the deep veins and junctions.  A 10 MHz (or broad band equivalent) flat linear array is useful for imaging any superficial varicose veins.  A 3.5 MHz curved transducer can be used for large patients with deep vessels.

A combination of B-mode, colour flow imaging and spectral Doppler should be used throughout the examination.  The assessment of venous reflux should be performed with the vessel in the longitudinal plane.  Both deep and superficial veins should be assessed, as the superficial veins can act as pathways if the deep vessels are obstructed.  If this is the case superficial vein surgery would be contraindicated and potentially dangerous.

Assessment of the LSV and deep veins of the thigh and knee

- The saphenofemoral junction is located by firstly identifying the common femoral vein in a transverse plane.  Move the transducer distally and the junction will be seen on the medial side of the common femoral vein.  It is usual to see branches dividing from the LSV at the level of the junction, which can be the supply to varicose veins.

- Rotate the transducer so that the common femoral vein and the saphenofemoral junction can be seen in a longitudinal plane.  The competency of the common femoral vein, saphenofemoral junction, proximal LSV and proximal superficial femoral vein can be assessed using distal compression and valsalva manoeuvre.

- The LSV should be examined in a transverse plane along the medial thigh to the knee.  Large perforators, branches and duplex systems should be easily identified with B-mode.  Large thigh perforators should be assessed for competency.

- The LSV should then be followed in a longitudinal plane from its junction to the knee, and assessed for competency at frequent intervals, as there may be segmental reflux in the upper, middle or lower thigh beyond incompetent valve sites or perforators.

- The SFV and proximal popliteal vein should be assessed for patency and competency.  They should be imaged in a longitudinal plane from a medial thigh approach.

- Follow the LSV in a transverse plane across the knee along the medial aspect of the calf to the ankle.  Posterior medial varicose branches of the LSV in the upper calf sometimes interconnect with the SSV, leading to SSV incompetence below this level.

- The LSV should then be assessed in a longitudinal plane using distal augmentation to assess competency of any perforators.

- The popliteal vein should be examined and assessed for patency and competency.

- The saphenopopliteal junction is usually located just above the skin crease in the popliteal fossa.  The SSV is sometimes very small and difficult to assess.  The junction and proximal SSV should be imaged in a longitudinal plane, and assessed for reflux with a strong calf squeeze.

- There is considerable anatomical variation in the position of the saphenopopliteal junction, and in some cases it may be impossible to identify it.  The Giacomini vein, if present, can be the source of SSV incompetence.  In some cases it is possible to follow.  The Giacomini vein, which will be seen to run as a continuation of the SSV, in a transverse plane up the posterior thigh to its origin from the LSV.

- In a transverse plane the SSV is followed distally from the popliteal fossa along the posterior aspect of the calf, where it runs towards the posterior lateral aspect of the ankle.  Large perforators should be assessed for competency.

- The SSV should then be assessed for reflux along its length in a longitudinal plane.

CONCLUDING THE SCAN

In some circumstances, varicose veins may lie in more unusual distributions, such as the anterior aspect of the calf or lateral aspect of the thigh.  Therefore, it is important to follow the varicose veins proximally in a transverse plane to identify the supply.  The supply is frequently varicose branches of the LSV or SSV, depending on the location of the varicose veins.  Sometimes varicose veins can be related to isolated perforators such as those found on the lateral aspect of the thigh.  It may be impossible to clearly define the source of the varicosities, especially if they are very small and diffusely distributed.

GRADING VENOUS REFLUX

Trickle or low volume reflux can occur due to partially incompetent valves, and is especially common in the below knee popliteal vein.

| Grade | Reflux Duration |
| --- | --- |
| 0 | Reflux duration of <0.5sec, with rapid closure of venous valves. |
| I | Reflux duration of 0.5-1sec, with mild to moderate retrograde flow |
| II | Reflux duration of 1-2sec, with moderate retrograde flow |
| III | Reflux duration of 2-3sec, with moderate to severe retrograde flow |
| IV | Reflux duration of >4sec or continuous reflux during valsalva or augmentation, with a large volume of retrograde flow. |

INVESTIGATION OF RECURRENT VARICOSE VEINS

Long Saphenous Vein

Some patients develop secondary or recurrent varicose veins over a variable time following surgery.  The scanning technique is virtually the same as for primary varicose veins.  However, it is important to assess the source of the recurrent veins, as their supply can sometimes be unpredictable.

Incomplete ligation of the saphenofemoral junction can occur if a small accessory branch is ligated during surgery rather than the main junction.  The level of the junction should be examined in a transverse plane, where it is easy to identify a large patent junction.  Sometimes a tributary just distal to the junction is found to be intact, which will supply the varicose veins.

In some cases the junction has been ligated but small tributaries from the inner aspect of the groin supply varicose areas in the LSV distribution.  Typically, varicose veins will be demonstrated in the upper thigh, which will break up into small tributaries before disappearing towards the inner aspect of the groin.  It is also possible for varicose veins to be supplied from veins running from the lower abdominal wall.

Recurrent varicose veins can be due to thigh or calf perforators.  The course of perforators to the deep veins can be tortuous.

Secondary varicose veins can develop in the thigh that were not directly associated with the veins in the main LSV trunk when ligation and stripping was performed.  These are seen as numerous tortuous varicose veins, which may lie very superficially in the LSV distribution.

Short Saphenous Vein

Recurrence can occur if there has been incomplete ligation or misidentification of the saphenopopliteal junction during surgery.  In some cases there can be a large incompetent Giacomini vein running directly into the SSV at the popliteal fossa.

Incompetent perforators may arise from the popliteal fossa or via gastrocnemius vein perforators in the mid-calf.

Varicose veins in the SSV distribution can occur due to LSV incompetence, which may run into the SSV system in the mid or posterior upper calf.  Diffuse varicosities in the popliteal fossa may also resupply the SSV.

ASSESSMENT OF VENOUS ULCERATION AND SKIN CHANGES

The basic technique for assessing patients with venous ulceration is similar to that for assessing varicose veins.  It is necessary to remove any pressure or compression dressings, as these may reduce venous reflux leading to false results.  Patients with ulcers are more likely to have deep venous incompetence or obstruction.  Therefore, it is important to assess the deep veins carefully.

It can be difficult to image deep veins in obese patients with large legs, therefore, a 3.5MHz curved transducer should be used to image the deep veins.  Sometimes the calf is too ulcerated or sore to perform calf compression, therefore, a valsalva manoeuvre can be used, or augmentation of the upper calf where there may be less ulceration or skin changes.  Warn the patient that the examination may be uncomfortable.

REPORTING

Assessment of venous insufficiency should be reported with the use of a functional diagram of the venous system.  The superficial veins should be drawn onto the diagram.  Direction of flow should be marked as black arrows pointing towards the heart to indicate normal competent veins, and red arrows pointing towards the feet to indicate venous reflux.

The diagram should be accompanied by a brief report outlining any limitations of the examination, and to state what vessels are supplying the varicose veins.

The report should make it very clear if there were any technical limitations affecting the examination.

Diagramatic interpretation of the examination findings must be produced for every patient.  Images should be taken of produced waveforms and any disease, and these kept with a copy of the report and filed in the Vascular Investigations department.  The report must be clearly signed by the Clinical Vascular Scientist conducting the examination.

POPLITEAL ANEURYSMS

Approximately 4% of patients with aortic aneurysms will have an aneurysm elsewhere within the body, and 6% of patients with popliteal artery aneurysms will have associated aortic aneurysms.

The normal diameter of the popliteal artery ranges between 0.4 and 0.8cm.  A popliteal artery aneurysm is frequently classified as a vessel diameter of greater than 1.5 – 2cm.

The complications associated with popliteal artery aneurysms include rupture, embolisation and acute occlusion.  The symptoms of popliteal aneurysms can include pain or a feeling of fullness in the popliteal fossa.  Sometimes patients present with a deep vein thrombosis due to compression of the popliteal vein by the popliteal artery aneurysm.

Ultrasound is the primary technique for the diagnosis of popliteal aneurysms.  However, a major diagnostic pitfall is the misdiagnosis of a Baker’s cyst as a popliteal artery aneurysm.

SCANNING PROTOCOL

- Using a 5MHz (or broadband equivalent) flat linear array transducer, the popliteal artery should be examined in longitudinal and transverse planes.

- The popliteal artery should be followed from the medial aspect of the lower thigh in the adductor canal through the popliteal fossa.  Some aneurysms can be located above the knee.

- B-mode imaging should be used to assess the size, length and amount of thrombus within the aneurysm.  Colour flow imaging should be used to demonstrate the size of the flow lumen if the B-mode imaging is poor

- Occluded popliteal artery aneurysms are demonstrated by an absence of colour flow in the lumen.

- The popliteal vein should be also assessed for patency.

- Baker’s cysts have a typical appearance of a tail trailing from the main body of the cyst to the joint capsule, and they have a hypoechoic appearance due to the synovial fluid inside.

REPORTING

Reporting of popliteal artery aneurysms should be in the form of a written report.  It is important to note any limitations of the scan and to state clearly what measurements were made and from what position.

Images should be taken of any measurements produced, any disease or any produced waveforms.  These should be kept with a copy of the report and filed in the Vascular Investigations Unit.  The report should be clearly signed by the clinical vascular scientist conducting the examination.

MEASUREMENTS

- Maximum aneurysm length

- Maximum diameter – measured in longitudinal section and transverse section, measured from the outer wall to the outer wall.

- How far above and below the knee crease the aneurysm extends.