Test Procedure: Carotid Ultrasound Scan

Protocol last updated:   April 2018

The scan is performed on patients with a history of stroke, transient ischaemic attack (TIA) or known arterial disease to ascertain whether there is atheroma causing a stenosis or occlusion within the carotid arteries. A significant stenosis may act as a source of emboli or cause a reduction in blood flow to the brain.

Equipment required:

High quality colour Duplex ultrasound machine:

Cart based ultrasound system e.g. Philips Epiq 5; including low, mid, and high frequency probes

Portable ultrasound system e.g. Philips CX50; including low and mid frequency probes

Peripherals:

CRIS, PACS

Other:

Adjustable examination couch and height adjustable chair/stool

Consumables:

Paper roll
Paper hand towels

Ultrasound gel

Clinell disinfectant wipes

Quality Analysis & Calibration:

Imaging: serviced and safety tested every 12 months. Annual QA testing performed by Radiation Protection Service (RPS).
Doppler: none

Patient and staff safety:

Electrical:

Equipment must comply with the Medical Devices Directive. Manufacturer completes PPQ (post-purchase questionnaire) form. Safety tested on arrival.

Infection control:

Appropriate levels of PPE should be worn for the examination (barrier guidelines should be adhered to for infectious patients). Probes should be thoroughly cleaned with a Clinell disinfectant wipe between all patients.

In cases where infectious patients have been assessed (e.g. MRSA and Clostridium difficile) the ultrasound machine should be thoroughly cleaned with Clinell wipes post-examination.

For sterile procedures sterile probe covers and gel should be used.

Ultrasound Safety:

Output powers are quoted by manufacturer.

Users are required to be aware of the potential risks and methods of minimising ultrasound exposure.

Contraindications and limitations:

Contraindications for carotid ultrasound examinations are unlikely; however, some limitations exist and may include the following:

- Patients with large neck size causing poor visualization due to increased vessel depth

- Calcified plaques causing acoustic shadowing and limited B-mode/Doppler assessment

- Patients unable to lie flat

- Patients unable to cooperate due to reduced cognitive function (unable to lie still or maintain correct position)

Communication with patients:  The vascular scientist undertaking the examination should:

- Introduce themselves

- Confirm the patients identity e.g. full name and date of birth

- Explain why the examination is being performed

- Give an explanation of the procedure and its duration – consideration should be made to the age and mental status of the patient

- Obtain verbal consent for the examination

- Obtain a pertinent medical history from the patient and/or notes:

  - Verify that the requested procedure correlates with the patient’s clinical situation

  - Results of other relevant diagnostics & previous vascular studies

- Explain when/how the patient will be informed of their results

Test procedure:

A cart based ultrasound system, rather than a portable ultrasound system, should be used for initial diagnostic carotid scans due to the high level of accuracy required. Portable ultrasound system use for carotid examinations should be limited to monitoring of known stenoses and post-operative assessments.

The patient is asked to expose their neck and lie supine on the couch with the neck extended and slightly rotated. If the patient is unable to transfer from a wheelchair, the scan may be performed whilst the patient remains seated. The scan should be performed using the 12-3 MHz probe, but the 5-1 MHz probe may also be required depending on patient neck size and depth of vessels.

Initially scan in transverse in B-mode from the proximal CCA to bifurcation level and then the ICA and ECA. Return to the bifurcation level and assess the bulb and proximal branches in longitudinal cross section, noting the presence of any atheroma. If the scan is pre-operative the location of the bifurcation should also be noted. Assess the length of the CCA in longitudinal using B-mode and then using colour Doppler. Assess colour filling throughout the CCA, bifurcation and proximal branches looking for evidence of stenoses or occlusion.

Then, using spectral Doppler obtain waveforms and take flow velocity measurements at the following locations: Mid/distal CCA, Proximal and distal ICA, proximal ECA and vertebral artery. In the presence of a stenosis, several spectral traces should be obtained in the stenotic region to ensure that the highest velocities have been obtained.

Grading of Stenosis:

The joint recommendations (Oates et al, 2008) for reporting carotid ultrasound in the United Kingdom are used as a guide to assess degree of narrowing.

Report Writing:

All reports should be written on CRIS and should include:

- Details of any B-mode abnormalities and their location (intimal thickening, plaque etc)

- Details of velocity measurements. If velocities measured are within normal limits, the exact measurements do not need to be quoted in the report

- Details of any stenosis- percentage/grading and location

- Direction of flow in the vertebral artery (antegrade or retrograde)

The following optimised set of images should be obtained and stored:

- Transverse and longitudinal B mode images of the bifurcation and proximal branches

- Mid/distal CCA spectral Doppler trace with PSV and EDV measurements

- Proximal ICA spectral Doppler trace with PSV and EDV measurements

- Proximal ECA spectral Doppler trace with PSV measurement

- Vertebral artery spectral Doppler trace to demonstrate direction of flow

In the presence of disease, additional images should be taken to demonstrate disease as required.

A pre-operative scan report should focus on the patency of the target vessel, specific details of the stenosis (location, length etc) and location of the bifurcation.

Key references from literature:

Oates CP et al, (2008) Joint Recommendations for Reporting Carotid Ultrasound Investigations in the United Kingdom, European Journal of Vascular and Endovascular Surgery.  37(3): 251-261.