Test Protocol: Abdominal Aortic Aneurysm Surveillance

Protocol last updated: April 2018

Abdominal aortic surveillance scans are performed on patients who have a known abdominal aortic aneurysm (AAA).  Surveillance of the AAA is performed at defined intervals (dependent on AAA size) to monitor growth and ensure that referral to a vascular surgeon takes place at the threshold of 5.5 cm. B-mode imaging is used to measure the maximum diameter of the AAA in the anterior-posterior plane.

Equipment required:

High quality colour Duplex ultrasound machine:

Cart based ultrasound system e.g. Philips Epiq5; low frequency curvilinear probe (5-1Mhz)

Portable ultrasound system e.g. Philips CX50; low frequency curvilinear probe (5-1Mhz)

Peripherals:

Paper roll, paper hand towels, ultrasound gel, Clinell wipes

CRIS, PACS

Other:

An adjustable examination couch is required.  If the operator performs the examination in a seated position, a height adjustable chair providing good lumbar support is required. The examination room should be temperature controlled with adjustable lighting levels suitable for the examination.

Quality Analysis & Calibration:

Imaging: Serviced and safety tested every 12 months.  Annual quality assurance testing by Radiation Protection Services (RPS).  Review of in-service equipment should typically be undertaken four to six years after installation.
Doppler: none

Patient and staff safety:

Electrical: Equipment must comply with the Medical Devices Directive. Manufacturer completes PPQ (post-purchase questionnaire) form. Safety tested on arrival and then annually.

Infection control:

Appropriate levels of PPE should be worn for the examination (barrier guidelines should be adhered to for infectious patients). Probes should be thoroughly cleaned with a Clinell disinfectant wipe between all patients.

In cases where infectious patients have been assessed (e.g. MRSA and Clostridium difficile) the ultrasound machine should be thoroughly cleaned with Clinell wipes post-examination.

For sterile procedures sterile probe covers and gel should be used.

Ultrasound Safety:  Output powers are quoted by manufacturer.

Users are required to be aware of the potential risks and methods of minimising ultrasound exposure (guidelines: The safe use of Ultrasound in Medical Diagnosis. British Medical Ultrasound Society. Ed. G. ter Haar and F A Duck. 2000).

Contraindications and limitations:

Contraindications for AAA ultrasound surveillance are unlikely; however, some limitations exist and may include the following:

- Obesity

- Dressings, open wounds etc

- Patient unable to lie flat

- Bowel gas when examining the abdominal area

- Patients who are unable to cooperate due to reduced cognitive function

- Patient discomfort

Communication with patients:   The vascular scientist undertaking the examination should:

- Introduce themselves

- Confirm the patients identity e.g. full name and date of birth

- Explain why the examination is being performed

- Give an explanation of the procedure and its duration – consideration should be made to the age and mental status of the patient

- Obtain verbal consent for the examination

- Obtain a pertinent medical history from the patient and/or notes:

  - Verify that the requested procedure correlates with the patient’s clinical situation

  - Previous extent of aneurysmal dilatation

  - Results of other relevant diagnostics & previous vascular studies

- Explain how/when the patient will be informed of the results

Test Procedure, Interpretation and Grading

The patient is asked to remove their clothing to expose the abdomen and to lie in a supine position on the examination couch. The patient’s dignity and privacy should be maintained at all times. Due to the intimate nature of the examination it may be considered necessary to offer a chaperone. During the examination, the patient’s mental and physical status should be monitored and modifications made to the examination accordingly.

Using the 5-1 MHz transducer, the abdominal aorta should be identified and traversed from as proximally as possible to the level of the iliac bifurcation in order to identify the aneurysmal region. The area of maximum anterior-posterior diameter is located and the maximum diameter is measured in longitudinal cross section. Diameter measurements are made inner wall to inner wall in corroboration with the national abdominal aortic screening programme (NAAASP) protocol. The diameter measurement is taken in cm and these units should be clearly stated in the report.

Patients attend for AAA surveillance at the following intervals dependant on AAA size:

3-3.9 cm AAA- 12 month surveillance

4.4-9 cm AAA- 6 month surveillance

5-5.4 cm AAA- 3 month surveillance

When an AAA reaches 5.5 cm in diameter the patient is referred for assessment by a vascular surgeon.

Reporting the Results

The report is written on CRIS by the vascular scientist who performed the examination.

The report should include the correct patient demographics; date of examination and examination type.

The report should include:

- Maximum diameter of the AAA measured (cm)

- Any limitations of the examination e.g. bowel gas

- Any incidental findings

- When the next surveillance ultrasound scan is required (see surveillance intervals above)

An appropriate number of annotated images that represent the entire ultrasound examination and demonstrate the maximum anterior-posterior diameter of the AAA

If an AAA is found to have reached 5.5 cm, the aortic team (CNS’s) should be informed via email.

References

- Standards for Ultrasound Equipment Royal College of Radiologists, February 2005 www.rcr.ac.uk

- Guidelines for Professional Working Standards Ultrasound Practice United Kingdom Association of Sonographers (UKAS) October 2008 www.sor.org/learning/document-library

- The Causes of Musculoskeletal Injury Amongst Sonographers in the UK Society of Radiographers, June 2002 www.sor.org/learning/document-library

- Society for Vascular Technology Professional Standards Committee Chaperone Guidelines April 2012 www.svtgbi.org.uk

- The EFSUMB Guidelines and Recommendations on the Clinical Practice of Contrast Enhanced Ultrasound (CEUS): Update 2011 on non-hepatic applications www.icus-society.org

- Chapter 11 Duplex assessment of Aneurysms and Endovascular Repair; Vascular Ultrasound How, Why and When Third Edition Edited by Abigail Thrush & Tim Hartshorne