Test Protocol: Endovascular Aortic Repair Ultrasound Surveillance

Protocol last updated on: April 2018

The scan is performed on patients who have undergone endovascular repair of an abdominal aortic aneurysm.  Surveillance of the stent grafts following surgery is performed to identify any features that may threaten stent-graft durability.  Duplex sonography is used to measure aneurysm size (residual sac size), identify and characterize endoleaks, visualize flow that could indicate adverse structural issues such as limb kinking or occlusion, and confirm patency of fenestrated vessels, therefore confirming stents are in situ.  Common indications for the scan include:

- Initial post EVAR assessment

- Routine EVAR surveillance

- Post-surgical intervention follow up e.g. post limb extension or angioplasty

- Patency and functionality of crossover graft and/or fenestrations

- False aneurysm/fluid collection(s) at access site(s)

Equipment required: 
High quality colour Duplex ultrasound machine:

Cart based ultrasound system e.g. Philips Epiq5; including low, mid, and high frequency probes (ranging 2MHz-17Mhz)

Peripherals:

CRIS, PACS

Consumables:

Paper roll, paper hand towels, ultrasound gel, clinell wipes

Other:

Adjustable examination couch.  The CVS’s chair should provide good lumbar support, be height adjustable and allow for the CVS to move close to the examination couch.  The examination room should be temperature controlled with adjustable lighting levels suitable for the examination.

Quality Analysis & Calibration:

Imaging: serviced and safety tested every 12 months. Annual QA testing performed by Radiation Protection Service (RPS).
Doppler: none

Patient and staff safety:

Electrical: Equipment must comply with the Medical Devices Directive. Manufacturer completes PPQ (post-purchase questionnaire) form. Safety tested on arrival and then annually.

Infection control:

Appropriate levels of PPE should be worn for the examination (barrier guidelines should be adhered to for infectious patients). Probes should be thoroughly cleaned with a Clinell disinfectant wipe between all patients.

In cases where infectious patients have been assessed (e.g. MRSA and Clostridium difficile) the ultrasound machine should be thoroughly cleaned with Clinell wipes post-examination.

For sterile procedures sterile probe covers and gel should be used.

Ultrasound Safety:  Output powers are quoted by manufacturer.

Users are required to be aware of the potential risks and methods of minimising ultrasound exposure (guide-lines: The safe use of Ultrasound in Medical Diagnosis. British Medical Ultrasound Society. Ed. G. ter Haar and F A Duck. 2000).

Contraindications and limitations:

Contraindications for post-EVAR duplex ultrasound assessment are unlikely; however, some limitations exist and may include the following:

- Obesity

- Dressings, open wounds etc

- Patient unable to lie down flat

- Bowel gas when examining the abdominal area

- Patients who are unable to cooperate due to reduced cognitive function

- Patient discomfort

- Acoustic shadowing from certain graft types

Communication with patients:   The vascular scientist undertaking the examination should:

- Introduce themselves

- Confirm the patients identity e.g. full name and date of birth

- Explain why the examination is being performed

- Give an explanation of the procedure and its duration – consideration should be made to the age and mental status of the patient

- Obtain verbal consent for the examination

- Obtain a pertinent medical history from the patient and/or notes:

  - Verify that the requested procedure correlates with the patient’s clinical situation

  - Previous extent of aneurysmal dilatation

  - Type of device e.g. bifurcating, aorto-uni-iliac with crossover graft, fenestrated

  - History of previous treatment e.g. angioplasty or embolization

  - Results of other relevant diagnostics & previous vascular studies

- Explain how/when the patient will be informed of the results

Test Procedure, Interpretation and Grading

Patients attend for EVAR surveillance at week 6 – 3 months post EVAR procedure (in consultant clinic); then at months 6 and 12 months (in surveillance clinics).  Patients will be seen annually after that.

The patient is asked to remove their clothing to expose the abdomen.  The patient is examined supine.  The patient’s dignity and privacy should be maintained at all times.  Due to the intimate nature of the examination it may be considered necessary to offer a chaperone. During the examination the patient’s mental and physical status should be monitored and modifications made to the examination accordingly.

Using the 5-1 MHz transducer, the transverse and longitudinal section views of the aorta and stent grafts should be imaged from as proximally as possible through to the iliac bifurcation.

B-mode should be used to image the EVAR graft, its position and location, the size of the residual aneurysm sac and the echogenicity of its contents. For standard EVAR, the level of the renal arteries is the uppermost limit necessary.  For FEVAR, the level of the ribcage and coeliac arteries is the uppermost limit.

Diameter measurements are made inner wall to inner wall in corroboration with the national abdominal aortic screening programme (NAAASP) protocol. The diameter measurement is taken in cm and these units should be clearly stated in the report.

Colour Doppler should be used to confirm patency of the EVAR limbs. A spectral Doppler trace should be obtained in each limb to confirm normal flow pattern. For FEVAR, the SMA and coeliac arteries should be visualised using colour Doppler to confirm patency (if possible). Colour Doppler should then be used to assess for endoleaks in transverse and longitudinal cross sections. An endoleak can only be confirmed if it has been seen in both transverse and longitudinal.

Any increase in aneurysm sac should be highlighted and monitored. If an endoleak is identified it must be characterized if possible for its type and location.

Reporting the Results

The report should be entered into the Concerto EVAR database by the vascular scientist who performed the examination.

The report should include the correct patient demographics; date of examination and examination type.

The report should include:

- Residual aneurysm sac diameter at maximum anterior-posterior diameter in longitudinal cross section

- Presence/absence of endoleak(s), including location and endoleak type

- Patency of stent/limb(s) with flow quality, including crossover graft if applicable.

- Flow through native vessels distal to the graft down to femoral bifurcations if indicated

- Presence and type of access site complications (both lower and upper) in initial scan only.

- Any other incidental findings, e.g. false aneurysm, haematoma, arterio-venous fistula, intimal flaps, dissection etc

- Any limitations e.g. difficult examination due to body habitus, bowel gas, calcification etc

The following optimised set of images should be obtained and stored:

- Maximum anterior-posterior diameter measurement of residual sac in longitudinal cross section

- Colour Doppler images demonstrating patency of  EVAR limbs

- Spectral Doppler trace in EVAR limbs

- (FEVAR only) Colour Doppler images demonstrating patency of fenestrations (if visualised).  If not visualised, report not seen.

- Appropriate images demonstrating the presence of an endoleak (if detected)

Any increase in residual sac size and/or detection of an endoleak should be reported to the Endovascular surveillance lead (Mr Maciej Juszczak).

References

- Standards for Ultrasound Equipment Royal College of Radiologists, February 2005 www.rcr.ac.uk

- Guidelines for Professional Working Standards Ultrasound Practice United Kingdom Association of Sonographers (UKAS) October 2008 www.sor.org/learning/document-library

- The Causes of Musculoskeletal Injury Amongst Sonographers in the UK Society of Radiographers, June 2002 www.sor.org/learning/document-library

- Society for Vascular Technology Professional Standards Committee Chaperone Guidelines April 2012 www.svtgbi.org.uk

- The EFSUMB Guidelines and Recommendations on the Clinical Practice of Contrast Enhanced Ultrasound (CEUS): Update 2011 on non-hepatic applications www.icus-society.org

- Chapter 11 Duplex assessment of Aneurysms and Endovascular Repair; Vascular Ultrasound How, Why and When Third Edition Edited by Abigail Thrush & Tim Hartshorne