Test Protocol: Lower Limb Venous Ultrasound Scan

Protocol last updated: April 2018

Venous duplex ultrasound is performed on individuals presenting with suspected venous insufficiency (varicose veins, venous eczema and ulceration) to identify reflux/incompetence in the deep or superficial venous systems.

Equipment required:

High quality colour Duplex ultrasound machine:

Cart based ultrasound system e.g. Philips Epiq 5G; including low, mid, and high frequency probes

Portable ultrasound system e.g.  Philips CX50; including low and mid frequency probes

Peripherals:

CRIS, PACS

Other:

Electronic adjustable examination couch, height adjustable chair

Consumables:

Paper roll, paper hand towels, ultrasound gel, clinell wipes

Quality Analysis & Calibration:

Imaging: serviced and safety tested every 12 months. Annual QA testing performed by Radiation Protection Service (RPS).
Doppler: none

Patient and staff safety:

Electrical:

Equipment must comply with the Medical Devices Directive. Manufacturer completes PPQ (post-purchase questionnaire) form. Safety tested on arrival.

Infection control:

Appropriate levels of PPE should be worn for the examination (barrier guidelines should be adhered to for infectious patients). Probes should be thoroughly cleaned with a Clinell disinfectant wipe between all patients.

In cases where infectious patients have been assessed (e.g. MRSA and Clostridium difficile) the ultrasound machine should be thoroughly cleaned with Clinell wipes post-examination.

For sterile procedures sterile probe covers and gel should be used.

Ultrasound Safety:

Output powers are quoted by manufacturer.

Users are required to be aware of the potential risks and methods of minimising ultrasound exposure (guidelines: The safe use of Ultrasound in Medical Diagnosis. British Medical Ultrasound Society. Ed. G. ter Haar and F A Duck. 2000).

Contraindications and limitations:

Contraindications for venous ultrasound examinations are unlikely; however, some limitations exist and may include the following:

- Patients with large lower limb size causing poor visualization due to increased vessel depth

- Patients unable to tolerate calf augmentation (e.g. due to ulceration or tenderness)

- Patients unable to stand or sit upright for examination

- Patients unable to cooperate due to reduced cognitive function (unable to maintain correct position)

- Vasovagal response due to calf augmentation

Communication with patients:  The vascular scientist undertaking the examination should:

- Introduce themselves

- Confirm the patients identity e.g. full name and date of birth

- Explain why the examination is being performed

- Give an explanation of the procedure and its duration – consideration should be made to the age and mental status of the patient

- Obtain verbal consent for the examination

- Obtain a pertinent medical history from the patient and/or notes:

  - Verify that the requested procedure correlates with the patient’s clinical situation

  - Results of other relevant diagnostics & previous vascular studies

- Explain how/when the patient will be informed of the results

N.B the scientist must explain to the patient the possibility of syncope and keep alert to the possibility of a vasovagal response and react accordingly.

Test procedure:

The aim of a venous duplex scan is to identify reflux in the lower limb venous systems of patients presenting with varicose veins, venous eczema and ulceration. Several sitting or standing positions are possible for vein scanning, but it is imperative that the patient is essentially upright in order to demonstrate reflux.

Deep Veins

Using the 12-3 MHz probe, identify the common femoral vein, profunda femoris vein origin and proximal superficial femoral vein. In longitudinal cross section, use colour Doppler (and spectral Doppler if indicated), to assess competence and quantify the extent of retrograde flow if present. This assessment should be repeated for the above knee (AK) and below knee (BK) portions of the popliteal vein. The proximal gastrocnemius veins should be assessed for incompetence in transverse cross section using colour Doppler (+/- spectral Doppler).  Flow within the veins is stimulated using calf augmentation.

Long Saphenous Vein (LSV)

Using the 12-3 MHz probe and B-mode imaging locate the saphenofemoral junction (SFJ) and identify the origin of the LSV. Using colour Doppler (+/- spectral Doppler) and calf augmentation assess the SFJ and LSV origin for incompetence (and quantify reflux if seen). Using B-mode imaging, follow the LSV down the thigh and into the calf, assessing for incompetence at points along its length. Take diameter measurements and note tortuosity and whether the LSV remains within or leaves the fascia.  Note sites of branches and whether these have an impact on the status of the LSV. If any large perforators are seen these should be assessed for incompetence.

Short saphenous Vein (SSV)

The same technique may be applied to scanning the SSV which is evident in the posterior calf. The saphenopopliteal junction should be located using B mode imaging and the origin of the SSV identified. Using colour Doppler (+/- spectral Doppler) and calf augmentation assess the SPJ and SSV origin for incompetence (and quantify any reflux seen). Using B-mode imaging follow the SSV down the calf, assessing for incompetence at points along its length. Note diameter, tortuosity and any changes in the SSV due to branches etc. Assess any large perforators for incompetence.

If the source of incompetence of the LSV/SSV or a localised region of varicosities has not been identified as the junctions with the deep venous system, the appropriate areas should be assessed for incompetent branches or perforators.

Severity of reflux can be defined as follows:

| Reflux | Duration | Volume |
| --- | --- | --- |
| No Reflux | < 0.5 sec | Short burst of reverse flow sufficient to close valves |
| Borderline | 0.5 – 1.0 sec |  |
| Moderate to severe | > 1.0 sec |  |

N.B. In the single visit clinic setting limited investigations may be carried out as per 
instruction and this shall be acknowledged in the report.

Reporting of results:

All reports should be written on CRIS and should include:

- Patency and competence of the deep veins

- Patency and competence of the SFJ, LSV, SPJ and SSV

- Severity of incompetence/reflux (if seen)

- Details of incompetent superficial veins (diameter, tortuosity etc)

- Alternative sources of varicosities e.g. perforators, neo-vascularities, pelvic branches

No images are obtained and stored for lower limb venous scans

References:

Jamieson. W. (1993). State of the Art of Venous Investigation and Treatment, Canadian Journal of Surgery. 36(2):119-128. 
Jiang. P. et al, (1999). Recurrent varicose veins: patterns of reflux and clinical severitv, Cardiovascular Surgery. 7(3):332-9. 
Lunt. M. 1 999). Review of Duplex and colour Doppler imaging of lower-limb arteries and veins. Journal of Tissue Viability. 9 (2):45-55. 
Thrush. A. and Hartshorne. T. (1999). Peripheral Vascular Ultrasound: How, Why and When. London, Churchill Livingstone. 
Zweibel. W. (1992). Introduction to Vascular Ultrasonographv, Philadelphia. W. B. Saunders Company.