Clinical Measurement Department

Royal Derby Hospital

University Hospitals of Derby and Burton NHS Foundation Trust

Standard Operating Procedure:  Lower Limb Arterial Doppler ultrasound

Cardiobase computer code

V04 (unilateral) or V05 (bilateral)

Referral Criteria

Adult patients, both in and out patients, with a clinical suspicion of peripheral arterial disease (PAD), rest pain or critical limb ischemia.

Outpatient referrals will be accepted from other NHS Trusts.

There is no GP access service for this procedure.

A suitably completed request form or clinic letter is required, which includes the patient details and reason for referral.

Objectives of the scan:

- To locate and quantify the severity of any present arterial disease.

- Measure the length of the occlusions

- Identify the presence and location of aneurysms or ectatic vessels.

Operational procedure

- Some patients attending for a lower limb arterial doppler ultrasound examination will have received an appointment letter with an accompanying information leaflet about the procedure.

- Other patients will be a direct referral from the ward.

- Patients will have a positive patient ID carried out and the member of staff should introduce themselves.

- The procedure will be explained and verbal consent from the patient is obtained.

- Patients will be required to expose the skin from their groin (at the level of the inguinal ligament) to the ankle. If the patient is wearing very loose fitting lower clothing (e.g. loose shorts or skirt) that facilitate this, they may keep them on. If not, the patients will be asked to remove their clothing (excl. underwear) from the waist down and lie on the examination couch.

- Paper towel/sheet will be provided to limit patient exposure and to protect patient’s underwear from ultrasound gel. Staff should always maintain the privacy and dignity of the patient at all times.

- The test is performed with the patients laying on the examination couch. The light will be dimmed and the patient information inputted into the ultrasound equipment.

- Ultrasound gel will be applied to the ultrasound probe and the probe will be applied to the skin..

Departmental protocol:

Ankle brachial pressure index (ABPI) should be recorded as a baseline (See protocol for ABPI). If ABPI measurement is unobtainable, then the arterial waveforms or absence of pedal pulses should be documented. The ABPI may help evaluate the haemodynamic consequences of lower extremity arterial disease.

At the Royal Derby Hospital, there are two predominant referral pathways for lower limb arterial Doppler ultrasound examinations. These are the ‘Diabetic’ and the ‘Claudicant’ pathways. These should come from either a vascular or diabetic consultant.

For patients referred via the ‘Diabetic’ pathway, the lower limb arterial Doppler ultrasound scan should include the assessment of following throughout their entire length (as a minimum):

- Common Femoral artery

- Profunda Femoral artery (only proximally)

- Superficial Femoral artery

- Popliteal artery

- Tibio-Peroneal trunk

- Anterior Tibial artery

- Posterior Tibial artery

- Peroneal artery

If indicated, then the aorto-iliac segment should also be assessed. Such indications may include damped or turbulent waveforms, and/or low peak systolic velocities in the ipsilateral common femoral artery.

For patients referred via the ‘Claudication’ pathway, the lower limb arterial Doppler ultrasound scan should include the assessment of following throughout their entire length (as a minimum):

- Aorta

- Common Iliac artery

- External Iliac artery

- Common Femoral artery

- Profunda Femoral artery (only proximally)

- Superficial Femoral artery

- Popliteal artery

- Tibio-Peroneal trunk

- Anterior Tibial artery (spot check at ankle)

- Posterior Tibial artery (spot check at ankle)

- Peroneal artery (spot check at ankle)

If indicated, then the crural arteries should also be assessed in full. Such indications may include a significant change in the arterial waveforms from the distal popliteal artery/TPT to the distal crural arteries at the ankle (e.g. biphasic distal POPA but damped monophasic distal ATA).

When assessing the respective arterial segments, it should incorporate the following techniques:

- B-mode ultrasound should be used assess and measure the diameter of any aneurysmal or ectatic arterial dilatations using inner to inner measurements. It should also be used to assess and identify any intraluminal athermanous plaque or lesions. Particular attention should be paid to the Common femoral artery in the transverse plane to identify any calcific atheroma that may inhibit the insertion of a catheter (e.g. for angioplasty).

- Colour Doppler should be used to detect and assess the arterial flow characteristics, identifying any areas with haemodynamic disturbances (e.g. significant stenosis). It also facilitates the optimal position for spectral doppler to be selected and performed.

- Spectral Doppler should be used to sample peak systolic velocities and perform waveform analysis. This should be performed in the following sites where relevant at minimum (in the absence of any atheroscletoric disease or luminal narrowings):

  - Aorto-iliac segment: Wherever an appropriate Doppler angle is obtainable in each vessel, but ideally a measurement in the prox-mid segment should be achieved.

  - Common Femoral artery: Mid

  - Profunda Femoral artery: Proximal

  - Superficial Femoral artery: Proximal, mid and distal

  - Popliteal artery (proximal and distal)

  - Tibio-Peroneal trunk: Mid

  - Anterior Tibial artery: Distal

  - Posterior Tibial artery: Distal

  - Peroneal artery: Distal

In the presence of an identified atherosclerotic lesion or luminal narrowing as demonstrated on colour Doppler, a further spectral Doppler sample should be performed at the site of highest velocities indicated (colour Doppler aliasing). This usually lies within or immediately distal to a stenotic or narrowed region. Spectral Doppler should then also be performed immediately proximal to the area of concern in order to obtain peak systolic ratio (highest PSV: pre-stenotic PSV) for quantification purpose (see interpretation).

Limited Lower Limb Arterial Dopper ultrasound examinations

If clinically appropriate, a focused or limited examination may be appropriate in certain situations (e.g. a medical referral for a lower limb arterial Doppler ultrasound examination for a patient with no vascular or diabetic consultant review, and where ABPI is unavailable or contraindicated).

Limited studies should include spot check analysis of the following vessel segments:

- Distal Common Femoral artery

- Proximal Profunda Femoral artery

- Distal Superficial Femoral artery

- Distal Popliteal artery

- Distal Anterior Tibial artery

- Distal Posterior Tibial artery

- Distal Peroneal artery

For requests that are seeking to assess the suitability for compression bandaging, only the Popliteal artery and distal crural arteries should be assessed. If any arterial abnormalities are seen or indicated, then this should be reported and a vascular surgical review should be recommended.

Equipment

For the assessment of the Aorto-Iliac segment, a curvilinear 3-5 MHz ultrasound transducer should be used.-

For the assessment of the peripheral lower limb arteries, a linear 8-12 MHz ultrasound transducer should be used.

Interpretative Diagnostic criteria (Thrush & Hartshorne, 2009)

| Diameter reduction | Velocity ratio |
| --- | --- |
| 0-49% | <2 |
| 50-74% | ≥2 |
| 75-99% | ≥4 |
| Occluded | No flow |

Exam conclusion

- At the end of the procedure the patients will be given more paper towel with which to remove the gel, and then asked to redress.

- The performing or supervising clinical physiologist may explain the results and outcome using terminology and vocabulary that is understandable to the patient.

- An electronic report will be promptly written that includes details of:

  - All of the pathology demonstrated (or absence of). This includes the location, severity and length of any focal stenosis, the proximal and distal extent of any occlusions, and the plaque morphology where indicated (e.g. calcific)

  - All peak systolic velocity measurements and waveforms at each sample site.

  - Any limitations experienced during the examination.

- The environment and equipment will be cleaned according to the local infection control protocols.

Hazards and risks

1. There are no known risks from performing ultrasound on a patient (See BMUS 2009 for safety of ultrasound review).

2. Unsteady and patients with a high risk of falls may need additional aids to get them on and off the couch in a safe manner.

3. Staff must ensure they work in a safe environment maintaining correct posture and minimising repetitive strain injuries.

Audit process

Staff are regularly audited across all disciplines and periodically competency assessed.

Discharge process

All electronic reports are available to be reviewed immediately after being submitted. However, if the performing or supervising clinical physiologist suspects an urgent finding then this should be immediately escalated directly to the relevant consultant.

Inventory

Time taken – 30 mins to 1 hour

Consumables

Paper towels

Ultrasound gel

Staffing

Clinical Physiologist Band 6 or 7

Trainee Clinical Physiologist that has been competency assessed or under supervision from a qualified Clinical Physiologist.

Appendix

Practical considerations for leg arterial scans:

According to Thrush and Hartshorne 2009/2010, a femoro-popliteal scan can normally be examined in 30 minutes in both legs (excluding ABPIs).

A bilateral aorto-iliac to ankle scan may take up to an hour (excluding ABPIs).

Therefore due to waiting list and departmental cost pressures, a femoro-popliteal scan including ABPIs is normally undertaken in this department with ‘extra scans’ of the aortoiliac and calf region only performed in special circumstances.

Pseudoaneurysms:

When a pseudoaneurysm is identified, the size of the pseudoaneurysm, the size of the residual lumen, and the length and width of the communicating channel (the neck) should be documented with appropriate grayscale and colour Doppler techniques. Spectral Doppler waveforms should be obtained in the communicating channel to demonstrate “to-and-fro” (Oscillatory) flow.

Peripheral aneurysms:

The locations of aneurysms should be documented. The widest diameter of the artery or aneurysm should be measured (outer wall to outer wall) on grayscale images in a plane perpendicular to the long axis of the lumen (TS and LS). If present, patency and the presence of an intraluminal thrombus should be documented with colour Doppler imaging.

| Vessel | Normal Diameter (mm) |
| --- | --- |
| Abdominal Aorta | 21-24 |
| Common Iliac Artery | 17-20 |
| External Iliac Artery | 8-10 |
| Common Femoral Artery | 7-9 |
| Superficial Femoral Artery | 6-8 |
| Popliteal Artery | 4-6 |

Steigler H & Brandl R. Ultraschall in Med 2009; 30 : 334-363

An aneurysm is defined as a focal dilatation with respect to the original artery, this can occur in both arteries and veins though venous aneurysms are much less common. An aneurysm can be described as a diameter which is at least one and one and a half times the normal diameter of the vessel e.g. an abdominal aortic aneurysm (AAA) will typically measure >3cm (30mm) (Aggarwal et al. 2011).

References:

- HWANG, J. Y. Doppler ultrasonography of the lower extremity arteries: anatomy and scanning guidelines. Ultrasonography, v. 36, n. 2, p. 111,  2017.

- THRUSH, A.; HARTSHORNE, T. Vascular Ultrasound: How, Why and When.   Churchill Livingstone, 2009.

- Strandness's Duplex Scanning in Vascular Disorders  – 1 Jan 2010 by Mark Meissner (Author), R. Eugene Zierler (Editor)

- Peripheral Arterial Ultrasound Examinations Using Color and Spectral Doppler Imaging available from: http://www.aium.org/resources/guidelines/peripheralarterial.pdf

- Steigler H & Brandl R. Ultraschall in Med 2009; 30 : 334-363

- Aggarwal S., Qamar, A., Sharma, V and Sharma, A. Abdominal aortic aneurysm: A comprehensive review. Experimental & Clinical Cardiology, v. 16, n. 1, p. 11-15, 2011.