UNIVERSITY HOSPITAL COVENTRY,

VASCULAR INVESTIGATION UNIT.			January 1016.

PROTOCOL FOR

CAROTID AND VERTEBRAL ARTERY ULTRASOUND ASSESSMENT

INTRODUCTION

Carotid atherosclerosis is a major cause of stroke and TIA's (Transient Ischaemic Attacks). Colour duplex ultrasound is the best screening tool for carotid artery disease. Its main practical use is to assess patient’s suitability for carotid surgery. Carotid endarterectomy has been proved to reduce stroke rates in patients with focal symptoms and greater than 50% (NASCET criteria) stenosis (Trials: NASCET and ECST). Slight benefit has also been proved for asymptomatic patients with greater than 60% stenosis ( ACST). The degree of stenosis in the ICA (Internal Carotid Artery) is still the main prognostic indicator for future stroke. For other prognostic features such as ulceration and echolucent plaque, it is less clear, at present, as to how they should be used in patient management.

This protocol uses the NASCET grading criteria for the ICA whereby the degree of ICA stenosis is measured relative to the diameter of the distal ICA. We are also broadly following the 2008 UK carotid ultrasound guidelines (Ref 2).

Grading stenoses in the bulb and CCA are not specifically covered by the UK guidelines, so for these we  grade stenoses relative to the diameter of these vessels at the point of maximum stenosis.

CLINICAL ISSUES

The operator should be familiar with the following clinical presentations (refs.1):

TIA’s/CVA’s – focal/non-focal symptoms

Vertebral TIA’s

Subclavian steal

Fibromuscular dysplasia

Superficial Temporal Arteritis

Dissection

Carotid body tumour

Carotid Aneurysm

The following, if diagnosed, require urgent reporting of the results back to the referring doctor:

>50% ICA stenosis (NASCET).

>70% bulb or CCA stenosis (relative to size of vessel at stenosis).

Superficial Temporal Arteritis  - need urgent anti-inflammatory medication to avoid risk of  blindness.

Dissection

Carotid body tumour

Carotid Aneurysm

Situations where a vascular surgeon should be consulted on the day of the scan.

Frequent focal TIA’s (2 or more in the last week or two) with significant carotid stenosis.

SUMMARY OF METHOD

Note: All PSV measurements should be made with an angle of between 45 and  60 degrees.

Images to be taken: PSV’s from both ICA’s, any other abnormal or suspicious findings as necessary. CCA PSV and EDV should be measured if significant ICA stenosis is suspected.

- Longitudinal projection sweep up CCA and bulb from base of neck to bifurcation

- first with B mode only, then with colour flow.

- make provisional estimate of percentage stenosis from B mode and colour image.

2. Bulb – make provisional estimate of percentage stenosis using B mode with and without colour image.

3. For stenoses in the CCA and bulb (before the flow channels bifurcate) which are about >50% visually or with focal aliasing, take the ratio of PSV’s in a proximal fairly clear segment to the maximum within the stenosis.

4. Identify the 2 flow channels from the bulb and discriminate which is the ICA and ECA using temporal, tap, waveform,  presence of branches and whether lateral or medial.

5. Visually assess the percentage stenosis in the ICA in longitudinal projection. Identify the highest velocity in the ICA and measure the PSV.

6. Follow the ICA as far distally as possible.

7. Perform a transverse projection sweep up the neck first with B mode only, then with colour flow imaging. Image as far proximally as possible. It may be useful to look at the waveform far proximally as this might pick up a post-stenotic jet from a proximal stenosis. Note a unilaterally more damped waveform in the CCA or ICA may suggest a proximal stenosis. On the right, if the innominate artery cannot be imaged and verified as having a biphasic waveform or visually clear, then finding a biphasic waveform in the Right subclavian artery suggests no proximal disease.

Use the transverse assessment of the degree of stenosis in the CCA and bulb to modify your assessment from the longitudinal image. If the transverse image is poor it may be necessary to use longitudinal projections from different angles to that used before, to clarify the degree of stenosis (if possible).

8. Ulcers – for moderate or severe plaque it is useful to search for discrete pits in the plaque that may represent plaque ulcers. This is best performed, by using power mode in several longitudinal projections from different angles. Transverse images may also occasionally be useful. The depth and length of suspected ulcers should be measured as ulcers <2mm deep may not be clinically significant.

9. Image the direction of flow in the vertebral artery and note the PSV and any abnormal velocities (<20 and >60cm/s), focal changes in PSV and waveforms (e.g. systolic notches, high resistance waveforms). If abnormal, it may be useful to image the subclavian artery or innominate artery. Assessment of the vertebral artery as a whole for stenoses (especially the origin) may, occasionally, be useful in selected patients in whom the suspicion of a posterior circulation infarct is high (or proven). Vertebral artery imaging is usually difficult and has a low pickup rate. Also, vertebral symptoms tend to be non-specific, with a variety of different causes that are more likely than vertebral stenosis. Also, the influence on treatment is not always clear. Imaging of the vertebral artery with the neck in different positions may be useful in patients who get vertebrobasilar symptoms with their head in a particular position _ this can be due to external compression of the vertebral artery (often by an osteophyte).

10. Consider if any further assessments are useful. For example, consider whether the visual assessment and velocity data are compatible. Are there any waveforms that are unusual that may suggest disease elsewhere (notched, unilaterally (or occasionally markedly bilaterally) damped or high resistance waveforms). Distal velocity measurements in the ICA can sometimes clarify whether there is a significant focal increase in PSV. Measurement of CCA PSV,EDV  should be taken if there is significant ICA stenosis.

NOTES ON ULTRASOUND ASSESSMENT OF CAROTIDS AND VERTEBRAL ARTERIES

IDENTIFYING THE EXTERNAL AND INTERNAL CAROTID ARTERIES

Once two outflow tracts have been identified arising from the carotid bifurcation it is vital to identify which of the arteries is the internal carotid artery. This should be a consensus of  4 tests detailed below. Any significant doubt in identifying which vessel is which should be reported. Note that if it is uncertain which is which, this may not be too clinically important as long as both arteries are clear with normal velocities and waveforms.

(i) Branches. The ECA has branches in the neck. The ICA very rarely has branches. Sometimes the first ECA branches come directly off the bulb, nearly always on the side of the ECA. It is often a little difficult to locate branches of the ECA, sometimes impossible. It is important to make as sure as possible that the branches meet the artery in question, rather than pass closely by. Note, if searching for branches distally it is sometimes possible to drift onto the other artery as they often pass close by each other distally – looking again at the waveform in each artery can sometimes help resolve this problem in cases of doubt.

(ii) Temporal Artery Tap. When tapping on the superficial temporal artery located just anterior to the ear, significantly stronger modulations in the Doppler waveform should be obtained from the ECA of which it is a major branch.

This test can be occasionally misleading if only one artery is tested as significant modulations can occur in the ICA, but these are stronger in the ECA in the large majority of cases. An exception to this is if the superficial temporal artery is tapped more precisely on testing one artery than on testing the other artery. It is recommended that the superficial temporal artery is palpated first to facilitate tapping directly on it. If the superficial temporal artery is not palpable, then a blind tap on the fleshy part of the front of the ear may be successful. In this case, try to tap with 2 fingers together so that a broad area of tissue is compressed.

(iii) Waveform. The ICA waveform is more damped than the ECA waveform in the majority of cases. This is not always the case. Exceptions usually involve significant outflow obstruction to the ICA, which sharpens the waveform up. e.g. dissection, tight flow limiting stenosis, severe intracranial disease. If the ICA waveform is significantly less damped than the ECA waveform, with no visible cause in the neck, then the possibility of significant distal outflow resistance, possibly intracranial should be mentioned in the report.

(iv) Medial position of ECA. From the anterolateral projection, the ECA is located by sweeping more medially than the ICA in the majority of cases (95%).

Note, the ICA is usually bigger than the ECA, but again there are rare exceptions.

GRADING STENOSES WITH B MODE AND COLOUR DOPPLER

FOR <50% STENOSES

Doppler evidence of stenosis is usually more accurate than visual assessment, so this evidence should always be sought first and take precedence. The visual assessment is to aid description of the plaque mainly in lower grades of stenosis below about 30 to 50% mainly in the bulb and CCA.

Grading stenoses lower than about 30-50% stenosis is usually reasonably accurate using B mode combined with colour Doppler, as long as imaging is adequate. Assessment of stenosis this way requires care and knowledge of potential pitfalls.

If imaging is poor or then visual estimate of stenosis can be inaccurate.

If there is Doppler velocity evidence of a significant stenosis, then this is usually more accurate than visual assessment and the Doppler evidence should take precedence.

Pitfalls:

i) Echolucent plaque – occasionally plaque may be difficult to see, due to poor echolucency. Hence B mode imaging alone is inadequate. If, colour filling has been optimised and imaging is judged as adequate, then using the colour flow to define the flow channel may be necessary. In practice, plaque is rarely completely echolucent and adjusting the grey scale may help visualise the plaque.

ii) Multiple reflections: These cause artefactual grey scale shadows within the lumen, especially on the top edge of the artery. These can be reduced by imaging through the jugular vein or imaging from different angles.

iii) Poor colour filling: this might lead to overestimate the degree of stenosis.

iv) Longitudinal Projection: Plaque can only be assessed accurately through the maximum diameter of the artery. Imaging off the maximum diameter will overestimate the amount of plaque. Note: a single longditudinal projection will miss plaque across the artery out of the image plane, which may occur if the plaque is eccentric in shape.

Imaging in transverse projection avoids this problem.

If tranverse images are poor, then serial longditudinal views from different angles (sweeping through 90 degrees) round the neck may be needed to avoid missing eccentric plaque. If these cannot be obtained, then more emphasis on the PSV measurement may be used to help define the stenosis.

(iv) Colour flow overpainting: Occasionally, the colour flow overpaints plaque, resulting in underestimation of the degree of stenosis. This is more of a problem for >50% stenoses, where the PSV or PSV focal changes are more accurate. When imaging is poor, the assessment can be inaccurate.

FINAL ASSIGNMENT OF DEGREES OF STENOSIS IN ICA

Note, there are occasionally circumstances where the degree of stenosis visually is discrepant with the PSV alone (e.g. tight flow limiting stenosis, younger women with small arteries (this group has higher velocities), contralateral severe disease, hyperthyroidism, anaemia). In this case, a consensus given all the available evidence is necessary and evidence of a focal change in PSV should be sought.

Grading the percentage ICA stenosis should be reported using the NASCET method – i.e. grading the stenosis relative to the diameter of the distal ICA.

Using this grading, patients with >50% NASCET (which is equivalent to 70% ECST stenosis) stenosis would be potential candidates for surgery. Pooled data from surgical trials have shown that symptomatic patients with 50-69% NASCET stenosis have a relatively small benefit from surgery (although not in all subgroups – notably women and those >12 weeks after their TIA or stroke).

>70% NASCET stenosis patients had a larger benefit, which was significant in all subgroups.

Grading criteria use 3 different methods:  ICA PSV,    ICA PSV/CCA PSV  and the St Marys ratio (ICA PSV/ CCA EDV):

ICA PSV for > 50% NASCET  =  >125 cms

>70%  NASCET   =  > 230 cm/s.

ICA PSV/CCA PSV ratio  	50-69%  =  >2.0

>70%  NASCET   =  4.0

St Marys ratio (ICA PSV/CCA EDV)	50-59%	8-10

60-69%	11-13

70-79%	14-21

80-89%	22-29

>90%		>30

Near occlusion				String flow

St Marys ratio should not be used if the CCA EDV is <8 cm/s as it is inaccurate in this circumstance.

If the findings are discrepant between the 3 measures (ICA PSV, ICA PSV/CCA PSV ratio and St Marys ratio) then eliminate any measures that might be compromised for any reason, then make a decision based on all available evidence including visual impression, taking into account the reliability of each bit of evidence.  If still not confident of grading, due to discrepancies between evidence, then a report reflecting this uncertainty should be made.

MEASUREMENT  of  PSV

If the PSV measurement is near a tight bend, then it may overestimate the degree of stenosis. In this case a visual impression of the degree of stenosis may be useful. In some cases there will be genuine uncertainty as to which is correct if imaging is poor.

ADDITIONAL MEASUREMENTS FOR >50% NASCET STENOSES

For those with a stenosis greater than 50%, who may be candidates for carotid surgery (and other patients in whom it is suspected a carotid surgical opinion may be useful), we need to provide extra information. This is so the vascular surgeon can judge whether any other imaging (angiogram or MRA) is necessary before surgery.

The surgeon needs to know:

(1) Assessment of  the precise position of  any significant plaque in the CCA. This is so the surgeon can decide the best place to place the CCA clamp.

(2) The length of the ICA plaque measured from the flow divider. If uncertain, a slight overestimate is safer, as this will avoid inadvertent distal clamp placement through significant plaque. Excessive overestimation of plaque length is undesirable as this may make it considerably more difficult to dissect out the artery distally to the necessary length and possibly lead to increased morbidity.

(3) Assessment of the severity of the plaque distal to the stenosis and whether the ICA can only be imaged for a short distance distally. Also, if the distal extent of the stenosis cannot be imaged.

(4) If the distal extent of the plaque is near the jawline.

(5) If there is any uncertainty in the diagnosis or imaging difficulties.

(6) If it is suspected that there is disease beyond where imaging is possible. E.g. a high resistance waveform distally.

OCCLUSIONS

Distinguishing occlusion from tight stenosis is one of the most important diagnostic decisions to be made. If an artery is tightly stenosed and this is unrecognised, the  patient will be subjected to a high risk of major stroke of about 10% per year.

The procedure for searching for occlusions is as follows:

(1) Identify  the ICA suspected of being occluded in B mode. If the ICA cannot be identified with reasonable confidence, then we should consider whether,   imaging is too difficult to diagnose an occlusion with reasonable confidence. Any uncertainty should be stated in the report.

(2) Reduce the scale to the lowest possible allowable by artefacts. Failure to reduce the scale setting sufficiently can be a common cause of misdiagnosis.

(3) Make sure the receive gain has been set to just below or at the twinkle point.

(4) Optimise machine settings for low flow:

(5) Try careful searching with longditudinal views from different angles for flow. Note:Occasionally a branch of the ECA close to ICA can be mistaken for flow in the ICA

TIPS:

An angled box will give more sensitivity to low flow, but will result in higher attenuation. A search first with angled box then if unsuccessful with a straight box (with some heel and toe, if necessary) may be worth a try.

The higher frequency linear probes will be more sensitive to low flow, but will suffer from higher attenuation.

It has been reported that moderate exercise (in those able and assessed as safe in) eg. Walking on the spot, may increase blood pressure and carotid flow and make it easier to detect trickle flow. The same approach may make the distal extent of a stenosis more visible.

HEART ARRHYTHMIAS

Heart arrhythmias present difficulties with PSV measurement in that there may be isolated beats which have a higher PSV than is representative of the average PSV in normal sinus rhythm – which is what is required. If there are periods of regular sinus rhythm, then the PSV measurement should be performed from these beats. If there are no periods of regular sinus rhythm, then a visual interpolation as to the average  PSV over several beats should be attempted. Try not to use PSV measurement on beats with an unusually long or short length beat preceding them as these may correspondingly over and underestimate the desired PSV.

It may be useful to note if heart arrhythmias are present on the report as this may be clinically relevant anyway (e.g. Atrial Fibrillation is associated with increased stroke risk).

ULCERATION

Ulceration is defined as: a discrete pit in the plaque surface, at least 2mm deep, with well defined edges.

Ulceration is usually best performed using power mode. Serial longditudinal views of the artery from different angles around the neck should be used. This is to avoid missing ulcers that extend out at right angles from the scan plane.

Note: calcified streaks can sometimes give the erroneous perception of an edge which can lead to a false impression of a pit.

It is useful to search for plaque ulceration in any moderate or severe plaque.

It is useful to note the ulcers depth and width.

Small ulcers <2mm deep have no proven increased stroke risk.

ECHOLUCENCY

Echolucency is difficult to judge, depends greatly on machine settings and has poor intraobserver reproducibility. Hence echolucency assessment is difficult to apply clinically. If echolucency is marked it may be worth mentioning on the report. In the future, methods of quantifying echolucency may make this a more generally useful assessment. Echolucency can be overestimated beyond calcification.

CALCIFICATION

Calcified sections of the artery can be steered around by diligent search from different projections in the majority of patients. If necessary, heel and toeing the probe combined with steering the beam from different directions can help in seeing behind the calcification. Any significant sections of artery not seen due to calcification should be mentioned in the report.

Sometimes, calcification can mask the highest PSV.

If there is a marked focal increase in PSV in the ICA relative to the far distal artery, then a diagnosis of  >50% stenosis can sometimes be made even if a high velocity (>200cm/s) cannot be imaged).

CCA AND BULB STENOSES

As isolated bulb and CCA stenoses are rare specific evidence as to the best grading criteria in these vessel segments is poor. If is reasonable to use a PSV ratio with a proximal clear section of the artery can be used as below (as used for femoral arteries of constant diameter) or if imaging is good, then calliper measurements can sometimes be helpful, especially for a bulb stenosis, where the diameter of the bulb is slightly larger than the CCA, so making the PSV ratio slightly underestimate the percentage stenosis). Note – a marked focal increase in PSV gives the most confident diagnosis.

PSV ratio: 2.5 = 50% stenosis

3 = 60%

3.5 = 70%

4.5 = 80%

7.2 = 90%

(This grading is based on evidence from lower limb arteries: Ultrasound In Medicine and Biology, Vol 18, 1992, p433)

GRADING VERTEBRAL, SUBCLAVIAN AND INOMINATE STENOSES

For these arteries the degree of stenosis is less well defined than for the carotid.

Note indirect findings:distal damping, marked turbulence, reverse flow or systolic notches, high resistance waveforms  etc.  Turbulence is usually associated with a severe proximal stenosis.

Inominate arteries: measure PSV and note indirect findings as above.

Vertebrals – measure PSV and PSV in a normal segment away from the post-stenotic jet (about > 3cm away), but not too far distal if possible. Note: the vertebral PSV can drop significantly from proximal to distal neck in normal patients. A PSV ratio fo >2 is usually associated with a >50% stenosis.

Note indirect findings.

Subclavian Arteries:   Subclavian flow can drop by about 50% from proximal to distal artery, so PSV ratios with the distal subclavian artery can sometimes overestimate the degree of stenosis. Note indirect findings and PSV’s in the stenosis and distally.

For the innominate and subclavian arteries a monophasic waveform is associated with a >50% proximal stenosis.

IMPORTANT NOTE

In about 10% of patients the vertebrals come off the aorta rather than subclavians. In these patients, tell tale reverse vertebral flow or notches won’t be present and stenoses need to be directly imaged if possible or evidence from distal subclavian flow waveforms used.

TRANSCRANIAL DOPPLER ASSESSMENT

A transcranial Doppler to search for emboli may be useful in those with  recent focal symptoms. A 30 minute to 1 hour recording period should be used, which may be truncated if several definite embolic signals are detected.

REFERENCES

1) Introduction to vascular ultrasonography 4th Edition, WJ.Zwiebel, WB Saunders, 2000, ISBN 0-7216-6949-2.

2) Joint recommendations for reporting carotid ultrasound investigations in the United Kingdom, Oates CP et al, Eur J Endovasc Surg, 2008, 10, 1 – 11.

3)  Color Doppler Ultrasonography in Occlusive Diseases of the Brachiocephalic and Proximal Subclavian Arteries,  Mehmet Yurdakul, MD, Muharrem Tola, MD,

Omer Seyfettin Uslu, MD  J Ultrasound Med 2008; 27:1065–1070.

4) Vertebral artery Doppler waveform changes indicating subclavian steal physiology. Kliewer MA; Hertzberg BS; Kim DH; Bowie JD; Courneya DL; Carroll BA, AJR. American Journal Of Roentgenology [AJR Am J Roentgenol], ISSN: 0361-803X, 2000 Mar; Vol. 174 (3), pp. 815-9