# UNIVERSITY HOSPITALS OF COVENTRY AND WARWICKSHIRE

VASCULAR LABORATORY

PROTOCOL FOR:

SURVEILLANCE OF LEG ARTERY VEIN GRAFTS

INTRODUCTION

Vein bypasses are of 2 types: in situ or reversed.

In situ grafts have their internal valves cut out with a valve cutter which is fed up the vein. This allows blood to flow down the leg, which would normally be impeded by the valves. Reversed vein grafts involve dissecting the vein out completely and turning the vein around so that the direction of arterial bloodflow opens the valves.

Both types of graft have similar patency rates.

Vein bypass grafts can develop progressive stenoses due to intimal hyperplasia.

They can also have stenoses due to ineffective removal of the valves for an in situ graft or failure of a valve to open up for a reversed vein graft (eg. Thrombus behind valve). Stenoses might rarely occur due to the suturing of the anastomosis or kinking of the graft. Sometimes external compression might cause an effective stenosis.

Other rare problems are ineffective tying off of the vein side branches which results in an AV fistula or a leak into tissue or false aneurysms at branches or anastomoses.

Usually grafts are formed from a single long segment of LSV. Sometimes 2 sections of vein might be joined together if the available section of LSV is not long enough.

Sometimes vein grafts become aneurysmal. Short sections of dilatation are normally seen along vein grafts due to valve chambers.

The most common graft is a fem-pop vein graft. This usually originates from the CFA and can be anastomosed onto the above or below knee popliteal.

Some fem-pop grafts may be from SFA to pop if the vein available is short or if the graft is for bypassing a popliteal aneurysm.

Synthetic grafts (Woven Dacron or PTFE) do not usually develop progressive stenoses as they have no intima. Superficial grafts have a tendency to thrombose without prior stenosis, so are usually not surveyed. A Miller Cuff is a cuff of vein interposed between the synthetic graft and the artery – this increases patency rates.

Sometimes grafts might be composite – i.e. consist of a synthetic graft anasotomosed onto a section of vein. Synthetic grafts can run into problems with infection and sometimes grafts are scanned to detect this. Infection of a synthetic graft is serious and often requires removal of the graft. Snythetic grafts are more likely than vein grafts to develope false aneurysms at the anastomoses.

Synthetic grafts are often tunnelled under the skin, so there is only a scar at the anastomoses in this case (Veins grafts usually show a continuous scar, although some surgeons engineer short skin bridges to improve healing). Sometimes the scar is not at the position of the graft e.g if poor vein is encountered a section of vein from another part of the leg or sometimes the opposite leg may be used.

PTFE grafts show a smooth bright double reflection at each wall (difficult to see when not at 90 deg. to the wall). Dacron grafts often show a woven corrugated structure.

Progressive stenosis is usually treated by angioplasty, patching or by jump grafting around the narrowed section. It is still debatable whether there is significant benefit in surveying grafts and angioplastying stenoses to make it worthwhile doing.

Some have advocated a life long surveillance program, others no surveillance.

Some have suggested that the initial scan at 6 weeks if normal makes the graft unlikely to block.

Sometimes the natural variations in vein diameter might be mistaken for stenosis. Vein grafts often taper from one end to the other (which way depends on whether the graft is in situ or native).

Grafts might also fail due to progression of disease in the inflow and outflow arteries – so it is sometimes necessary to scan these as well. This is particularly the case when an angioplasty has been performed to the inflow or outflow artery.

Occasionally, acute graft occlusion can be treated by thrombolysis or thrombectomy if caught early.

METHOD

Grafts are usually scanned at 6 weeks, 3 months, 6 months, 12 months then yearly.

Grafts should be surveyed postangioplasty more regularly – probably 3mo, 6 mo etc.

REFERENCES

- Vascular Laboratory Practice Part III Lower Limb Arterial Assessment, Society for Vascular Tehcnology of GB and Ireland (IPEM 2001)

- Peripheral Vascular Ultrasound – How, When and Why ,  Abigail Thrush and Tim Hartshorne, 2nd Ed., 2005, Chapter 9.