# UNIVERSITY HOSPITALS OF COVENTRY AND WARWICKSHIRE

PROTOCOL FOR:

LEG ARTERY DUPLEX SCANNING				November 2003

INTRODUCTION

Duplex leg artery scanning is usually performed for patients with either claudication, leg ulcers, rest pain or acute ischaemia with nerve damage (in which case the patient may be pain free and/or have weakness/numbness in the leg).

Note: If acute ischaemia with nerve damage is suspected in a patient, it should be brought to the attention of a vascular surgeon immediately (consultant or registrar).

Note: Some diabetic patients may not have normal feeling due to neuropathy.

Generally duplex scanning is performed on patients who are likely to be candidates for an intervention (angioplasty or vascular surgery) for their clinical problem.

The surgeon needs to know the location, severity and length of stenoses or occlusions in the main leg arteries, usually including the abdominal arteries.

Duplex scanning is useful in  helping to determine whether arterial bypass or angioplasty may be suitable interventions.  Grafting requires good inflow above a blocked section and good outflow distal to the blocked section, so scanning the entire leg is often required.  Angioplasty is usually performed on a relatively short (<5-10 cm) section of focal stenosis or occlusion and is less successful in longer lesions. Angioplasty is not usually performed for claudication for the tibial arteries where the risks are higher, so the tibial arteries can usually be admitted if the surgeon only wants to know if an angioplastiable  lesion is present (usually in a frail patient who is not fit for operation  or in a claudicant where the severeity of claudication does not justify an operation). Rarely the proximal tibial arteries may be angioplastied in critical ischaemia – usually if the patient is not fit for an operation.

The surgeon will also need to know the position, extent and diameter of any aneursymal segments of artery and whether they contain any intraluminal thrombus.

If  the patient has had previous vascular grafts, it is useful to know their location and type. Usually, there is no need to scan the native arteries in sections already bypassed.

It is not always necessary to scan all arterial sections, depending on the reason for the scan and recent angiography. Which sections need to be scanned needs to be assessed for each patient.  It also needs to be assessed whether unilateral or bilateral scanning is appropriate.

PREPARATION FOR THE TEST

Current department protocol is for no preparation to reduce bowel gas. Many patients can be successfully scanned without preparation and it may complicate diabetic management. Also, there have been conflicting reports as to its efficacy.

If  possible an appointment early in the day should be given if scanning the aortoiliac arteries which tends to reduce bowel gas.

In patients who have had a previous duplex scan of the aortoiliac arteries with failed visualisation of segments due to bowel gas a repeat appointment with prior fasting may be considered. We do not currently use bowel preparation agents.

FASTING PREPARATION (FOR PREVIOUS FAILED AORTOILIAC SCANS).

Give the patient an appointment early in the day.

Instruct the patient not to eat for 6-8 hours prior to the scan. Some clear fluid is acceptable. Instruct the patient to eat a low fibre meal the night before.

Insulin dependent diabetics should be scanned without preparation.

Non-insulin dependent diabetics should eat soon after an early morning appointment.

IDENTIFYING THE  PATIENT

All patients should be positively identified before the test by asking them to tell you their name and date of birth at a minimum. The address may also be checked.

EXPLANATION OF THE TEST AND CONSENT

It should be explained to the patient that the test involves putting gel on their legs and abdomen (if scanning the aortoiliac areas) and following the arteries by resting an ultrasound probe on the skin surface.

Inform the patient that we may need to apply moderate pressure in some areas (especially the abdomen) to visualise the arteries. Also, ask the patient to inform us if they are in discomfort or pain during the test.

Reassure the patient that normally the scan is painless.

Ask the patient if they consent to the test being performed before proceeding.

HISTORY TAKING

After reading the request card. Check with the patient what symptoms of claudication, rest pain or ulceration they have, particularly where these symptoms occur and in which leg.

Generally we should scan the areas requested, but should consider either scanning less or more arterial segments than indicated on the request card if it is judged of value to do so.

Occasionally the patients symptoms do not correlate with the request card or have changed since seeing the consultant.

SCANNING NEAR OR OVER ULCERATED AREAS

Sometimes it is necessary to remove dressings to scan areas near ulcerated areas.

Whether to do this or not has to be judged on an individual basis as to whether the risk of disturbing the wound or infection is less than the advantage gained in diagnosing whether a bypass, for instance, would be possible. This may require discussion with the referring surgeon as to whether this is desireable.

Scanning near ulcerated areas should be performed with sterile technique – i.e. sterile gloves, probe cover and sterile ultrasound gel. Cling film may be used to scan over ulcers on the rare occasions that this is necessary.

Generally the least amount of dressings should be removed to answer the clinical question – usually whether there is a distal patent tibial artery that crosses the ankle joint that would allow a bypass operation to be attempted.

Removing dressings should be performed with caution as these may have adhered to the ulcers and sometimes it may require nursing help if the dressings to be soaked off with sterile saline.

Cling filming the ulcer to reduce the risk of infection till it can be redressed with clean dressings is usually performed after finishing the scan.

INFECTION CONTROL

If the patient has MRSA or if there are open wounds then use a sterile probe cover, sterile gel near open wounds and the operator should wear sterile gloves and plastic apron. Ideally MRSA patients should be performed at the end of a session.

METHOD

GENERAL ASSESSMENT OF STENOSIS OR OCCLUSION

Occlusion is diagnosed by absence of colourflow in an arterial segment after optimising the Colourflow  Doppler imaging and attempting to image the segment from all possible angles. Optimising the colourflow imaging involves:

Checking that the colour gain is optimised (turning the gain up until the colour box is covered in noise, then reducing the gain until this just disappears).

The scale should be reduced as low as possible when trying to diagnose occlusion.

If necessary optimise the scan frequency and transducer selected eg. Abdominal low frequency curvilinear array may be better in the adductor canal.  High frequency linear array may be better when scanning for very low flow in the more superficial areas of the tibial arteries.

Generally if the course of the occluded artery is well seen in B mode, then a confident diagnosis of occlusion can usually  be made.

If  the course of the occluded artery is more difficult to see, the diagnosis of occlusion can be made with less certainty – either probably or possibly occluded.

If the course of the occluded artery cannot be seen in B mode, then the artery should be stated as difficult to image. The likelihood of severe disease or possible occlusion may be inferred in this case if there is a significant drop in Pulsatility index across the unseen segment or if there is reverse flow in the distal artery or flow into the distal segment via collaterals (usually collateral flow is out of the artery if there is no disease above this level).

Stenosis.  The degree of stenosis can be estimated by using the PSV ratio (Ratio of the highest PSV along the stenosis to the PSV in a clear segment of artery (ideally proximal to the stenosis).  PSV’s should be measured with a flow to beam angle of less than 60 degrees.

We currently use the PSV ratio relationships below:

PSV ratio 		% Diameter Stenosis

2				40

2.5				50

3				60

3.5				70

3.9				75

4.5				80

5.8				85

>7.2				>90

from Ranke et al.

There are several caveats to using the PSV ratio.

Firstly the reference PSV should be taken in a fairly clear segment of the same artery (judged by good colour flow across the lumen and lack of visible stenosis on B mode) and this should not be in an area just distal to a significant stenosis (i.e. not in the flow jet area distal to a stenosis). There should not be collaterals or other branches taking flow in or out of the artery between the reference velocity measurement and the stenosis. Also the diameter of the artery should be similar in the reference area and in the stenosis.

The above ideal conditions are not always possible and if the measurement is compromised then this should be stated, but it is often possible to give an approximate degree of stenosis. If the imaging of the vessel is good (i.e. the edge of the plaque can be seen fairly clearly and this corresponds with the colour flow channel), then calliper measurements of degree of stenosis can be useful. There are caveats to using calliper measurements such as B mode multiple reflection artefacts and overpainting of the plaque by colour flow, but an approximate measurement can be useful.

Ideally transverse imaging should be used for this, but longitudinal estimates can be given by carefully moving the probe laterally until the widest colourflow channel is obtained. Using calliper measurements from more than one angle can reduce errors due to eccentric stenoses in this case.

It is usual to assess the PSV periodically along the arteries, making more measurements where stenoses are suspected due to aliasing. The velocity sample window should be moved slowly through the stenotic area to find the highest velocity.

The length of  stenoses and their position should be noted. As well as the PSV’s a visual assessment of the severity of stenoses is also useful to note, especially if there are discrepancies between it and the assessment by PSV ratio. Sometimes there can be a visually severe stenosis, which gives a lower PSV ratio than expected. This can sometimes be due to a difficult to image collateral taking flow out of the artery just before the stenosis.

CALCIFICATION

If the colourflow in an artery cannot be seen due to calcification (usually the artery wall will appear bright on B mode), then it can often be steered around by imaging from different angles and attempting to optimise the colourflow imaging.

VERY LOW FLOW

When assessing the tibial arteries for suspected very low flow, it is sometimes advantageous to get the patient to sit up and place the leg in a dependent position as low as possible. This increases the head of pressure in the leg, helps collaterals to open more and can increase flow in the tibial arteries in a criticially ischaemic leg.

AORTOILIAC  AND PROXIMAL FEMORAL ARTERIES

Before scanning inform the patient that we will probably need to apply some moderate pressure to obtain good images. Inform the patient that most patients don’t find the procedure unpleasant. However, tell the patient to inform you if they have any discomfort or pain, so we can reduce the amount of pressure applied if necessary. Ask the patient if they have any medical reason why we should not press on their stomach. Note: Pressure should be used judiciously, using the minimum pressure to gain the diagnosis. The potential risk of  harm due to applying pressure (e.g rupture of a large aneurysm) to the abdomen should be weighed against the benefit of obtaining a diagnosis.

Use the L7 probe and Lower Extremity Arterial Preset – image the CFA, SFA origin and first few cm of the Profunda femoris. Obtain the Pulsatility index and PSV in the CFA about 2-3 cm proximal to its bifurcation if possible.

Using the C4 probe, assess the aorta in transverse projection and assess its maximum AP diameter being careful to image perpendicular to the course of the artery. Estimate the degree of stenosis in the aorta visually and if possible by PSV ratio. Similarly the degree of stenosis should be estimated visually and by PSV ratio measurements in the Common iliac, external iliac and proximal internal iliac arteries. The common and/or internal iliac artery may be the cause of buttock claudication. Aortoiliac lesions can also cause thigh claudication. It is usual to proceed from the groin upwards and try and image the iliac arteries in continuity – this is because it is possible to drift on to the opposite common iliac artery as they can be quite close together. With tortuous iliac arteries they can stray across the midline of the body, so care is needed not to misidentify which side you are looking at.

It may be necessary to ask the patient to roll on their side, which may help in steering around stubborn gas. Gas often moves about, so its worth a try returning later to an area that was obscured earlier.

If the aorta is aneurysmal, then the position of the upper extent of the aneurysm relative to the renal arteries (or relative to the SMA if the renal arteries cannot be seen) is useful.

FEMORAL AND POPLITEAL ARTERIES

The SFA is followed in a longitudinal projection from the groin anteriorly to the distal medial thigh taking periodic velocity measurements, especially in areas of suspected stenoses on colourflow. Use the L7 linear probe, but the C2 curvilinear probe can be tried in the adductor canal if having difficulty.

The Popliteal is imaged best from behind the knee either with the patient supine and the leg slightly bent and angled laterally or with the patient lying on their side or prone. Take a Pulsatility index measurement in the below knee segment if possible.

TIBIAL ARTERIES

It is usual to follow the popliteal from a posterior projection and note the AT A origin as a small deep artery coursing away from you (this can vary in height and can occasionally occur above the knee joint). With a little steering the AT can often be followed to its genu ( its ‘knee’ – where it bends back to follow a more level course).

Beyond the ATA origin follow the TP trunk from a posterior projection until it divides into the PTA and peroneal. The PTA is usually most easily followed from a posterior projection to mid calf. It is then easier to follow the PTA upwards from just below the malleolus  medially up the leg.

The peroneal is most easily followed from the posterior projection where it is seen just medial to the fibula just above the ankle and followed proximally.

The DPA is followed from a line between the first and second toes distally diagonally towards the foots lateral aspect just in front of the malleolus. From the ankle the AT A is followed just lateral to the tibia from an anterior projection.

The tibial venous comitantes are a good guide to whether you are following a named vessel. Usually the named tibial arteries lie between the venous comitantes.

The velocity in the tibial arteries should be measured periodically and the pulsatility index measured in the distal DPA and distal PTA (below the malleolus).

ESTIMATES OF DISEASE  USING THE PULSATILITY INDEX

A rough estimate of the severity of stenosis in the aortoiliac, femoral/popliteal and tibial segments can be given by using the Pulsatiliaty index (PI) in the CFA and the ratios of the PI ‘s:  Pop PI/CFA PI  and Distal tibial PI/Popliteal PI.

CFA PI	GRADE OF AORTOILIAC DISEASE

>4				Normal

3 – 4				Mild

2-3				Moderate

<2				Severe

Pop PI/CFA PI 		GRADE OF FEMORAL DISEASE

>1				No significant disease

0.7 – 0.99			Mild disease

0.6 – 0.4			Moderate disease

<0.4				Severe disease

Ankle PI/Pop PI 		GRADE OF TIBIAL DISEASE

>1				No significant disease

0.7 – 0.99			Mild disease

0.6 – 0.4			Moderate disease

<0.4				Severe disease

Adapted by DN Taylor from Johnston KW et al.

These estimates can be incorrect sometimes for various reasons, so it is usual to say the PI’s or ratio ‘suggest’ a functional grade of disease in each segment.  For instance if the leg is infected or inflamed then the flow velocities can be higher than usual and the waveforms more damped.

Waveforms distal to a synthetic graft are usually more damped than usual.

Also, if a limb has been ischaemic for some time and a vein graft is performed, then it can take some time for the normal pulsatility to return in the limb.

Finally the waveform shape  can recover after a short tight stenosis for instance, so PI estimates of disease can miss stenoses of clinical significance sometimes.

REFERENCES

- Vascular Laboratory Practice Part III Lower Limb Arterial Assessment, Society for Vascular Tehcnology of GB and Ireland (IPEM 2001)

- Peripheral Vascular Ultrasound – How, When and Why ,  Abigail Thrush and Tim Hartshorne, 2nd Ed., 2005, Chapter 9.

3) Ranke C et al, Duplex scanning of peripheral artery stenoses: Correlation of the peak velocity ratio with angiographic diameter reduction, Ultrasound in Medicine and Biology, 1992, 18(5), p433-40.

Johnston KW, Maruzzo BC and Cobbold RSC, Doppler methods for quantitative measurement and localisation of peripheral arterial occlusive disease by analysis of the blood flow velocity waveform, Ultrasound in Medicine and Biology, 4, 1978, p209-223.