| Effective Date: | 25/03/2020 |  | Review Date: | 2021 |
| --- | --- | --- | --- | --- |

VUS LOWER LIMB ARTERIES RT and LT

Drafted by: Ms. Emma Quilty

Authorised by:  Dr Cleona Gray

#### Signature:  _____________________________ 			Date: 25.03.2020

# Purpose

Evaluation of the abdominal and lower limb arteries to determine the presence, location and severity of vascular disease (occlusive and aneurysmal).

# Revision History

| Date | Revision No. | Change | Reference Section(s) |
| --- | --- | --- | --- |
| 01/01/2017 | 1 | General update | All sections |
| 23/03/2020 | 2 | General update | All sections |

# Persons Affected

Vascular Laboratory Physiologists, Consultants, NCHD’s, Vascular Administration Staff and Patients of the Vascular Laboratory.

# Policy

The policy of the Mater Misericordiae University Hospital is to ensure that all vascular staff are aware of the protocol in place for the performace, interprutation and follow up of the right/left lower limb arterial Duplex.

# Definitions

Vascular Laboratory Physiologists (VP), Vascular Laboratory (VL), Patient Centre (PC), Vascular Consultant (VC), vascular surgical outpatient Appointment (SOPD), Vascular Surgical Registrar (VSPR), Mater Misericordiae University hospital (MMUH).

# Responsibilities

Vascular Physiologists, Vascular Consultants, Vascular Surgical Team and Vascular Administrating staff.

# Procedures

Duplex of Right/Left Lower limb Arteries

Common Indications

Common indications for the performance of this examination include:

- Intermittent claudication

- Ischaemic rest pain

- Critical limb ischaemia

- Gangrene/ ulceration/ tissue loss

- Post-surgical intervention follow-up e.g. angioplasty

- Query aneurysm/pseudo aneurysm

Contraindications and Limitations

Contraindications for lower limb arterial duplex ultrasound assessment are unlikely; however, some limitations exist and may include the following:

- Patients who have had recent surgery, ultrasound visualisation may be limited due to oedema, haematoma, surgical staples, dressings etc.

- Patients who are unable to lie with their limbs flat or still due to extreme pain or pre-existing co-morbidities e.g. chronic obstructive pulmonary disease (COPD) and arthritis – although these patients may be able to tolerate being examined seated with the limb dependent or with the head of the bed raised where practical

- Calcified plaque may cause acoustic shadowing limiting Doppler and B-mode image assessment

- Patients who are unable to cooperate due to reduced cognitive function or excessive movement

- Examinations undertaken portably at the patient’s bedside maybe limited due to equipment and room dimensions

- Patients with high body mass index

- The presence of ulcers, wounds, bandaging or casts.

Equipment:

- Duplex Doppler ultrasound machine with imaging frequencies of 5.0MHz or greater; Doppler frequencies of at least 3.0MHz and linear array transducer/s with colour Doppler capability.

- Compliance with the Medical Devices Directive is necessary. Electrical safety testing is required annually and is performed as part of all routine servicing of equipment carried out by the manufacturer.

- Review of in-service equipment should typically be undertaken four to six years after installation.

- Examination couch should be height adjustable preferably electrical. The vascular physiologists chair should provide good lumbar support, be height adjustable and allow for them to move close to the examination couch.

- All ultrasound cables must be hooked up off the floor in the hooks required in each room, failing this the cables must be hooked off the floor onto the back of the ultrasound system (Picture 1 & 2 Below). It is the VP’s responsibility to ensure that the surrounding environment is safe for both themselves and the patient.

- The examination room should be temperature controlled with adjustable lighting levels suitable for examination.

- Suitable cleaning materials should be available in line with local and manufactures guidelines.

Picture 1.0 Machine Hook for Cables 	       	       Picture 2.0 Ceiling Hook for Cables

Explanation of examination and patient history:

The VP undertaking the examination should:

- Introduce themselves

- Confirm the patient’s identity e.g. full name and date of birth

- Explain why the examination is being performed

- Give an explanation of the procedure and its duration – consideration should be made to the age and mental status of the patient

- Obtain verbal consent for the examination

- Obtain a pertinent relevant medical history and presence of risk factors from the patient and/or notes

- Verify that the requested procedure correlates with the patient’s clinical presentation.

Examination:

Ankle brachial pressure index (ABI) and/or toe brachial index (TBI) should be recorded as a baseline.

The duplex examination may be unilateral or bilateral dependent upon clinical symptoms, results of ABI/TBI and or what is deemed appropriate by the VP performing the examination. The patient is asked to remove their clothing to expose the lower limb from groin to ankle. The patient is examined supine. The patient’s dignity and privacy should be maintained at all times. Due to intimate nature of the examination it may be considered necessary to offer a chaperone. During the examination the patient’s mental and physical status should be monitored and modifications made to the examination accordingly.

The following appropriate techniques should be used to evaluate the lower limb arterial system:

- B-mode should be used to image the artery and assess for, aneurysmal dilation and vessel contents e.g. athermanous plaque

- Spectral Doppler should be used to determine direction of flow, stenotic flow and absence of flow.

- Colour Doppler should be used to assess for the presence/absence of flow and aid the position of spectral Doppler when quantifying stenoses.

Any areas where the colour flow Doppler appears disturbed or plaque is present should always be interrogated with pulsed Doppler. The highest peak systolic velocity should be measured at the site of the disturbance or narrowing (Vs). Care should be taken to ensure that the Doppler angle is 60º or less when recording velocity measurements.

The main criterion used to grade the degree of narrowing in the artery is the PSV of Vs, as outlined below:

| PSV in an artery (cm/s) | % Stenosis |
| --- | --- |
| 200-299 | >50% |
| 300-399 | >75% |
| >/= 400 | >95% |
| No colour / Doppler flow | Occluded |

Changes in the shape of Doppler waveforms are important criteria in determining the presence of disease. Multiphasic waveforms are representative of normal flow, whereas monophasic/damped waveforms usually represent diseased flow.

Evaluation of the following arteries should be included:

- Aorta

- Common iliac artery (CIA)

- External iliac artery (EIA)

- Common femoral artery (CFA)

- Proximal profunda femoris artery (PFA)

- Superficial femoral artery (SFA)

- Popliteal artery

- Tibio-peroneal trunk (TPT)

- Posterior tibial artery (PTA)

- Peroneal artery (where visable)

- Anterior tibial artery (ATA)

Reporting:

The report is a recording and interpretation of observations made during the lower limb arterial duplex ultrasound examination; it should be written by the VP undertaking the examination and viewed as an integral part of the whole examination.

The report should include correct patient demographics; date of examination; examination type and the name of the VP performing the examination.

The reporting should include:

- Which arteries have been assessed commenting on the presence/absence of flow and the percentage degree of stenosis as appropriate

- The anatomical position and length of any occlusions or stenoses e.g. x cm in length in the SFA in the upper thigh.

- The anatomical position and size of any aneurysms

- Qualitatively note the nature of the plaque e.g. calcified, echolucent, irregular surfaced, smooth surfaced etc., and the length and anatomical position of the stenosis

- Comments on the shape of the Doppler waveform at different locations e.g. monophasic waveform.

- Any limitations encountered

- An appropriate number of annotated images that represent the entire ultrasound examination - in accordance with local protocols and SVT Image Storage Guidelines

- Referral of critical ultrasound results should be made to the referring consultant or appropriate medical/surgical team (as per local protocol) prior to the patient being discharged so that treatment plans can be developed, enforced or expedited accordingly

Follow up

- All reports are sent to the ordering consultant by vascular administration staff

- In the case where a finding deemed significant is found, the VP performing the exam is required to ensure that the patient is either seen in the VL by a team member where appropriate or has an SOPD for the relevant VC

- In the case where an appointment is not already in place, an appropriate one should be created and given to the patient by the vascular laboratory administration staff