ARTERIAL LEG DUPLEX ASSESSMENT (inc Stent F/U)

Review –  2 yearly

| Date | Version | Amendments made |
| --- | --- | --- |
| Nov 2014 | 1 | Policy created |
| 21/07/2016 | 2 | Policy reviewed, referencing expanded following UKAS visit Added reporting section and expanded stent follow up section |
| 25/07/2018 | 3 | Added section on scanning for pre-transplant |
| 30/09/2020 | 4 | Policy reviewed. References checked for consistency and quality and subsequent wording change for stenosis grading. Trust logo changed, inner to inner measurement of aorta added. |
| 24/08/2022 | 5 | Policy reviewed (MB) – changed wording to state ABPI to be performed if applicable/requested |

The request should specify which leg/section of the leg requires scanning.

Scanning Protocol

- If recent ABPI’s have not been recorded, please perform if applicable/requested.

- Use the mid-range frequency linear probe for the leg unless the vessels are deep then use a lower frequency probe. Curvilinear probe for the aorto-iliac segment.

- Start at the common femoral artery (CFA). Record velocities and waveforms from the CFA. Proximal Profunda artery (PFA) and superficial femoral artery (SFA). Record presence of any plaque in this area. Record Doppler waveforms from all 3 vessels and any evidence of any stenosis. Comment on AP diameter if applicable.

- Scan throughout the SFA recording any areas of significant plaque and velocities from any areas of significant stenosis and occlusion.

- Similarly scan throughout the popliteal artery and the trifurcation. Record a Doppler waveform from the mid popliteal artery and comment on AP diameter if applicable, record an image of the TPT. Record images documenting stenosis/significant plaque.

- Scan throughout the calf arteries recording the Doppler waveforms from the ankle and any areas of significant plaque/stenosis. Use curvilinear probe if necessary.

- Scan the bilateral iliac arteries using the curvilinear probe.

- Scan the distal aorta (record AP outer to outer and inner to inner diameters in longitudinal) and throughout the common (CIA) and external iliac arteries (EIA). Record Doppler waveforms from the CIA, EIA and proximal internal iliac arteries again demonstrating areas of significant plaque/stenosis.

- If a full length SFA occlusion is present or if extensive acute thrombus is noted, have a quick look at the greater saphenous vein to assess it’s suitability for bypass and record diameters on the report form.

- Record a minimum set of images to include Aorta, right and left CIA, EIA, IIA, CFA, SFA origin and PFA origin and then the relevant leg SFA, POPA, TPT, ATA, PTA and Peroneal. However, qualified staff may adapt the extent of the scan in certain cases e.g. clinical relevance or limitations such as rapid access referral or patient compliance).

Grading Stenosis

Grading a stenosis should predominately be undertaken using a ratio of the peak systolic velocity through the stenosis to the velocity taken just proximal to the stenosis in a normal segment and graded using the criteria below. This is particularly relevant where the stenosis is not the first in the arterial tree and hence inflow is reduced or in the presence of generalised high flow throughout.

However, professional judgement should be used for segments where a proximal velocity may not be considered a reliable baseline on which to determine the ratio (e.g. where calibre difference, angulation or significant branches are present – often a consideration in the aorto-iliac arteries where a stenosis is also likely the first stenosis in the arterial tree) in which case absolute velocities (as described below), in combination with the visible appearance of a stenosis and/or a distal velocity ratio may be more appropriate.

Absolute Velocities

- 200cm/s – 50% diameter reduction (dr)

- between 200-400cm/s are reported as 50-75% dr

- >400 cm/s are reported as >75% d.r.

Velocity Ratios

The corresponding velocity ratios for stenosis in vessels are used for

- x2   is  50% dr

- >2 but <4 is  50-75% dr

- x4 is 75% dr

- >4 is >75% dr

Reporting

- Don’t make reports too wordy, mark disease on relevant segments, with accurate depictions of waveforms at the aorta, iliacs, groin, knee and ankle level (as appropriate) and then add a summary if necessary to clarify previous interventions etc.

FOR SFA STENT FOLLOW UPS:

- Perform an arterial scan of the relevant segment including the artery proximal to the stent, within the stent and distal to the stent.

- Pay particular attention to velocities within the body of the stent.

- Report stenosis using velocity criteria above.

- Measure volume flow within the stent.

Reporting

- Draw the stent onto the diagrammatic report.

- Include waveforms in the segment scanned and report any significant stenosis. Report volume flow on the report.

- Add a summary of any previous intervention / further follow up

- Report on CRIS/PACS

- Arrange follow ups as per graft schedule (6 weeks, 3 months, 6 months and 1 year post-procedure).

- If significant stenosis is found, email results to the Vascular Surgeons and Radiologists.

For Renal Pre-Transplant

- Assess the aorto-iliac arteries, CFA, origins of SFA and profunda artery bilaterally

- Record waveforms and report any stenosis using velocity criteria above

- Report using arterial diagram form and ensure reports are clear for Renal surgeons to interpret.

References

Scanning procedure

ASUM Guidelines on peripheral arterial ultrasound. (2007) https://www.asum.com.au/standards-of-practice/vascular/

SVT Professional Performance Guidelines for Arterial Duplex Assessment. (2018)

https://www.svtgbi.org.uk/media/resources/Arterial_PPG_-_new_format.pdf

SVU Guidelines on peripheral arterial ultrasound. (2019)

https://higherlogicdownload.s3.amazonaws.com/SVUNET/c9a8d83b-20444a4eb3eccd4b2f542939/UploadedImages/PPG_Docs/4__Lower_Extremity_Arterial_Duplex_Evaluation__Updated_2019_.pdf

Criteria for the determination of arterial stenoses

Comparison of contrast arteriography to arterial mapping with color-flow duplex imaging in the lower extremities, Cossman et al, journal of vascular Surgery,(1989) Volume 10, Issue 5, Pages 522–529.

https://www.jvascsurg.org/action/showPdf?pii=0741-5214%2889%2990133-X

Accuracy and reproducibility of Duplex ultrasonography in grading femoro-popliteal stenoses” Leng, G C; et al. J Vascular Surgery (1993); 17(3): 510-7.

https://www.jvascsurg.org/action/showPdf?pii=0741-5214%2893%2990151-B

“Quantitative Vascular Measurements in arterial occlusive disease” Ota, H; et al. Radiographics (2005); 25(5): 1141- 58. https://pubs.rsna.org/doi/pdf/10.1148/rg.255055014

“Guidelines for Non-invasive Vascular Laboratory testing: A report from the American Society of Echocardiology and the Society of Vascular Medicine and Biology”. Gerhard-Herman, M; et al. J Am Soc Echcardiography (2006); 19: 955-72.

http://www.asecho.org/wordpress/wpcontent/uploads/2013/05/Noninvasive-Vascular-Lab-Testing.pdf