Venous Reflux Assessment Protocol

Review – 2 yearly

| Date | Version | Amendments made |
| --- | --- | --- |
| June 2014 | 1 | Protocol created (RD) |
| Oct 2015 | 1 | Reviewed, no changes |
| Sept 2016 | 2 | - Amended technique no5 to remove assessing perforators while assessing femoral vein - Amended technique no 8 on perforators - Amended point 3 to take small veins in transverse view - References expanded following UKAS visit |
| Oct 2016 | 3 | Amended anatomical terms GSV and SSV |
| June 2017 | 3 | Reviewed, no changes |
| 16/7/19 | 4 | Clarified probe selection information to reflect current practice. |
| 17/06/21 | 5 | Reviewed (EM/MB) Added measurements for incompetent GSV in thigh and SSV. |

Patient Preparation

This test should be carried out with the patient as vertical as possible (e.g. standing with their back to lean against the raised couch, on a tilting couch, or sitting on the side of the couch with legs hanging down).

The patient should be asked to stand with their weight on the leg that is not being currently assessed.

Technique

- Use the mid-high frequency probe with a large sample volume for Doppler measurements. For deep vessels, consider use of the lower frequency probe.

- Following distal squeeze, use colour and pulsed wave Doppler to assess for reflux at the following sites:

  - Common femoral vein

  - Proximal femoral vein

  - Sapheno-femoral junction

  - Great saphenous vein

  - Popliteal vein

  - Sapheno-popliteal junction

  - Small saphenous vein behind the knee and in the calf

  - Giacomini vein

  - Any other superficial varicose veins not already accounted for

- Record pulsed wave Doppler squeeze responses from all sites using a longitudinal scan plane. For very small or tortuous veins, pulsed wave Doppler can be taken in transverse view as long as the probe is angled away from 90º.

- Reflux is generally classified as lasting longer than 0.5 seconds, however, if the squeeze produces a small response and the reverse flow is of a similar duration and size, it may also be reflux even though it lasts <0.5s. When a small magnitude of reflux is seen in comparison to a large squeeze response but the reflux measures >0.5s consider whether this is likely gross or minor reflux.

- Scan the femoral vein throughout the thigh to assess patency and incompetence.

- Follow any refluxing veins cephalad to locate the source of reflux if it has not been accounted for by the above methods.

- For an incompetent GSV:

- check whether it is in the fascia throughout the thigh

- indicate any area of tortuosity that may prevent a catheter advancing.

- Measure the GSV diameter at the knee.

- Also measure the minimum diameter if the GSV in the thigh if <5mm and the minimum depth if <10mm.

For an incompetent SSV it may be useful to comment on diameter (e.g. if vein is small but refluxing – may be difficult to find surgically)

Comment on tortuosity/areas of phlebitis.

- Check for perforators and assess for competence if clinically relevant. If incompetent, measure diameter and comment on their location.

Report

Use paper diagram to report results of this assessment. See an example of a completed report form in protocol folder.

References

Lower Limb Venous Duplex Ultrasound Examination for the Assessment of Venous Insufficiency/Incompetence. Vascular Technology Professional Performance Guidelines. Society of Vascular Technology (SVT).

Varicose veins: diagnosis and management, Clinical Guideline (2013) National Institute for Health and Care Excellence (NICE)

Australasian Society for Ultrasound in Medicine Policies and Statements D20 Peripheral Venous Ultrasound (2007) Assessed: http://www.asum.com.au/standards-of-practice/

Patient position and technique

Coleridge-Smith, P, Labropoulos,N, Partsch H, Myers K, Nicolaides A, Cavezzi A. (2006) Duplex ultrasound investigation of the veins in chronic venous disease of the lower limbs –UIP Consensus Document. Part 1 Basic principles.

European Journal of Vascular and Endovascular Surgery. Volume 31, Issue 3, Pages 288–299

Zygmunt J Jr (2009) What is new in duplex scanning of the venous system? Perspect Vasc Surg Endovascular Therapy, 21(2):94-104.

American Institute of Ultrasound in Medicine Practice Guideline for the Performance of Peripheral Venous Ultrasound Examinations (2010) www.aium.org

http://www.google.co.uk/url?sa=t&rct=j&q=&esrc=s&frm=1&source=web&cd=1&ved=0ahUKEwjqkO3ps_3OAhXJCMAKHTuhCssQFgglMAA&url=http%3A%2F%2Fwww.aium.org%2Fresources%2Fguidelines%2Fperipheralvenous.pdf&usg=AFQjCNFIQrsD-sWM0SFG3NaKCNBXl--N1w

Definition of duration of reflux.

Sarin S, Sommerville K, Farrah J, Scurr JH, Coleridge Smith PD (1994). Duplex ultrasonography for assessment of venous valvular function of the lower limb. British Journal of Surgery 81(11):1591-5.

Fedor Lurie, Anthony Comerota, Bo Eklof, Robert L. Kistner, Nicos Labropoulos, Joann Lohr, William Marston, Mark Meissner, Gregory Moneta, Peter Neglén (2012) Multicenter assessment of venous reflux by duplex ultrasound

Journal of Vascular Surgery, Volume 55, Issue 2, Pages 437-445