VASCULAR STUDIES UNIT

# Extracranial Cerebrovascular Doppler Ultrasound Assessment

Introduction and Scope:

Extracranial cerebrovascular ultrasound assessments are carried out to assess for the presence of pathology and the haemodynamic status of the common carotid artery (CCA), internal carotid artery (ICA), external carotid artery (ECA) and vertebral artery.

Indications for scanning

Indications for performing the ultrasound assessment include:

- Transient ischemic attacks (TIA)

- Cerebrovascular Accident (CVA)

- Amaurosis fugax

- Carotid bruit in presence of cardiovascular risk factors

- Follow-up of known carotid stenosis

- Post intervention follow-up e.g. carotid endarterectomy, stent or bypass

- Trauma in the distribution of the carotid artery e.g. suspected dissection, arteriovenous fistula or pseudoaneurysm

- Pre-operative assessment for high risk patients e.g. prior coronary artery bypass surgery (CABG)

- Pulsatile neck masses

- Evaluation of suspected subclavian steal syndrome

Contraindications and limitations for scanning may include:

- Patients who are unable to cooperate due to reduced cognitive functions, e.g Alzheimer’s/dementia or involuntary movements,

- Surgical wounds, dressings/bandaging or other implements obscuring a suitable window for assessment

- Body habitus and/or highly motile neck

Referral pathways:

- Routine referrals should be made by a member of the patient’s care team via IRRIS

- Urgent referrals from TIA clinic, neurology teams or vascular surgeons should be made on IRRIS and followed up with a phone call to the Vascular Studies Laboratory

Equipment:

Approved Vascular Studies instrumentation should be used for this assessment. Please see ‘Equipment Schedule’ document.

Preparation:

It is the duty of the Clinical Vascular Scientist (CVS) to ensure that both the patient and the equipment are positioned correctly to minimise risk of injury to themselves and the patient, and to take precautions to avoid unnecessary strain on the back and/or provocation of work related upper limb disorders (WRULD)2. The patient’s dignity and privacy must be maintained at all times. It may be necessary to offer a gown and/or a chaperone.,3

Consent:

It is a legal and ethical principle that valid consent be obtained before starting a physical investigation. This principle reflects the right of patients to determine what happens to their own bodies, and is a fundamental part of good practice. It is the responsibility of the CVS carrying out the investigation to ensure verbal consent is obtained1.

Clinical Governance:

It is the duty of all staff to ensure that the patient’s right to confidentiality is always observed and upheld, both during and after their hospital visit and that all patient identifiable records are stored in accordance with trust guidelines and Caldicott Principles.4

Method:

As with all scanning protocols the following should be used as a guide – It is the duty of the CVS conducting the study to make appropriate modifications to the examination based on their professional judgement and on the mental and physical health of the patient.

The patient is asked to adjust their clothing to expose their neck from the level of the clavicle to the mandible. The patient is examined supine with their neck extended and mildly rotated towards the opposite side of scanning, or in a suitable position as to allow the CVS maximum access to the vessels being examined.

The following arteries are scanned bilaterally using B-mode, colour Doppler and spectral Doppler, in both transverse and longitudinal planes where appropriate:

- Common carotid artery (CCA)

- Internal carotid artery (ICA)

- External carotid artery (ECA)

- Vertebral artery

- Distal brachiocephalic artery/ subclavian artery, where appropriate

The carotid arteries are best visualised through the sternocleidomastoid muscle, which acts as a scanning window. Using b-mode, colour and spectral Doppler any disease, vessel tortuosity and/or other abnormal pathology, such as carotid body tumours, should be noted.

Any stenosis found should be examined for its echogenicity and surface characteristics, e.g. irregular, smooth or ulcerated5. The anatomical location of any stenosis should be documented. In addition, for a haemodynamically significant stenosis its length and distance from carotid bifurcation should also be stated.

Peak systolic velocities (PSV) and end diastolic velocities (EDV) should be measured and documented in the distal CCA, proximal ICA and proximal ECA or at sites of disease, where appropriate.

Using the vertebral processes as an anatomical landmark the vertebral artery can be identified. Using colour and spectral Doppler, the patency and direction of flow of the vertebral artery should be confirmed5. Any abnormal waveforms should be interrogated further for their cause.

Where subclavian steal is suspected the vertebral artery should be followed to its origin and the more proximal arteries assessed for disease. It may also be beneficial to record the systolic pressure of the brachial artery, bilaterally. In the presence of partial subclavian steal, it may be beneficial to exercise the arm ipsilateral to abnormal vertebral artery flow to ensure the abnormal flow is due to subclavian steal.

Measurements and Grading Criteria:

Untreated Carotid Artery Stenosis

The severity of an ICA stenosis is graded by using the standard criteria:

| Percentage Stenosis (NASCET) | Internal carotid peak systolic velocity cm/sec | Peak systolic velocity ratio ICA PSV /CCA PSV | St Marys Ratio ICA PSV /CCA EDV |
| --- | --- | --- | --- |
| <50 | <125 | <2 | <8 |
| 50-59 | >125 | 2-4 | 8-10 |
| 60-69 |  |  | 11-13 |
| 70-79 | >230 | >4 | 14-21 |
| 80-89 |  |  | 22-29 |
| >90 but less than near occlusion | >400 | >5 | >30 |
| Near occlusion | High, low - string flow | Variable | Variable |
| Occlusion | No flow | Not applicable | Not applicable |

Table 1. Criteria for Extracranial carotid artery duplex assessment5

- For non-significant ICA stenosis (<50%), visual and haemodynamic information should be appropriately used to aid interrogation and grading of the lesion as either a 1-29% or 30-49% stenosis.

- For ECA stenoses, visual and haemodynamic information should be appropriately used to aid interrogation and grading of the lesion as either a <50% or >50% stenosis. A doubling in PSVs is accepted as a >50% stenosis in the ECA.

- For CCA stenoses not in continuation with ICA disease, visual and haemodynamic information should be appropriately used to aid interrogation and grading of the lesion as 1-29%, 30-49%, 50-74% or >75%. For all lesions >50% please see the ‘Lower Limb Arterial’ protocol for grading criteria.

- Diameter reduction measurements can be made on the B-mode image, however these will be dependent on appropriate gain selection and choice of imaging plane. Diameter measurements made in the bulb should be made using the NASCET method to correlate with the velocity criteria used (unless clearly stated as being ESCT measurements)5.

Post Endarterectomy and/or Stenting

- PSVs are generally higher post endarterectomy and within stents. The following PSV cut offs have been reported for grading disease severity6:

| Percentage Stenosis | Post-endarterectomy | In stent re-stenosis |
| --- | --- | --- |
| 50-69% | PSV = ≥ 213 cm/s | PSV = ≥ 220 cm/s ICA PSV /CCA PSV = ≥ 2.5 |
| >70% | PSV = ≥ 275 cm/s | PSV = ≥ 300 cm/s (EDV ≥ 90 cm/s) ICA PSV /CCA PSV = ≥ 3.8 |

Table 2. Suggested Criteria for Grading Disease Post-Treatment

Important – The above criteria for disease severity post-endarterectomy and within stents is not well established. It is at the discretion of the CVS to use this criteria as a guideline. Haemodynamic and visual information must all be incorporated into assessment.

?Refer to Bypass Graft protocol here for CAR BYPASS GRAFTS, although all data is not on carotid bypasses, which likely has different velocities and haemodynamics compared to say a fem-pop bypass?

Reporting:

The report should include:

- Anatomical location and severity of stenoses/occlusions in line with appropriate criteria

- Plaque characterisation, to include a description of plaque composition and morphology, e.g. soft, calcified, mixed, and irregular, smooth or ulcerated

- Accurate PSV and EDV measurements in the distal CCA, proximal ICA and proximal ECA, or where appropriate

- Vertebral artery patency and flow direction

- Any limitations

Reports should answer any specific diagnostic questions raised on the referral.

The report should also include incidental findings including, carotid dissection, carotid body tumour, carotid aneurysm and carotid tortuosity.

The report should be made available on IRRIS and attached to the corresponding referral.

Urgent findings should be reported to the referring consultant or appropriate medical/surgical team.

References:

1 United Kingdom Association of Sonographers (UKAS), 2008, Guidelines for Professional Working Standards Ultrasound Practice, accessed at: www.sor.org/learning/document-library

2Society of Radiographers, 2002, The Causes of Musculoskeletal Injury Amongst Sonographers in the UK Society of Radiographers, accessed at: www.sor.org/learning/document-library

3Society for Vascular Technology Professional Standards Committee, 2020, Consent and Chaperone Guidelines, accessed at: https://www.svtgbi.org.uk/media/resources/Chaperone_2020.pdf

4Department of Health and Social Care, 2013, Caldicott Review: information governance in health and social care, accessed at: https://www.gov.uk/government/publications/the-information-governance-review

5 Oates CP et al., Joint Recommendations for Reporting Carotid Ultrasound Investigations in the United Kingdom, Eur J Vasc Endovasc Surg (2008), https://www.bmus.org/static/uploads/resources/Recommendations_for_reporting_Carotid_Investigations.pdf

6Naylor, A.R., et al. 2018. Editor's choice–management of atherosclerotic carotid and vertebral artery disease: 2017 clinical practice guidelines of the European Society for Vascular Surgery (ESVS). European Journal of Vascular and Endovascular Surgery, 55(1), pp.3-81

Other Resources

Zwiebel & Pellerito (2005) Introduction to Vascular Ultrasonography. 5th edition. Elsevier Saunders, Philadelphia.

Society of Vascular Technology Professional Standards Committee, Vascular Technology Professional Performance Guidelines: Extracranial Cerebrovascular Duplex Ultrasound Examination, October 2017, https://www.svtgbi.org.uk/media/resources/Carotid_PPG.pdf

V0.2 Created by Hannah Williamson (Senior CVS)

Due for authorisation by Ved Ramnani (Head CVS)

Updated: August 2020

Due for review: June 2022