Local Carotid Artery Duplex Imaging Protocol:

CAROTID ARTERY IMAGING

- SCOPE & OBJECTIVE

- Extracranial carotid artery duplex to assess presence of pathology and haemodynamic status of the common carotid (CCA), internal carotid (ICA), external carotid (ECA) and vertebral artery.

- To provide operators with guidance on how to undertake the investigation.

- Responsibility

- The Clinical Scientist (or trainee clinical scientist) performing the scan is responsible for undertaking the procedure.

- The Clinical Scientist (or trainee under supervision) may alter the procedure depending on individual patient and clinical information requirements.

- The chaperone/clinical scientist or trainee is responsible for undertaking the patient identification (DOB, Address or postcode)

- The Clinical Scientist (or trainee Clinical scientist) is responsible for ensuring sterile gel is used in situations outlined in the Infection Prevention Practice SOP.

- Imaging Procedure

- Confirm patient identifiers (Name, DOB and Address) and introduce themselves. Explain the scan procedure and obtain informed consent (trust consent policy). Obtain clinical history if necessary or check symptoms agree with the request form.

- This is not normally an intimate procedure but if deemed so, then a chaperone can be present in the room at the time of the investigation.

- The patient is asked to adjust their clothing to expose the neck area. Tissue should be tucked in to protect the patients clothing. The patient is asked to lie supine with their head in an appropriate position. Patient dignity should be maintained at all times.

- If the patient is immobile, the scan may be performed with the patient in the wheelchair.

- Select the patient details up on the machine and select the carotid pre-set.

- Use B-mode, colour Flow and triplex modes as necessary, to identify the CCA, ICA and ECA. Image the common carotid artery (CCA), internal and external carotid arteries (ICA/ECA) in transverse view (TS) using B-mode. B-mode can be used to classify echogenicity of any plaque and the characteristics e.g. smooth or irregular, calcified, homogenous or heterogenous and ulcerated (1).

- Using a longitudinal view with colour and spectral Doppler, the CCA, ICA, ECA and vertebral artery should be assessed for areas of raised velocity/occlusion. The vertebral artery should also be assessed for signs of subclavian steal syndrome.

- Use triplex mode (and dynamic flow/power Doppler if necessary) to examine CCA, ICA and ECA waveforms and measure the maximum PSV and EDV in each vessel.

- As a minimum, an image of the CCA and ICA in longitudinal plane with colour and spectral Doppler to demonstrate patency and PSV should be saved where possible.

- Determine stenoses using B-mode, colour and spectral Doppler (and dynamic flow/superb microvascular imaging when appropriate). Characterise haemodynamically significant stenoses using the following criteria (table 1) and B-mode assessment (PSV as primary index, PSV ratio as secondary index) (2).

Table 1: Carotid artery stenosis grading criteria

| Percentage stenosis (NASCET) | Internal carotid peak systolic velocity cm/sec | Peak systolic velocity ratio ICA PSV /CCA PSV |
| --- | --- | --- |
| <50 | <125 | <2 |
| 50–59 | >125 | 2–4 |
| 60–69 |  |  |
| 70–79 | >230 | >4 |
| 80–89 |  |  |
| >90 but less than near occlusion | >400 | >5 |
| Near occlusion | High, low – string flow | Variable |
| Occlusion | No flow | Not applicable |

- If a stenosis is present, determine the length of the stenosis and distance from origin if appropriate. Report whether the vessel is free from atheroma distally. If there is a high or low bifurcation make note of this in the report.

- Examine the patency of vertebral artery and check flow direction. If retrograde flow is seen (i.e. partial or complete subclavian steal), then check and comment on the waveform and patency of the subclavian artery.

- Repeat procedure bilaterally.

- At the end of the scan give the patient some paper tissue to remove gel and inform them of the results. Inform them that the scan report will be available on the reporting system for the referrer to access.

- End exam and send images to PACS.

- Images and Reporting

- End the exam on the machine to send images to PACS

- This is a dynamic scan and any images saved are not representative of the full scan performed. All images that are saved should be used to evidence diagnosis and aid reporting. The images alone should not be used to retrospectively diagnose

- For scans performed under ergonomically challenging conditions or with time constraints such as portable scans on the ward or within clinics a reduced set of images may be saved

- Record the name of any chaperone present in comments box on RADIS

- Complete the exam in RADIS

- If the patient is found to have a significant stenosis (>50%) either symptomatic or asymptomatic, or other pathology such as a dissection, then the vascular on-call reg or consultant of the week (COW) should be bleeped on 5214 for management advice.

- Note; patients referred for carotid artery scan for cardiac surgery work up will be followed up by cardiac and do not require bleep to vascular surgery (registrar or COW) regardless of disease burden. If the patient is reporting any TIA symptoms that could be related to significant carotid disease or there is any doubt, follow steps in 3.5.

- Note; if significant extracranial carotid disease is identified in an inpatient, then a bleep to vascular surgery (registrar or COW) is not required. Patient should be sent back to ward for follow up.

- References

- European Carotid Plaque Study Group 1995 Carotid artery plaque composition – relationship to clinical presentation and ultrasound B-mode imaging. European Journal of Endovascular Surgery 10: 23-30 https://pubmed.ncbi.nlm.nih.gov/21855017/

- Oates CP et al., Joint Recommendations for Reporting Carotid Ultrasound Investigations in the United Joint recommendations for reporting carotid ultrasound investigations in the United Kingdom - PubMed (nih.gov)

Carotid Duplex Scan Numbers (June 2024 – July 2024)

| Date | Scan | Report |
| --- | --- | --- |
| 04-Jul | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 12-Jul | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 10-Jul | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA and ECA. Minor calcified plaque at the ICA origins bilaterally but no evidence of any surgically significant extracranial carotid artery disease bilaterally on duplex. Normal antegrade vertebral flow. |
| 08-Jul | UDCAB | US Doppler carotid artery Both BOTH: Some minor calcification but no evidence of any surgically significant extracranial carotid or vertebral artery disease bilaterally on duplex. |
| 24-Jun | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 20-Jun | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 10-Jun | UDCAB | US Doppler carotid artery Both BOTH: Some minor calcification but no evidence of any surgically significant extracranial carotid or vertebral artery disease bilaterally on duplex. |
| 12-Jul | UDCAB | US Doppler carotid artery Both NB: Limited scan. Scanned in chair as patient unable to transfer. BOTH: Some minor calcification seen at the carotid bifurcation and ICA origin bilaterally, but no evidence of any surgically significant extracranial carotid artery disease bilaterally on duplex. Vertebral arteries not visualised. |
| 10-Jul | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 14-Jun | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 12-Jul | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 14-Jun | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 13-Jun | UDCAB | US Doppler carotid artery Both RIGHT: Small, irregular calcified plaque at the ICA origin (<50%). No evidence of any extracranial carotid artery disease. Normal antegrade vertebral flow. LEFT: Some minor calcification but no evidence of any surgically significant extracranial carotid or vertebral artery disease bilaterally on duplex. NB: ?enlarged thyroid on the right - suggest alternative imaging if clinically indicated. |
| 12-Jul | UDCAB | US Doppler carotid artery Both BOTH: Some minor calcification seen at the carotid bifurcation and proximal ICA bilaterally but no evidence of any surgically significant extracranial carotid or vertebral artery disease bilaterally on duplex. |
| 10-Jul | UDCAB | US Doppler carotid artery Both RIGHT: Normal CCA, and ECA. Small calcified plaque at the ICA origin (<50%). No evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. LEFT: Normal CCA. Small, irregular calcified plaque at the ICA origin (<50%), however, no evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. Tight stenosis at the ECA origin (PSV >400 cm/s). |
| 13-Jun | UDCAB | US Doppler carotid artery Both RIGHT: Some mild calcification noted, however, no evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. LEFT: Small, irregular calcified plaque at the ICA origin (<50%). No evidence of any extracranial carotid artery disease. Vertebral artery not visualised. |
| 14-Jun | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 08-Jul | UDCAB | US Doppler carotid artery Both RIGHT: Large smooth homogenous plaque at ICA origin causing a 70-89% stenosis (PSV 269 cm/s). Distally free from atheroma. Normally positioned bifurcation. LEFT: Some mild atheroma but no evidence of any surgically significant extracranial carotid or vertebral artery disease on duplex. |
| 03-Jul | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 08-Jul | UDCAB | US Doppler carotid artery Both RIGHT: Limited assessment due to tortuous ICA and relatively high bifurcation. Where seen normal CCA, ECA and ICA with no evidence of surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. LEFT: Normal CCA, ICA and ECA with no evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 10-Jun | UDCAB | US Doppler carotid artery Both BOTH: Some minor calcification but no evidence of any surgically significant extracranial carotid or vertebral artery disease bilaterally on duplex. |
| 11-Jul | UDCAB | US Doppler carotid artery Both BOTH: Relatively tortuous carotid arteries bilaterally, otherwise, normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 24-Jun | UDCAB | US Doppler carotid artery Both RIGHT: Normal CCA, and ECA. Small, irregular heterogenous plaque at the ICA origin (<50%). No evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. LEFT: Normal CCA, and ECA. Small, irregular heterogenous plaque at the ICA origin (<50%). No evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 14-Jun | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 10-Jul | UDCAB | US Doppler carotid artery Both BOTH: Irregular calcified plaque at the ICA origin (<50%) bilaterally, however, no evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 20-Jun | UDCAB | US Doppler carotid artery Both Some minor calcification but no evidence of any surgically significant extracranial carotid or vertebral artery disease bilaterally on duplex. |
| 16-Jul | UDCAB | US Doppler carotid artery Both RIGHT: Normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease. Normal antegrade vertebral flow. LEFT: Normal CCA and ECA. There is homogenous plaque in the proximal ICA approximately 1.5 cm distal to origin with velocities suggestive of a 50-69% stenosis (PSV 133 cm/s). Distal to the stenosis the ICA opens out extracranially. Normally positioned bifurcation. Patent vertebral artery with normal antegrade flow |
| 16-Jul | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 17-Jul | UDCAB | US Doppler carotid artery Both NB: Limited scan due to tracheostomy tube and dressings. Patient scanned on A3 Link. RIGHT: Where seen the CCA, ECA and ICA are patent with no evidence of any surgically significant extracranial carotid artery disease. LEFT: Patent CCA and ECA. Large heterogeneous plaque at ICA origin with velocities and appearance indicating a 70-89% stenosis (PSV 245 cm/s). ICA opens out extracranially. Distally free from atheroma. Normally positioned bifurcation. |
| 19-Jul | UDCAB | US Doppler carotid artery Both BOTH: Minor calcified plaque at ICA origin (<50%) but no evidence of any surgically significant extracranial carotid. Patent vertebral artery with normal antegrade flow. |
| 19-Jul | UDCAB | US Doppler carotid artery Both BOTH: Some minor calcification seen in the ICA origin bilaterally, but no evidence of any surgically significant extracranial carotid artery disease. Normal antegrade vertebral flow. |
| 19-Jul | UDCAB | US Doppler carotid artery Both BOTH: Minor calcified plaque at ICA origin (<50%) bilaterally, but no evidence of any surgically significant extracranial carotid. Patent vertebral artery with normal antegrade flow. |
| 22-Jul | UDCAB | US Doppler carotid artery Both RIGHT: Some minor calcification noted, however, no evidence of any surgically significant extracranial carotid artery disease. Patent vertebral artery with normal antegrade flow. LEFT: Normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease. Patent vertebral artery with normal antegrade flow. |
| 22-Jul | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any extracranial carotid artery disease bilaterally. Patent vertebral artery with normal antegrade flow bilaterally. |
| 24-Jul | UDCAB | US Doppler carotid artery Both RIGHT: Irregular heterogenous plaque at ICA origin (<50%) but no evidence of any surgically significant extracranial carotid. The ECA origin is severely stenosed (PSV >500 cm/s). Patent vertebral artery with normal antegrade flow. LEFT: Large heterogenous plaque at ICA origin with velocities and appearance indicating a 50-69% stenosis (PSV 166 cm/s). ICA opens out extracranially. Normally positioned bifurcation. Patent vertebral artery with normal antegrade flow. |
| 24-Jul | UDCAB | US Doppler carotid artery Both BOTH: Some minor calcification noted, however, no evidence of any surgically significant extracranial carotid artery disease bilaterally on duplex. Patent vertebral artery with normal antegrade flow bilaterally. |
| 24-Jul | UDCAB | US Doppler carotid artery Both BOTH: Normal CCA, ICA and ECA with no evidence of any significant extracranial carotid artery disease bilaterally. Patent vertebral artery with normal antegrade flow bilaterally. |
| 24-Jul | UDCAB | US Doppler carotid artery Both BOTH: Some minor calcification noted, however, no evidence of any surgically significant extracranial carotid artery disease bilaterally on duplex. Patent vertebral artery with normal antegrade flow bilaterally. |