Local Lower Limb Artery Duplex Imaging Protocol:

LOWER LIMB ARTERIAL IMAGING

- SCOPE & OBJECTIVE

- Arterial duplex ultrasound examination to assess for stenotic, occlusive or aneurysmal arterial disease in the major arteries of the lower extremity and abdomen.

- To provide operators with general instructions on how to undertake the investigation.

- Responsibility

- The clinical scientist (or trainee clinical scientist) performing the scan is responsible for undertaking the procedure.

- The clinical scientist may alter procedure depending on individual patient and clinical information required.

- The chaperone/ clinical scientist (or trainee clinical scientist) is responsible for undertaking the patient identification.

- Imaging Procedure

- Confirm patient identifiers (Name, DOB and Address) and introduce themselves. Explain the scan procedure and obtain informed consent (trust consent policy). Obtain any relevant clinical history. Verify that the request correlates with patient’s clinical presentation.

- The protocol may be adjusted for a clinically focussed scan of a particular region, as per scan request.

- This is potentially an intimate procedure and if deemed so, then a chaperone can be present in the room at the time of the investigation. Ensure patient dignity is maintained throughout the examination.

- Ask the patient to lie on the bed supine for the abdominal and proximal leg investigation.

- Use sterile gel if required as per the sterile gel protocol.

- Select the correct patient on the ultrasound machine. Select the arterial pre-set and appropriate probe.

- The following techniques should be used to evaluate the lower arterial systems: B-mode should be used to assess for any aneurysmal dilatation and vessel contents e.g. atheroma, calcification, plaque or thrombus. Colour Doppler should be used to assess the presence or absence of flow and to detect stenoses. Spectral Doppler should be used to determine flow direction, to grade stenoses and to determine the arterial waveform (i.e. monophasic, biphasic, triphasic, hyperaemic – appendix 1) (1).

- Image common femoral artery (CFA) in longitudinal using B-mode, colour and spectral Doppler.  Check patency of the artery and extent of any disease.

- Save an image of the CFA, including waveform and any other representative images, where possible.

- If the CFA waveform is triphasic continue to scan distally. If the CFA waveform is significantly modified or if aorto-iliac disease is suspected, then an aorto-iliac scan should be performed. This includes using colour and spectral Doppler to assess the aorta, common iliac artery (CIA), internal iliac artery (IIA) (where possible) and external iliac artery (EIA) for arterial disease.

- When scanned, and where possible, save a representative image of the aorta, CIA and EIA showing patency and waveform and any other representative images that may be appropriate. Make sure limitations are stated on the report if images aren’t saved.

- Image the profunda femoral artery (PFA) origin and check for patency and stenosis.

- Image the superficial femoral artery (SFA) in longitudinal (and transverse if necessary) using colour and spectral Doppler to determine patency and extent of disease.

- Examine the patency of the popliteal artery and the extent of disease using colour and spectral Doppler.

- A distal image of the SFA and popliteal artery showing patency and waveform should be saved as a minimum, where possible.

- Image the posterior tibial artery (PTA), anterior tibial artery (ATA) and peroneal artery (PER) in longitudinal and cross section if necessary, noting any disease present. The calf arteries can be challenging to view when calcified. Where possible, save a representative image of each tibial vessel showing patency and waveform as a minimum.

- If a stenosis is identified, then the following grading criteria should be used (table 1) (2):

| PSV ratio | % Stenosis |
| --- | --- |
| <2 | Not haemodynamically significant |
| >2 | 50-75% (Moderate) |
| >4 | >75% (Severe) |
| No colour flow | Complete Occlusion |

- Triphasic and biphasic waveforms represent normal flow patterns and monophasic waveforms represent presence of disease.  Hyperaemic multiphasic (above baseline) can indicate enhanced blood flow due to distal vessel dilation from ulceration/infection or distal occlusion.

- If a complete occlusion is suspected check for trickle flow. Reduce the colour scale or use power Doppler and/or superb microvascular imaging and/or spectral Doppler to confirm occlusion. Note the presence of collateral vessels and level of reconstitution.

- If an acute event is suspected (acute arterial embolus or thrombus present with possible arterial distension). Determine extent of the obstruction.

- For aneurysmal disease, if requested (or suspected) measure vessel diameter in transverse/longitudinal section. Note presence of aneurysm/ sites of ectasia on the report.

- At the end of the scan provide the patient with tissue to wipe any excess gel. Inform the patients of the results and let them know the report will be available for the referring doctor to access.

- Images and Reporting

- End the exam on the machine to send images to PACS

- This is a dynamic scan and any images saved are not representative of the full scan performed. All images that are saved should be used to evidence diagnosis and aid reporting. The images alone should not be used to retrospectively diagnose

- For scans performed under ergonomically challenging conditions or with time constraints such as portable scans on the ward or within clinics a reduced set of images may be saved

- Record the name of any chaperone present in comments box on RADIS

- Complete the exam in RADIS

- Report the scan on the “CWM” patient reporting system.

- For any urgent findings; including acutely ischemic limb or newly diagnosed above surgical threshold aneurysm bleep the on-call vascular registrar (5214).

- References

- Interpretation of peripheral arterial and venous Doppler waveforms: A consensus statement from the Society for Vascular Medicine and Society for Vascular Ultrasound; Interpretation of peripheral arterial and venous Doppler waveforms: A consensus statement from the Society for Vascular Medicine and Society for Vascular Ultrasound - Esther SH Kim, Aditya M Sharma, Robert Scissons, David Dawson, Robert T Eberhardt, Marie Gerhard-Herman, Joseph P Hughes, Steve Knight, Ann Marie Kupinski, Guillaume Mahe, Marsha Neumyer, Patricia Poe, Rita Shugart, Paul Wennberg, David M Williams, R Eugene Zierler, 2020 (sagepub.com)

- SVT Professional Standards Committee April 2021. Arterial duplex ultrasound examination; Arterial_PPG_-_29.03.21.pdf (svtgbi.org.uk)

- Appendices

- Appendix 1 – Waveform Examples

TRIPHASIC:

BIPHASIC:

MONOPHASIC:

HYPERAEMIC:

Peripheral Arterial Scan Numbers (June 2024 – July 2024)

| Date | Scan | Report |
| --- | --- | --- |
| 14-Jun | ULLAL | US Doppler lower limb arteries Lt LEFT: The left above knee popliteal artery aneurysm measures 1.9 cm in LS and 1.8 cm in TS (outer to outer AP diameter measurement) |
| 20-Jun | ULLAL | US Doppler aorta Aorta: The aorta is patent with triphasic flow, but does appear ectatic with a maximum diameter of 3.0 cm (outer to outer AP measurement). US Doppler lower limb arteries Lt LEFT: The Common iliac artery occludes just beyond the origin, collaterals noted. The external iliac artery is patent with monophasic flow. Widely patent common femoral, profunda femoral (origin), superficial femoral and popliteal arteries with no evidence significant arterial disease and monophasic flow throughout. Patent three vessel run-off with monophasic flow seen in anterior tibial, posterior tibial and peroneal arteries to ankle. |
| 20-Jun | ULLAR | US Doppler lower limb arteries Rt RIGHT: Triphasic CFA waveform. The CFA, PFA (origin), SFA and POPA are calcified with some poor views but no evidence of any haemodynamically significant arterial disease. Heavily calcified run-off with poor views throughout. No flow detected in the TPT, ?occluded. PTA is occluded throughout the mid section, monophasic flow seen distally. Flow seen in segments of the PERA, but not seen in continuity. The ATA origin is patent but then occluded in the proximal calf, monophasic flow seen in the distal ATA. |
| 24-Jun | ULLAL | US Doppler lower limb arteries Lt LEFT: Calcified CFA with biphasic flow. Patent PFA origin. The SFA is calcified throughout with a severe >75% stenosis in the distal SFA (PSV >500 cm/s). Calcified POPA with monophasic flow. Heavily calcified run-off. Monophasic flow in proximal ATA, no flow detected in the distal ATA. PERA and PTA not assessed as the scan was terminated early due patient becoming unwell during the scan. |
| 03-Jul | UGRAF | US Graft surveillance RIGHT AK POP-BK POP GRAFT: Turbulent flow noted at the proximal anastomosis. Widely patent graft with multiphasic flow throughout (PSV 50-60 cm/s). Patent TPT with multiphasic flow. |
| 03-Jul | UGRAF | US Graft surveillance Right: There is a tight (>75%) proximal EIA stenosis (PSV >4m/s). The fem-fem-cross over graft appears widely patent with monophasic flow seen in the distal graft. |
| 03-Jul | ULLAL | US Doppler lower limb arteries Lt- Clinic scan LEFT: Patent CFA with triphasic flow. The SFA occludes approx. 4 cm from the origin with refilling seen in the mid-thigh via collaterals. The distal SFA is patent with monophasic flow. |
| 03-Jul | ULLAL | US Doppler lower limb arteries Lt- Clinic scan LEFT: Widely patent popliteal artery stent with triphasic flow throughout. |
| 04-Jul | UGRAF | US Graft surveillance - Clinic scan Right fem-pop graft: No significant residual stenosis at the proximal anastomosis. The graft is widely patent with triphasic flow throughout and good run-off onto the popliteal artery. |
| 04-Jul | ULLAB | US Doppler lower limb arteries Lt - CAVA clinic scan Aorta: Limited views due to bowel gas and patient movement. Where seen the aorta is patent with normal diameter (1.7 cm) LEFT: Unable to visualise the CIA due to bowel gas. The EIA, CFA, SFA and POPA are occluded. The occlusion is relatively echolucent and appears acute in nature. There is some flow seen in the proximal PFA. No flow seen in the proximal PTA, otherwise, the distal PTA, PERA and ATA are patent with very low damped flow. RIGHT: Focussed assessment. The POPA is occluded. Low monophasic flow seen in the ATA. |
| 05-Jul | ULLAL | US Doppler lower limb arteries Lt LEFT: Patent CIA and EIA with triphasic flow. The tight EIA stenosis noted on recent MRA (17.06.24) was not demonstrated on ultrasound today. The CFA and PFA (origin) are patent with triphasic flow. The proximal SFA is patent. There is a severe >75% stenosis in the mid SFA (PSV 40-316 cm/s). The distal SFA and proximal POPA are very small calibre and heavily calcified causing very limited views - no flow detected, possible occlusion. Low monophasic flow seen in the mid to distal POPA. Limited views of the calf veins due to calcification and oedema. Low monophasic flow seen throughout the ATA. Unable to detect the PTA. Monophasic flow seen in the mid PERA, but the PERA was not seen in continuity, |
| 05-Jul | ULLAR | US Doppler lower limb arteries Rt RIGHT: Triphasic CFA waveform. The CFA, PFA (origin) and proximal SFA are mildly calcified but patent. There is a severe >75% stenosis in the distal SFA (PSV >500 cm/s). Calcified POPA and TPT with low monophasic flow. Very poor views of the run-off due to oedema and calcification. Monophasic flow seen in the PTA and PERA only, not seen in continuity. No flow detected in the ATA. |
| 08-Jul | ULLAR | US Doppler lower limb arteries Rt - focussed assessment. Right: Triphasic flow seen in the popliteal artery and distal PTA, ATA and PERA indicating no significant peripheral arterial disease. |
| 10-Jul | ULLAR | US Doppler lower limb arteries Rt RIGHT: Triphasic CFA waveform. The CFA, PFA (origin), SFA and POPA are calcified with some poor views but no evidence of any haemodynamically significant arterial disease. Heavily calcified run-off with poor views throughout. No flow detected in the TPT, ?occluded. PTA is occluded throughout the mid section, monophasic flow seen distally. Flow seen in segments of the PERA, but not seen in continuity. The ATA origin is patent but then occluded in the proximal calf, monophasic flow seen in the distal ATA. |
| 10-Jul | ULLAR | US Doppler lower limb arteries Rt - Focussed assessment of the right common iliac Aorta: Patent with triphasic flow Right: Calcified plaque in the proximal CIA causing a borderline 50% stenosis. Limited views of the mid to distal CIA due to bowel gas, however, where seen the CIA appears calcified but patent. Patent EIA with triphasic flow. |
| 11-Jul | ULLAB | US Doppler lower limb arteries Both No flow seen in the aorta, likely occluded. RIGHT: Poor views of the CIA, likely occluded. Calcified but patent EIA. Monophasic flow in the CFA. Patent PFA origin. The SFA is patent throughout with monophasic flow. Damped monophasic flow in the POPA. Three vessel run-off with monophasic flow at the ankle. LEFT: Occluded CIA. Calcified but patent EIA. The CFA is calcified with monophasic flow. Patent PFA origin. The SFA is patent throughout with monophasic flow. Damped monophasic flow in the POPA. Three vessel run-off with monophasic flow at the ankle. |
| 11-Jul | ULLAR | US Doppler lower limb arteries Rt RIGHT: Large calcified plaque in the distal CFA causing a 50% stenosis. The fem-pop bypass graft is widely patent with biphasic throughout. Calcified but patent popliteal artery with biphasic flow. Biphasic flow seen in the PTA and ATA at ankle. |
| 11-Jul | ULLAR | US Doppler lower limb arteries Rt RIGHT: Triphasic CFA waveform. Patent PFA origin. The SFA is calcified throughout with a moderate 50-75% stenosis in the proximal thigh and a severe >75% stenosis in the mid-distal thigh. Monophasic flow seen in the distal SFA. There is a long severe >75% stenosis in the proximal POPA which extends to distal POPA. Calcified run-off. Monophasic flow seen throughout the PERA and the ATA (dominant) and distal PTA only. |
| 11-Jul | ULLAR | US Doppler lower limb arteries Rt - clinic scan RIGHT: Patent CIA and EIA stent. Enhanced velocities throughout CIA and EIA but no obvious focal stenosis. There is a slight kink in the mid right to left fem-fem crossover graft causing approx. 50% narrowing, otherwise patent graft. |
| 12-Jul | ULLAL | US Doppler lower limb arteries Lt NB: Limited scan due to poor patient mobility, pain and extensive below knee dressings. LEFT: The CFA, PFA (origin) and SFA widely patent with at least biphasic flow throughout. Patent POPA with hyperaemic multiphasic flow. Run-off not assessed due to dressings. |
| 15-Jul | UULAR | US Doppler upper limb arteries Rt NB: Limited scan due to patient movement throughout the scan. RIGHT: Raised velocities noted in the distal brachiocephalic artery (PSV 288 cm/s) suggestive of significant stenosis, unable to scan more proximally. The subclavian, axillary, brachial, radial and ulnar arteries are all patent with monophasic flow and no evidence of any significant arterial disease. |
| 19-Jul | ULLAL | US Doppler lower limb arteries Lt Comments: Recent popliteal artery angioplasty (3/52 ago), focused scan to assess popliteal and run-off patency. LEFT: The distal SFA is patent with multiphasic flow but does occlude at adductor level, collateral noted. The proximal to mid popliteal artery is occluded (this is relatively echo lucent, ?acute event), recanalization seen in the mid POPA. Patent mid to distal POPA and TPT with monophasic flow. Calcified and small calibre tibial vessels causing limited views. Where seen the PERA and ATA are patent with monophasic flow. Significant stenosis noted in the proximal PTA, otherwise patent with monophasic flow. |
| 22-Jul | UULAR | US Doppler upper limb arteries Rt RIGHT Patent pseudoaneurysm originating from the distal radial artery. Sac size measures 14 mm x 21 mm in Transverse View and 15 mm x 36 mm in Longitudinal View. The pseudoaneurysm neck diameter is 2.0 mm and the neck length is 4.8 mm. |
| 25-Jul | ULLAR | US Doppler lower limb arteries Rt NB: Focussed assessment of right iliac and femoral arteries. Previous right common femoral artery thrombus reported. Patient scanned on PCCU. RIGHT: The proximal CIA is widely patent, unable to assesses the mid to distal CIA due to bowel gas. The EIA, CFA, PFA (origin) and proximal SFA are widely patent with triphasic flow throughout. |
| 30-Jul | ULLAL | US Doppler lower limb arteries Lt LEFT: Triphasic CFA waveform. Patent PFA origin. The SFA is patent with multiphasic flow throughout with an approximately 50% stenosis seen in the proximal and distal thigh. Patent POPA with multiphasic flow. The PTA is patent throughout (dominant run-off vessel), no flow seen in the distal ATA ?occluded. Limited views of the PERA, however, where seen patent with multiphasic flow. The DPA on the mid foot is patent with high resistant flow, suggestive of significant distal disease. |
| 30-Jul | ULLAL | US Doppler lower limb arteries Lt LEFT: Irregular and calcified CFA with multiphasic waveform and turbulent flow. Calcified but patent PFA origin. Approximately 5 cm distal to origin the SFA occludes, total occlusion length is approx. 15 cm, refilling via collaterals seen in the mid thigh. The mid-distal SFA is calcified with a severe >75% stenosis a few centimetres distal to occlusion. The POPA is irregular and calcified but patent with monophasic flow throughout. Heavily calcified tibial vessels with very poor views. Monophasic flow seen throughout the PTA and PERA and in the proximal ATA only (?distal ATA occlusion). Toe Pressure Assessment (Lt): Unable to detect great toe pulse on PPG and therefore unable to record toe pressure. |
| 31-Jul | ULLAL | US Doppler lower limb arteries Lt LEFT: Triphasic CFA waveform. The CFA, PFA (origin), SFA and POPA are patent with triphasic flow throughout. Patent TPT. Calcified three vessel run-off with triphasic flow seen to ankle. The proximal PDA is patent with hyperaemic flow, unable to scan more distally due to wounds. |
| 05-Aug | ULLAL | US Doppler lower limb arteries Lt LEFT: Irregular and calcified CFA. The fem-pop bypass is patent with triphasic flow throughout. Patent proximal anastomosis. There is a significant >75% stenosis at the distal anastomosis (PSV 45-232 cm/s). Patent distal popliteal artery and PTA with triphasic flow. |
| 05-Aug | ULLAL | US Doppler lower limb arteries Lt - Focussed assessment of the popliteal artery LEFT: There is a popliteal artery aneurysm (23 mm) which is occluded. |