| Policy Title | Local Examination and Clinical Standards Protocol – Vascular Laboratory |
| --- | --- |
| Author/Contact | Steven Wallace |
| Review Date | 01/7/2017 |
| Distribution: All Staff with patient contact, Clinical Scientists, HCA, Nursing Staff, Students. |  |

| Version | Date Revised | Description of Changes | Revised By |
| --- | --- | --- | --- |
| V2 | 1/9/2016 | Chaperoning update in line with local policy update. | S Wallace |
| V3 | 28/10/2016 | Update surveillance protocols | S Wallace |
| V4 | 17/1/2017 | Correction of surveillance protocol regarding vein graft surveillance | S Wallace / S Hargreaves |
| V5 | 25/1/2017 | Addition of CeUS pre op checklist completion to CeUS protocol | S Wallace/ S Hargreaves |
| V6 | 31/1/2017 | Addition of incidental DVT pathway, TOS protocol, popliteal entrapment protocol & amendment of EVAR protocol to include EVAS specific guidance. Removal of blood requests from EVAR surveillance. | S Wallace |
| V7 | 16/5/2017 | Embedded IC and Inpatient referral policy | S Wallace |
| V8 | 18/8/2017 | Policy Review | S Wallace |
| V9 | 11/6/2018 | Addition of Temporal artery duplex | S Wallace |
| V10 | 30/8/2018 | Addition of Omni-flow bypass surveillance | S Wallace |
| V11 | 17/10/2018 | Update of EVAS surveillance | S Wallace |

Please read in conjunction with the local infection control and inpatient referral policy.

Contents

Expected quality and reporting standards.	3

Guidance for images sent to PACS	3

Preparation	3

Preparation - Patient considerations	4

Following the exam	4

Reporting Errors	5

Clinical findings that need urgent review	5

ABPI and exercise testing	5

Duplex Ultrasound Lower Limb Arterial System	6

Popliteal Entrapment	8

Abdominal aorta and Aorto – Iliac segment (Arterial assessment)	9

Upper Limb Arterial Assessment	10

Thoracic Outlet Syndrome (TOS) Assessment - Arterial	11

Thoracic Outlet Syndrome (TOS) Assessment - Venous	11

Abdominal aorta and Aorto – Iliac segment (Aneurysm screening)	12

Duplex ultrasound scanning of Endovascular Aneurysm Repair (EVAR) including EVAS	13

Fenestrated/Branched Endografts.	14

Contrast Enhanced Ultrasound (CeUS) .	15

Venous Duplex, Varicose veins / DVT	19

DVT Assessment	21

Venous Mapping-GSV	22

Radiofrequency Ablation for Varicose Veins.	23

Upper limb venous assessment - DVT	24

Renal and Mesenteric duplex.	25

Carotid Duplex	26

Bypass Graft Assessment.	28

Duplex Assessment for Temporal Artery Arteritis (TAA)	28

Appendix	29

1.	Interpretation of resting ABPI readings	29

2.	AAA surveillance protocol	30

3.	Common Iliac aneurysm surveillance protocol	30

4.	Popliteal artery aneurysm surveillance protocol	30

5.	Infrainguinal bypass graft surveillance protocol –	31

6.	EVAR Surveillance Protocol (Standard Device) & IBD/IBE	31

7.	EVAS – Amended Surveillance Protocol	32

8.	Complex EVAR Surveillance Protocol, fEVAR, chEVAS, BEVAR)	32

9.	Carotid Artery Stenosis. Velocity Grading Criteria	32

10.	SMA	32

11.	Coeliac Axis	32

12.	Renal artery stenosis criteria	33

13.	Deep Vein Thrombosis (DVT) pathway	33

14.	Reporting of ultrasound findings when assessing for Temporal Artery Arteritis	33

# Expected quality and reporting standards.

The Liverpool Vascular and Endovascular Service (LiVES) has an expected quality and reporting standard that encompasses vascular laboratory practice at the Royal Liverpool Hospital. This is driven by regular multi discipline team (MDT) meetings where reports and images are discussed from a number of differing image modalities from a range of clinical scenarios.

Reporting from vascular laboratory investigations is expected to be clear, concise and without ambiguity. All reports must contain a conclusion, summarising the report body.

# Guidance for images sent to PACS

There is no limit to the amount of images to be sent to PACS however, images must be annotated correctly, be representative of the exam taken place and supportive of the written report. Ambiguous/unclear images should not be sent. Any pathology referred to on the report must have a corresponding image. Difficulty in obtaining images or poor quality, i.e. due to bowel gas will be explicitly noted with in the report text. For non-pathological investigations, images of the origin (when appropriate), proximal, mid and distal segments of the each vessel (excluding the profunda) will be sent to PACS. http://www.svtgbi.org.uk/professional-issues/

# Preparation

Patient information must be read prior to approaching the patient to confirm examination type and that the room and equipment are set up appropriately.

The patient is identified in the waiting area by name alone and directed to the examination area or assisted by an appropriate member of staff if considered necessary.

Once the patient is in a confidential setting the patients name, date of birth and address is confirmed by asking the patient i.e. “can you tell me your full name, address and DOB, NOT by patient confirmation from a staff prompt i.e. “you are John Smith, and your DOB is 01/01/1999.”

The patient is asked ‘do they know why they are here?’ and asked to describe their symptoms.

The staff member will describe the test, reassure the patient accordingly and, allowing for the patient to give informed consent.

The patient is asked to remove appropriate jewellery / clothing (with assistance if needed) and will be given a hospital gown when appropriate. The staff member should be conscious of patient privacy and dignity at all times and takes appropriate steps to uphold these values. This is dictated as per the patient needs and specific consent and any chaperone requests should be appropriately documented in the patients’ case-notes/report. Please refer to the local chaperone policy for guidance.

After the examination is performed the patient is assisted where necessary off the examination couch once they feel able (adhere to manual handling protocols at all times)

# Preparation - Patient considerations

During all ultrasound examination the patient’s mental and physical status should be monitored and modifications made to the examination accordingly as occasionally, patients may feel faint/nauseous/anxious during the examinations.

The patient’s dignity and privacy should be maintained at all times during the examination but this should also be extended to patients who are waiting, pre and post examination. This applies mainly, but not solely, to inpatients when for example, it may not be appropriate for the patient to wait in the generic waiting room, i.e. arriving in their bed, soiled dressings, catheter in situ etc. It must also be established how the patient would like to be addressed throughout the examination.

Safety of the patient whilst waiting to be returned to the ward must also be considered. Reasonable steps must be taken so not to place the patient at risk. The patient is the responsibility of the clinical scientist who performed the test unless appropriately handed over to another member of staff.

The following must be adhered to reduce risk to the patient

- Appropriate observation, with appropriate location of the patient post exam

- Timely return to the ward

- Assessing and mitigating risk of fall, confusion, harm if left unaided

Due to intimate nature of some examinations, it may be considered necessary to offer a chaperone. Guidance is available from the departmental, local policy, ‘maintaining privacy and dignity’ policy on the trust intranet and from the society for vascular technology website http://www.svtgbi.org.uk/professional-issues/. Staff should be familiar with these policies.

# Following the exam

The patient is informed of the basic results but referred to the appropriate clinician for management discussion. Future management is not discussed with the patient.

Ensure appropriate and efficient transfer of the exam results to the referring clinician so treatment plans can be enforced or expedited accordingly. For routine outpatients the report should be verified, ideally the same day and no longer than 24 hours to allow for viewing electronically. Inpatient reporting and verifying should be performed immediately after the exam. If this is not possible a verbal report to the referring team can mitigate the delay.

Reporting

The report is a recording and interpretation of observations made during the examination; it should be written by the staff member undertaking the examination and viewed as an integral part of the whole examination. The report should include correct patient demographics; date of examination; examination type and the name of the staff member.

# Reporting Errors

Errors identified on verified reports can be corrected by adding an addendum to the report, explaining the error. This amended report now becomes the master copy and replaces any copies of the original for planned surveillance, informing the relevant referring clinician by email and/or letter. Any printed copies are to be destroyed.

# Clinical findings that need urgent review

On discovery of significant clinical findings on outpatients, the vascular registrar/consultant of the week is to be contacted immediately and a summary of the findings discussed. Examples of scenarios where this is appropriate are, acute ischaemia, incidental large AAA, Type 1 and/or 3 endoleak following EVAR.

Sub-acute scenarios such as EVAR limb/bypass graft stenosis can be fed back to the referring consultant and secretary via email and documented on the electronic report to be reviewed by the referring clinician. These examples are not exhaustive and discussion should take place with senior vascular laboratory staff and/or vascular medical staff if there is any doubt. For DVT see appendix 11.

It is expected that inpatient reports will be reviewed by the referring clinician and are reported and available for review as the test is reported immediately following the examination.

# ABPI and exercise testing

Equipment

Hand held Doppler, Adult blood pressure cuff with sphygmomanometer.

Patient Positioning:

The patient should be supine and the equipment and limbs at heart level to reduce hydrostatic pressure inaccuracies; the patient should be fully rested for 5 to 10 minutes before the test.

Obtaining brachial systolic blood pressure:

Perform test bilaterally; if the patient has a haemodialysis fistula use contralateral arm. Place the cuff around the upper arm ensuring that the bladder of the cuff is over the brachial artery. Place the held Doppler probe over the brachial artery at an angle (ideally between 45° and 60°) to detect the signal. Record the phasicity of the waveform then inflate the cuff until the artery is occluded and the signal drops out. Deflate cuff slowly (approx. 4mmHg per second) and record the systolic pressure as the Doppler signal returns.

Obtaining ankle pressures:

Perform test bilaterally. Place the cuff around the calf above the medial malleolus. In turn listen to the Doppler signals in the posterior tibial, anterior tibial and dorsalis pedis Record the phasicity of the signal in each vessel and the systolic pressure by repeating the method of inflating the cuff to point of occlusion, and slowly deflating.

Exercise test:

Perform resting ABPI. The exercise test is designed to bring about the patients symptoms. Exercise the patient for 3 to 5 minutes until claudication symptoms prevents them from going any further. After exercise return the patient to the couch in a supine position and repeat the ABPI measurement as quickly as possible (within 45 seconds). A step test or rapid calf raises (‘tiptoe test’) can be used until the desired symptoms are bought on. If the patient exercises for more than 5 minutes without symptoms then the test should be stopped.

ABPI = Highest ankle systolic pressure (mmHg) / Highest brachial systolic pressure (mmHg)

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/ABPI-at-rest-and-post-exerciseSept2015edit.pdf

# Duplex Ultrasound Lower Limb Arterial System

Probe

Linear 5-7 MHz

Measurements

PSV – cm/s

Diameter, length etc - cm

Patient Positioning

Patient supine with the leg externally rotated and knee slightly flexed. The popliteal artery can be accessed from this position or with the patient prone, on their side or with legs dependent. Similarly for the crural vessel segment.

Procedure

The common femoral artery (CFA) is visualised using colour and grey scale imaging in longitudinal section (LS) and transverse section (TS) and traced proximally to the inguinal ligament in both planes. Waveform characteristics & peak systolic velocity (PSV) are recorded at this level. Any disease morphology is recorded and significant (x2) velocity increases are recorded and the location is noted.

(If CFA disease is severe/calcified/irregular then the contralateral CFA is imaged to give guidance for percutaneous access)

Any abnormality that could indicate more proximal disease is to be recorded and the iliac segment is to be investigated. This is at the discretion of the operator but there should be a low threshold for suspicion and subsequent iliac segment scanning.

The CFA is traced to the Profunda femoris (PFA) / superficial femoral artery (SFA) bifurcation where any pathology is again noted at this level. The PFA origin is imaged and is noted as normal, diseased or stenosed and a PSV and waveform (changes) are recorded accordingly. The origin of the SFA is interrogated in the identical manner.

The full length of the SFA is traced proximal to distal, though the adductor canal. Pathology is noted as stenotic, occlusive, diffuse, calcified, thrombotic etc and PSV & waveform readings are taken at regular intervals as appropriate. If a significant lesion is identified then its length and location is noted, proximal, mid, distal thigh etc. PSV measurements are taken across stenotic lesions and compared to that of the pre stenotic value. Greater than 2x increase in PSV is noted as significant. <2 x increases is recorded as moderate or mild and graded on grey scale imaging. Phrases to describe significantly diseased segments are, occluded, stenosed, and diffusely diseased.

In the case of vessel occlusion it should be noted where the vessel occluded from and reconstitutes i.e. for SFA occlusions, above/below knee and where the occlusion begins, ‘from the origin’ / ‘short stump of SFA’

1. The popliteal artery is then assessed with the patient supine, knee flexed and the limb externally rotated

Or

2. with the patient sitting on the edge of the examination couch with legs dependent

Or

3. with the patient lying supine on their front

If using methods 2 or 3 then ABPIs must be taken prior to patient movement.

The popliteal artery is interrogated as per the SFA and disease recorded in the same way. Location of disease is noted to be in the upper mid or distal popliteal and the disease segment in relation to the knee crease is reported. The TPT and calf run off vessels are to be interrogated along their length. PSV changes and waveforms are to be recorded through the run off and disease reported as per the SFA.

Typical phrases to describe diseased segments are, occluded, stenosed, calcified  and diffusely diseased.

Ankle brachial pressure indices (ABPI) are to be taken at the end of the examination using the higher brachial pressure and highest pedal pressure between posterior and anterior tibial artery or dorsalis pedis. (PTA, ATA, DP respectively)

In ALL diabetic patients resting toe pressures are to be taken instead of the ABPI with a comment on the waveform of the ATA and PTA at the ankle.

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/ABPI-at-rest-and-post-exerciseSept2015edit.pdf

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/LowerLimbArterialPSCFinalJuly2015edit.pdf

Cole, S. E. A, et al. Vascular Laboratory Practice, part III. IPEM. 2001

# Popliteal Entrapment

Probe

Abdominal 2-5MHz curved Array

Measurements

PSV – cm/s

Diameter, length etc – cm

The femoro- popliteal artery to the trifurcation is assessed as per the lower limb arterial assessment combined with a resting ABPI.

The popliteal artery is then assessed posteriorly with the patient standing, raised onto the balls of their feet, contracting the calf muscles.

Any impingement, turbulence or changes to the waveform are noted and the location within the popliteal artery reported. Whenever possible a dynamic cine loop is to be taken to depict the changes as the patient rises to contract the calf muscle.

If imaging of the popliteal becomes difficult during the calf raise it may be helpful to isonate the lower calf vessels to identify any changes.

A post exercise ABPI is taken, using calf raises as the exercise, to complete the test.

# Abdominal aorta and Aorto – Iliac segment (Arterial assessment)

Probe

Abdominal 2-5MHz curved Array

Measurements

PSV – cm/s

Diameter, length etc - cm

Patient Positioning

Patient supine, degree to be dictated by what is comfortable for the patient, and with their arms by their sides. Vessels can be imaged in the oblique or lateral decubitus if required to allow flexibility to achieve optimum views.

Procedure.

The common femoral artery (CFA) is visualised using colour and grey scale imaging in longitudinal section (LS) and transverse section (TS) and traced proximally to the inguinal ligament. Waveform characteristics & peak systolic velocity (PSV) are recorded at this level. Any disease morphology is recorded and significant (x2) velocity increases are recorded and the location is noted.

(If CFA disease is severe/calcified/irregular then the contralateral CFA is imaged to give guidance for percutaneous access)

The CFA is traced to the Profunda femoris (PFA) / superficial femoral artery (SFA) bifurcation where any pathology is noted at this level. The PFA origin is imaged and is noted as normal, diseased or stenosed and a PSV and waveform (changes) are recorded accordingly. The origin of the SFA is interrogated in the identical manner.

The external iliac artery (EIA) is traced proximally from the inguinal ligament/origin of the CFA. Regular colour and spectral analysis are needed to identify and confirm focal lesions. The EIA/IIA bifurcation is identified (where possible) and spectral / colour Doppler analysis undertaken at the origin of both the EIA and IIA. This process is repeated proximally through the common iliac artery (CIA) to the aorto-iliac bifurcation. Any areas of dilation, turbulence (even in the absence of significant velocity increase) and disease are to be noted. Phrases to describe diseased segments are, normal, occluded, stenosed and/or diffusely diseased.

The abdominal aorta is identified at the most proximal segment attainable. The aorta is then followed distally identifying any areas of disease, dilation, dissection etc. Spectral Doppler is to be taken to identify any focal stenotic disease. This is repeated to the CIA bifurcation and origin of each CIA.

ABPI is then performed as per protocol.

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/AortoiliacPSCprotocolJuLY2015edit.pdf

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/LowerLimbArterialPSCFinalJuly2015edit.pdf

Cole, S. E. A, et al. Vascular Laboratory Practice, part III. IPEM. 2001

# Upper Limb Arterial Assessment

Probe

Linear 5-7MHz

Measurements

PSV – cm/s

Diameter, length etc - cm

Patient Positioning

Patient supine or sitting upright in a chair

Procedure

Identify the origin, on the right, or most proximal segment of the subclavian artery on the left using grey scale and trace to the clavicle to identify any aneurysmal dilation or plaque morphology. This segment is the interrogated using spectral Doppler to determine direction of flow, stenotic (>2x increase in psv) flow and absence of flow combined with colour Doppler to assess for the presence/absence of flow and aid the position of spectral Doppler when quantifying stenoses. It is also pertinent to assess flow in the ipsilateral proximal common carotid, to give indication of severity of brachiocephalic artery disease on the right or possible aortic arch disease on the left.

The ipsilateral vertebral artery is identified and flow direction confirmed by comparison to the adjacent common carotid artery. Vertebral flow is assessed with both spectral and colour Doppler.

The distal subclavian, axillary and brachial arteries are assessed in the same manner as the proximal subclavian artery, sampling at points of flow disturbance and possible pathology. In a normal vessel measurements should be taken from the proximal, mid and distal segments.

The brachial bifurcation is assessed in detail using spectral and colour Doppler with the origin of the radial and ulnar arteries identified. Both radial and ulnar arteries are traced to the wrist or from the wrist back to their origins and interrogated regularly using spectral Doppler to determine direction of flow, stenotic flow and absence of flow combined with colour Doppler to assess for the presence/absence of flow and aid the position of spectral Doppler when quantifying stenoses.

Waveform characteristics & peak systolic velocity (PSV) are recorded at all levels. Any disease morphology is recorded and significant (x2) velocity increases are recorded and the location is noted.

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/UpperLimbArterialFINALJuly2015Edit.pdf

Cole, S. E. A, et al. Vascular Laboratory Practice, part V. IPEM. 2005

# Thoracic Outlet Syndrome (TOS) Assessment - Arterial

Probe

Linear 5-7MHz

Measurements

PSV – cm/s

Diameter, length etc - cm

Patient Positioning

Patient sitting upright

The proximal subclavian to distal axillary/proximal brachial artery is assessed as per the upper limb arterial assessment noting any significant pathology within the vessels. To assess for TOS the distal subclavian/proximal axillary artery is dynamically imaged during full rotational and abduction of the affected limb, ideally with cine loop images to depict the effects of the compression.

If there is difficulty in imaging the more proximal vessel, then the brachial artery can by imaged similarly.

Changes in waveform and velocity are noted along with the movement that induced the changes are to be reported.

# Thoracic Outlet Syndrome (TOS) Assessment - Venous

Probe

Linear 5-7MHz

Measurements

PSV – cm/s

Diameter, length etc - cm

Patient Positioning

Patient sitting upright

The upper limb is assessed as per the upper limb venous assessment from the proximal subclavian to the lower axillary vein. Any note of resting venous stenoses/DVT is reported upon. The axillary/distal subclavian artery is assessed with the arm abducted then rotated to assess for poor drainage and, if technically possible, the subclavian vein is also assessed dynamically to identify compression.

It is noted that this examination is technically challenging and can often be inconclusive.

# Abdominal aorta and Aorto – Iliac segment (Aneurysm screening)

Probe

Abdominal 2-5MHz curved array

Measurements

PSV – cm/s

Diameter, length etc - cm

Patient Positioning

Patient supine with their arms by their sides. This level is dictated by what is comfortable for the patient.

Procedure.

The abdominal aorta is identified and imaged from the supra coeliac segment to the aortic bifurcation using grey scale imaging. The maximum aneurysm dimensions are measured (outer to outer margins of the aorta) in longitudinal section (LS) & transverse section (TS). The maximum TS dimensions are recorded for the largest aneurysm dimensions.

The abdominal aorta is followed distally in transverse section and the aorto-iliac bifurcation is identified. From this point both common iliac arteries (CIAs) are followed to the EIA/IIA bifurcation in LS and TS, whichever is most appropriate to achieve accurate dimension measurements, and any areas of dilation are measured in TS whenever possible

Colour flow imaging is used to determine patency only; velocities are not routinely taken during aneurysm assessment although tortuosity and other abnormalities i.e. inflammatory tissues are to be noted in the report.

The report must include the location of the aneurysm, supra/juxta/infra renal and if it involves the iliac bifurcation.

Cole, S. E. A, et al. Vascular Laboratory Practice, part III. IPEM. 2001

http://bestpractice.bmj.com/best-practice/monograph/145/prevention.html

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/AortoiliacPSCprotocolJuLY2015edit.pdf

# Duplex ultrasound scanning of Endovascular Aneurysm Repair (EVAR) including EVAS

Probe

Abdominal 2-5MHz curved array

Measurements

PSV – cm/s

Diameter, length etc - cm

Patient Positioning

Patient supine with arms by their sides. This is dictated by what is comfortable for the patient.

Procedure.

The full length of the abdominal aorta is imaged and measured as per standard AAA surveillance protocol, with additional measurements of the aneurysm neck (when possible) Iliac seal zone where possible, and maximum aneurysm dimensions which are measured in LS & TS. The maximum TS (both AP and ML) dimensions are recorded for the aneurysm and iliac vessels, if aneurysmal and maximum LS dimensions for the aneurysm neck.

Notes are to be made of the echogenicity of thrombus within the aneurysm sac i.e. echo lucent areas or homogenous.

The native iliac system and common femoral arteries are imaged using colour flow imaging and spectral Doppler, making note of the waveform characteristics and velocities at this point. Any arterial disease of the iliac segment distal to the respective limb of the endograft is also to be noted, assessed and reported as per arterial duplex protocol.

The endograft is now interrogated using colour and spectral Doppler to ascertain patency and flow heamodynamics of the main body of the endograft as well as both limbs. Any abnormalities in these parameters are to be reported. Waveform characteristics & peak systolic velocity (PSV) are recorded within the endograft. Any disease morphology is recorded and significant (x2) velocity increases are recorded and the location is noted. Kinking and tortuosity of the limbs and associated haemodynamic effects are also to be reported.

The aneurysm is to be assessed using colour Doppler to identify arterial blood flow outside of the endograft but within the aneurysm sac (endoleak). If flow is identified it is confirmed with spectral Doppler and its source identified i.e. IMA, Lumbar, proximal/distal seal zone and the appropriate type of endoleak reported.

Specifically for EVAS, the aneurysm is viewed in grey scale to assess for any degree of endobag separation. This is quantified by measuring the space between the endobags and comparing this with the images from previous surveillance images. CT images can also be helpful in identifying changes.

# Fenestrated/Branched Endografts.

The above standard EVAR protocols are adhered to with the addition of –

SMA and coeliac axis are imaged and waveforms are obtained at their origins. Grey scale and colour flow duplex protocols are used as per mesenteric duplex criteria.

Each Kidney is imaged in longitudinal section and measurements taken from the outer margins of the upper to lower pole

For renal fenestrations, waveforms and velocity measurements are taken from, or as close to the origin of the stented renal artery and just distal to the stent. PSV and RI are taken and recorded from the renal artery waveform.

Considerations.

Ensure that the whole kidney is ‘in plane’ and not viewed obliquely. This scan is not to identify renal pathology. Cysts, hydronephrosis, solid masses identified are to be reported as a query and suggested assessment by the appropriate team/specialist in the report.

Seromas and lymphoceles can be noted at the incision site in the groin. Size and location are to be noted.

Cole, S. E. A, et al. Vascular Laboratory Practice, part III. IPEM. 2001

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/EVARprotocolforPSCFinalJuly15edit.pdf

# Contrast Enhanced Ultrasound (CeUS) .

Probe

Abdominal 2-5MHz curved Array

Measurements

PSV – cm/s

Diameter, length etc – cm

Time- seconds

Patient Positioning

Patient supine with arms by their sides. This is dictated by what is comfortable for the patient.

Procedure

Pre procedure checklist is completed by the Doctor or appropriate medical professional administering the contrast medium and counter signed by the patient. Check all appropriate resuscitation equipment is available.

Perform standard EVAR surveillance scan prior to CEUS as per local vascular laboratory protocol

Ensure reason for performing CEUS is known, the patient is aware of the procedure and what it entails. The reason for the test is to be documented on the report.

Ensure that all disposables and contrast medium are available for use

Practitioner who is administering the contrast must use the contraindication list provided to ensure CEUS is appropriate for the patient at this time.  Ensure resuscitation equipment is available in the department (defibrillator, oxygen cylinder with mask and suction machine).

- Suitably qualified staff obtains venous access and contrast medium prepared as per manufactures guidance.

- Obtain optimum view of area of concern prior to contrast injection using appropriate machine set ups and controls as determined by the operator.

- As contrast is injected (usually 1 ml at a time) start the timer.  Once microbubbles are identified in the region of interest the cine loop is started.

- Multiple cine-loops can be taken to identify specifics of the examination

- The process can be repeated using up to 5ml of contrast solution

- Record all relevant images as cine loops and / or still images where appropriate.  Timing of the injection to visualisation of contrast in the sac will aid identification of the endoleak – immediate filling suggests a type 1 or 3, type 2 endoleak has a longer time delay. This can require review at an appropriate workstation.

(If using a high frequency transducer, a 2 ml dose performs better)

On completion of scan:

- Send images to PACS – (end exam action on scanner)

- Ensure patients’ health has not changed

- Remove venflon before patient leaves department

- Patient should remain in department for half an hour following procedure to ensure no complications occur.

Results of CEUS are to be discussed with referring clinician following completion of the test and at the MDT where appropriate.  Evidence of a type 1 or 3 endoleak will need immediate discussion with referring surgeon and/or consultant of the week as urgent intervention will be required.

CEUS Contraindications

- Under 18 years old

- Previous reaction to Sonovue

- Allergy to sulphur hexafluoride (used in electrical industry in circuit breakers, switch gears & electrical equipment)

- Recent acute coronary syndrome or unstable angina, typical angina at rest or frequent or repeated angina/chest pain – all within previous 7 days

- Recent coronary intervention

- Recent ECG changes

- Heart failure

- Severe rhythm disorders

- Right to left cardiac shunts

- Severe increase in pulmonary artery blood pressure

- Uncontrolled hypertension

- Adult respiratory distress syndrome

There are no reports of interactions between Sonovue and other medicines.

Sonovue has not been studied in pregnant women or breast feeding women.

If any of the above is applicable CEUS cannot be carried out.

CEUS Equipment

- Pink 20G venflon or Green 18G venflon

- 10 ml syringes

- Saline (5 ml flush injection post contrast injection)

- Gauze

- Tegaderm

- Tape

- Sonovue

- 3 way tap (connect to venflon if needed)

- PACKAGING CONTAINS:

- Sonovue vial – 25mg of lyophilised powder

- Prefilled syringe – 5 ml sodium chloride 0.9%

- Minispike transfer system - Stability after reconstruction is 6 hours.

Administration of Sonovue

- Connect plunger rod by screwing it clockwise into syringe

- Open the minispike transfer system blister and remove syringe tip cap.

- Open transfer system cap and connect to the syringe by screwing it clockwise

- Remove flip cap plastic protective disk from vial.  Slide vial into transparent sleeve of transfer system and press firmly to lock into place.

- Empty contents into syringe

- Shake vigorously for 20 seconds to mix contents which will become a homogenous white milky dispersion – if solid parts are seen discard.

- Invert syringe and withdraw Sonovue into syringe for use.

If Sonovue is not used immediately after reconstitution it will need to be shaken again before use.

In this vascular unit Sonovue is usually injected 1 ml at a time but can be given in 2 ml doses.  Repeated doses can be given up to 5mls per patient.

Stability after reconstruction is 6 hours.

Side effects of Sonovue

Side effects are usually mild and not prolonged.

Common side effects are:

- Headache (2.4%)

- Nausea

- Injection site reaction – burning, bruising, numbness (1.7%)

- Injection site pain (1.4%)

Less common side effects are:

- Itching

- Rash

- Pain (abdominal, chest or back)

- Vasodilation

- Increase in blood sugar levels

- Blurred vision

- Irritation in throat

- Sinus pressure

- Numbness

- Dizziness

- Difficulty in sleeping

- Feeling weak

- Strange taste

Patient should remain in department for half an hour following procedure to ensure no complications occur.

It has been previously documented that premature ventricular contractions occur when high MI and systolic triggering is used in echocardiography, resuscitation equipment should therefore be available.

# Venous Duplex, Varicose veins / DVT

Probe

Linear 5-7 MHz

Measurements

PSV – cm/s

Diameter, length etc – cm

Time- seconds

Competence - slight (0.5-0.9s) full (>1s)

Patient Positioning

The patient is examined standing or at a minimum of 30 degree angle on a tilting table, this is to be able to assess the competency of the valves against gravity.

Procedure

The common femoral vein (CFV) is identified in LS using both grey scale and colour imaging. Phasicity is noted with spectral Doppler and competence is assessed using colour and spectral Doppler with calf augmentation and a valsalva manoeuvre. The sapheno-femoral junction is identified and its competence status assessed in the same fashion as the CFV. (Valsalva may not be needed)

The CFV is traced, in LS, distally to the femoral vein (FV)/ profunda vein (PV) bifurcation; again competency is assessed with calf augmentation/Valsalva using colour and spectral Doppler.

The FV is followed distally in LS to the adductor canal with regular calf augmentation and colour/spectral Doppler interrogation to assess competency.

The locations of incompetent perforating veins are to be included in the report and their relationship to any incompetent/varicose veins noted.

All above knee deep veins are then viewed using grey scale imaging in transverse section and compressed using light probe pressure. The interrogated vein must completely compress. (If DVT is noted see DVT section below)

The GSV is now traced distally to the knee from the previously assessed SFJ. GSV competence is assessed as per the deep veins with regular colour/spectral Doppler interrogation.

Segmental incompetence is to be noted and any visible tributaries identified and their relation to varicosities reported. If the GSV is varicose or there is thrombus present then it must be reported and the varicose/affected segment reported on. Also, if the GSV breaks the deep-superficial fascia and/or becomes bifid, the location must be noted. The report must state suitable/unsuitable for endovenous ablation with reason in the conclusion.

Contraindications for RFA are varicose segments, long phlebitic segments, short segments that prohibit access and a ‘safe’ burn with the appropriate sized catheter (7/3cm)

The popliteal segment must be assessed with the limb dependent. Usually, with the patient standing, facing away or with the patient sitting on the edge of the examination couch with the leg dependent. The popliteal and gastrocnemius veins are assessed for competency as per above knee segment. The popliteal vein is traced to the division of the proximal peroneal and posterior tibial veins (PTV.) All deep veins are then viewed in transverse section and compressed using light probe pressure. The interrogated vein must completely compress. (If DVT is noted see DVT section below)

Soleal veins, when identified, are assessed for patency only with the application of probe pressure.

The short saphenous vein (SSV) is identified in the proximal calf in TS. It is important to identify the SSV lying within the elliptical fascia superficial to the gastrocnemuis veins to avoid misidentification. It is then traced proximally to the sapheno-popliteal junction (SPJ) assessing the SPJ for competency. If the SPJ is absent then this is to be noted and a vein of Giacomini (VoG) identified (if possible). The VoG is assessed as per the deep venous system and its proximal connection identified if incompetent and the relationship of the VoG to the varicosities and deep veins are to be noted.

The SSV is now traced distally from the SPJ. SSV competence is assessed with regular colour/spectral Doppler interrogation.

Segmental incompetence is to be noted and any visible varicosities are to be traced to source. If the SSV is varicose or there is thrombus present then it must be reported and the varicose/affected segment specified. If the SSV breaks the deep-superficial fascia and/or becomes bifid, the location must be noted. The report must state suitable/unsuitable for EVLT/VNUS with reason in the conclusion.

All venous reports that involve investigation and normal findings of the deep venous system must begin- CFV flow is phasic with respiration and normal valsalva response. All visualised deep veins are patent and competent with no evidence of DVT

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/LowerLimbVenousforIncomptenceProtocolPSCFinalJuly2015edit.pdf

# DVT Assessment

Probe

Linear 5-7 MHz

Measurements

PSV – cm/s

Diameter, length etc – cm

Time- seconds

Competence - slight (0.5-1s) full (>1s)

Patient Positioning

Patients can be assessed supine with the limb externally rotated. Competency can be assessed with a Valsalva manoeuvre if required.

The common femoral vein (CFV) is identified in LS using both grey scale and colour imaging. Phasicity is noted and competence is assessed using colour and spectral Doppler with a valsalva manoeuvre. The sapheno-femoral junction is identified and its patency assessed in the same fashion as the CFV (Valsalva may not be needed) to assess for extension of thrombus from a possible thrombophlebitis.

In the presence of a continuous CFV waveform and/or abnormal valsalva, the iliac veins and IVC are imaged by tracing proximally from the inguinal ligament using the abdominal 2-5MHz curved array. Patency is identified using respiration and valsalva. The location and severity of any thrombus is noted as per infra inguinal DVT report below.

The FV is followed distally in LS to the adductor canal with regular calf augmentation/Valsalva and colour/spectral Doppler interrogation to assess patency.

All above knee deep veins are then viewed in transverse section and compressed using light probe pressure. The interrogated vein must completely compress.

If infra inguinal vessel DVT is identified, its location (above knee/below knee), appearance (fresh/chronic) and severity is noted (occlusive/non-occlusive. It is not always necessary to assess for venous competence when specifically requested to rule out DVT, however this can be assessed with a valsalva response. When possible it is useful to differentiate between acute and chronic thrombus.

It is recommended that the popliteal segment is assessed with the limb dependent. Usually, with the patient standing, facing away or with the patient sitting on the edge of the examination couch with the leg dependent. The popliteal, gastrocnemius and soleal veins when able, are assessed for patency as per above knee segment. The popliteal vein is traced to the division of the proximal peroneal and posterior tibial veins (PTV.) All deep veins are then viewed in transverse section and compressed using light probe pressure. The interrogated vein must completely compress.

The SPJ is identified and its patency assessed in the same fashion as the deep veins (Valsalva may not be needed) to assess for possible extension of thrombus.

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/LowerLimbVenousforIncomptenceProtocolPSCFinalJuly2015edit.pdf

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/Lower-Limb-Venous-DVT-Protocol-PSC-Final-Draft-July-2015edit.pdf

# Venous Mapping-GSV

Probe

Linear 5-7 MHz

Measurements

PSV – cm/s

Diameter, length etc – cm

Time- seconds

Competence - slight (0.5-1s) full (>1s)

Patient Positioning

Patient supine with the limb externally rotated.

Procedure

The common femoral vein (CFV) is identified in LS using both grey scale and colour imaging. The sapheno-femoral junction is identified and its patency assessed with colour imaging and probe compression. The GSV is assessed as per the venous assessment, located at the SFJ and imaged along its length. Any areas of tortuosity or varicosity are noted. Large associated branches are also noted in the report. The vein is measured in TS diameter at its proximal, mid and distal thigh and calf segments. The threshold for bypass conduit suitability is 3mm. Veins of around 3mm ( +/- 0.2mm) are classed as borderline and their suitability can be queried in the report. It is also to be noted on the report if the patient was assessed standing or supine. If the vein is of unsuitable or borderline suitability with the patient supine then, if possible, the patient should be assessed standing or a tourniquet applied around the upper thigh. The nature of the examination should be noted in the report i.e. supine, tourniquet/standing.

The vein is not regularly marked on the skin unless done as an inpatient procedure or asked for specifically by the referring clinician. In these cases, the vein and branches are marked using waterproof marker by imaging the vein in TS and placing ‘dots’ as markers over the underlying vein. These markers can be joined or left as markers for the clinician.

If the requested vein is found to be unsuitable it may be pertinent to assess the contralateral GSV +/- upper limb veins. The upper limb veins are assessed in the same fashion from their proximal connection to the deep veins and the same suitability criteria apply.

Ishii, Y. et al. Minimum Internal Diameter of the Greater Saphenous Vein Is an Important Determinant of Successful Femorodistal Bypass Grafting that Is Independent of the Quality of the Run off. Vascular July 1, 2004 12: 225-233,

# Radiofrequency Ablation for Varicose Veins.

This is a consultant led procedure under ultrasound guidance and therefore specific requirements may vary between consultants.

Probe

Linear 5-7 MHz

Measurements

PSV cm/s

Diameter, length etc – cm

Patient Positioning

Patient supine with leg externally rotated.

Access to the GSV/SSV is gained by the surgeon. If assistance is required, the vein is imaged using grey scale, in either transverse or longitudinal plane to identify the access needle as it approaches the vein to be treated.

Prior to injection of tumescent anaesthesia, the appropriate junction and deep vein confluence is identified to assure that the RFA catheter does not protrude into the deep venous system and that the tip of the catheter is retracted  at least 2cm from this junction.

Once circumferential coverage by tumescent anaesthesia of the vein to be treated is achieved and confirmed by tracing the length of the vein in transverse section, the appropriate junction is re imaged to confirm that there has been no change in position and that the deep vein is safely away from the tip of the catheter prior to activation the RFA generator (>2cm)

There is no ultrasound input during or following the ‘burn’ of the vein unless the directing surgeon requires imaging of the deep venous system/junction confluence. If this is required, the deep vein to be assessed is viewed using grey scale imaging in transverse section and compressed using light probe pressure. The interrogated vein must completely compress.

http://www.nice.org.uk/guidance/ipg8/evidence/overview-255348253

Alessandra Puggioni, MD.et al. The safety of radiofrequency ablation of the great saphenous vein in patients with previous venous thrombosis. Journal of Vascular Surgery Volume 49, Issue 5, May 2009, Pages 1248–1255

# Upper limb venous assessment - DVT

Probe

Linear 5-7 MHz

Patient positioning

The patient can be assessed sitting upright to allow the upper limb veins to fill adequately.

Procedure

The procedure below is described for all upper limb veins including the internal jugular vein brachiocephalic vein (Right) subclavian, axillary, brachial, radial and ulnar veins.

B-mode should be used to image the vein with and without compression, with incomplete compression indicating possible thrombus. If compression is difficult due to anatomical location (common in the proximal subclavian artery) the veins should compress with sharp inspiration. If thrombus is present its age should be determined (chronic/acute) using echogenicity as a guide. It is also important to determine the occlusive nature of the thrombus using b-mode in conjunction with colour flow. Spectral Doppler should be used specifically within the subclavian vein to assess the waveform (i.e. whether it is phasic in nature). It is good practice to compare this with the other side even in a unilateral scan as venous flow differs widely from patient to patient. In order to augment the phasic nature of flow it may be necessary to ask the patient to exaggerate their breathing. Continuous flow in the subclavian vein can be an indicator of more proximal occlusion. Colour Doppler should be used to assess for the presence/absence of flow in any areas where compression is incomplete. Squeezing of the hand/forearm can be performed to augment flow and identify occlusive/non-occlusive thrombus.

http://www.svtgbi.org.uk/assets/Uploads/Professional- Issues/UpperLimbVenousProtocolJuly2015edit.pdf

# Renal and Mesenteric duplex.

Probe

Abdominal 2-5MHz curved Array

Measurements

PSV cm/s

Diameter, length etc - cm

Patient Positioning

Mesenteric duplex - Patient supine with their arms by their sides. This is dictated by what is comfortable for the patient.

Renal duplex – Lateral decubitus.

Mesenteric vessels

The abdominal aorta is imaged as per aorto-iliac duplex. Waveforms and PSV are obtained in the abdominal aorta just proximal to the SMA/ coeliac axis origin. Grey scale, spectral and colour flow duplex are used to identify the SMA/ coeliac axis origin and assess their patency. If stenotic lesions are identified their location from the vessel origin is noted and the change in velocity from the abdominal aorta and/or proximal disease free vessel is recorded. Stenotic lesions are graded as per IPEM protocols see appendix 1.

Renal

Both Kidneys (unless specified) are measured in LS and assessed for colour filling.

The native supra-renal aorta is identified and a PSV taken. The renal artery is identified at its origin or alternatively at the kidney pelvis and traced back to the aorta. Either method is acceptable depending on the limitations of the exam. In LS, PSV readings noted along its length at proximal, mid and distal segments (if technically possible). %age stenoses are graded as per protocol in appendix 1 with waveforms characteristics included in the report if of clinical relevance.

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/MesentericPPG-completed-July2015edit.pdf

Cole, S. E. A, et al. Vascular Laboratory Practice, part VI. IPEM. 2005

# Carotid Duplex

Probe

Linear 5-7 MHz

Measurements

PSV – cm/s

Diameter, length etc – cm

Patient Positioning

Patient supine with neck exposed, head externally rotated supported by a pillow.

The common carotid (CCA) internal carotid (ICA) and external carotid (ECA) are imaged in LS and TS using grey scale imaging, making note of any pathology. The CCA is to be scanned from the most proximal point to the bifurcation and the ICA is to be imaged from its origin to the most distal point accessible. This is repeated with colour flow imaging to identify echo-lucent thrombus. PSV and EDV velocities are taken at the proximal and distal CCA (in a normal vessel) and at various points in a diseased vessel to identify significant velocity changes across diseased segments. The diameter reduction tool can also be applied in segments that show disease but with no significant increase in velocity.

In a normal ICA, PSV/ EDV readings are taken in the proximal, mid and distal vessel, the greater being used in the report. In diseased ICAs, the location (distance from the bifurcation), pathology and disease length are recorded. The distal disease free vessel needs to be identified and/or the point to which the disease extends. Terminology to describe plaque is soft, mixed, dense, calcified, irregular and ulcerative and must be included in the report.

The proximal segment of ECA is to be imaged and any disease noted. Stenosis here is to be noted as mild, moderate or severe, graded on the increase in PSV from the distal CCA to the diseased ECA or from the most proximal, disease free segment of ECA, accompanied with a velocity measurement. (1.5-1.9 mild, 2-2.49moderate, >2.5 severe)

The stenosis grading criteria published in the document ‘joint recommendations for reporting carotid ultrasound investigations’ is used to calculate a % stenosis.

Technical issues such as heavy calcification, high bifurcations are to be noted in the report, as are circumstances of conflict between velocity measurements and colour/grey scale images. Suggestions and recommendations can, and should, be included in the report in the presence of conflicting information or technical difficulties.

Vertebral arteries are assessed to determine flow direction compared with either the carotid artery or jugular vein. If the vertebral artery cannot be seen then the ipsilateral subclavian artery is imaged as per the upper limb protocol.

C.P. Oates, et al. Joint Recommendations for Reporting Carotid Ultrasound Investigations in the United Kingdom. European Journal of Vascular and Endovascular Surgery. Volume 37, Issue 3, March 2009, Pages 251–261

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/Carotid-Protocol-PSC-Final-Draft-July2015edit.pdf

# Bypass Graft Assessment.

Probe

Linear 5-7 MHz

Measurements

PSV – cm/s

Diameter, length etc. – cm

Patient Positioning

Patient supine with the leg externally rotated.

The proximal inflow vessel is visualised using colour and grey scale imaging in longitudinal section (LS) and transverse section (TS). Waveform characteristics & peak systolic velocity (PSV) are recorded at this level. Any disease morphology is recorded and significant (x2) velocity increases are recorded and the location is noted.

For femoral anastomoses, any abnormality that could indicate more proximal disease is to be recorded and the iliac segment is to be investigated (as per the aorto-iliac duplex protocol). This is at the discretion of the operator but there should be a low threshold for iliac segment scanning.

The proximal and distal anastomoses are identified and carefully interrogated on greyscale, colour and spectral Doppler to identify focal stenosis. Velocities are compared to the distal aspect of the inflow and a x2 velocity increase is classes as clinically significant. The body of the graft is assessed throughout and isolated at regular intervals recording waveform characteristics, mid graft psv and (volume flow at the mid graft point also). Abnormal mid graft velocities are that of <45cm/s.

Distal to the distal anastomosis the run off is assessed as per the protocol for that specific segment. For any bypass with a distal anastomosis higher than the mid-calf, an ABPI should be taken. If there is any doubt that the cuff would compromise the graft then a toe pressure should be taken.

Cole, S. E. A, et al. Vascular Laboratory Practice, part III. IPEM. 2005

# Duplex Assessment for Temporal Artery Arteritis (TAA)

Probe

Linear 18-5 MHz

Measurements

PSV – cm/s

Diameter, length etc. – cm

Patient Positioning

Patient supine with the head externally rotated.

When examining the Temporal arteries (TA) in patients with suspected Giant cell arteritis (GCA), the complete length of the common superficial TA with its frontal and parietal branches in transverse and longitudinal views should always be examined bilaterally. The first part of the common superficial TA can be detected at the level of the tragus. The probe should be applied in the transverse and subsequently the longitudinal plane or vice versa. After completing a sweep of the artery in one plane, the probe is rotated by 90 degrees and a further sweep performed in the opposite plane. The level of the bifurcation between frontal and parietal branches of TA serves as the marker point to define the start of the frontal and parietal branches, respectively, which are assessed in identical fashion.

As part of the TA assessment, the axillary arteries are also imaged bilaterally as per the upper limb arterial assessment. Pathology to be aware of is focal stenoses, occlusion and/or lining of the vessel with mixed echogenic material in keeping with arteritis

Definitions to describe ultrasound findings are shown in the appendix.

Sara Monti, Alberto Floris, Cristina Ponte, Wolfgang A Schmidt, Andreas P Diamantopoulos, Claudio Pereira, Jennifer Piper, Raashid Luqmani; The use of ultrasound to assess giant cell arteritis: review of the current evidence and practical guide for the rheumatologist, Rheumatology, Volume 57, Issue 2, 1 February 2018, Pages 227–235

# Appendix

# Interpretation of resting ABPI readings

>1.4 Incompressible indicating calcified vessels

>1.0 Normal (apply compression)

1.0 – 0.81 Mild peripheral arterial disease. (Apply compression with caution/ reduced compression)

0.8 – 0.5 Intermittent claudicant indicating moderate/ severe arterial disease (compression contra-indicated)

<0.5 Severe disease (compression contra-indicated)

<0.3 Critical ischemia (compression contra-indicated)

http://www.svtgbi.org.uk/assets/Uploads/Professional-Issues/ABPI-at-rest-and-post-exerciseSept2015edit.pdf

# AAA surveillance protocol

2.5-3.49cm 2 year follow up

3.5-4.49cm 1 year follow up

>4.5cm 6 monthly follow up

5cm or >5cm+ on presentation – blood test for eGFR and U+E

(Check for previous CT examinations and correspondence regarding watch and wait for larger aneurysms)

McCarthy, R. J., et al. "Recommendations for screening intervals for small aortic aneurysms." British journal of surgery 90.7 (2003): 821-826.

# Common Iliac aneurysm surveillance protocol

(In the absence of AAA or if an AAA is present with a longer surveillance period)

1.5-2.49cm 2 years

2.5-2.9m 1 year

3cm or >  6 monthly

Williams, S.K, et al. Survey of management of common iliac artery aneurysms by members of the Vascular Society of Great Britain and Ireland. Ann R Coll Surg Engl. 2014 Mar;96(2):116-20

# Popliteal artery aneurysm surveillance protocol

1-1.49cm 2 year scan intervals

1.5-1.99 annual scan intervals

2 cm and above 6 monthly scan intervals

A.A Pittathankal, R Dattani, T.R Magee, R.B Galland.. Expansion Rates of Asymptomatic Popliteal Artery Aneurysms. European Journal of Vascular and Endovascular Surgery, Vol. 27, Issue 4, p382–384

# Infrainguinal bypass graft surveillance protocol –

Vein

Duplex scan at

Pre Discharge

6 weeks

3 Months

6 Months - Discharge if no problems.

Restart protocol after any secondary intervention.

Prosthetic

Duplex scan at

Pre Discharge

3 Months

Omniflow

Pre Discharge

6 weeks

3 Months

6 Months

1 year

At year 1 refer back to consultant regarding further follow up.

Ferris,B.L., et al. Is early postoperative duplex scan surveillance of leg bypass grafts clinically important? J Vasc Surg. 2003 Mar ;37(3):495-500

Griffin, N. M. et al. Comparison of duplex ultrasound with digital subtraction angiography in the assessment of infra-inguinal autologous vein bypass grafts.

ANZ J Surg. 2006 Nov ;76(11):966-9

# EVAR Surveillance Protocol (Standard Device) & IBD/IBE

1/12 post op CT, US and plain x-rays (only if not performed before discharge)

Then yearly US, x-ray (abdomen AP and Lateral)

Harrison, G.J. et al. Surveillance after EVAR Based on Duplex Ultrasound and Abdominal Radiography. Eur J Vasc Endovasc Surg (2011) 42, 187-192.

# EVAS – Amended Surveillance Protocol

1/12 post op CT, US and plain x-rays (only if not performed before discharge)

6/12 US and plain x-rays (continues throughout surveillance, 18mth, 30mth, 42mth etc.)

Yearly CT, US, x-ray (abdomen AP and Lateral)

# Complex EVAR Surveillance Protocol, fEVAR, chEVAS, BEVAR)

1/12 post op CT, US, [plain x-rays (only if not performed before discharge)]

6/12 post op CT, US

Then annual CT, US, x-ray

# Carotid Artery Stenosis. Velocity Grading Criteria

C.P. Oates, et al. Joint Recommendations for Reporting Carotid Ultrasound Investigations in the United Kingdom. European Journal of Vascular and Endovascular Surgery. Volume 37, Issue 3, March 2009, Pages 251–261

Mesenteric and renal artery stenosis grading criteria.

# SMA

(Normal)

Fasting 140cm/s to 250cm/s

Post prandial approx. 160cm/s

Abnormal

PSV in excess of 275 cm/s

Cole, S. E. A, et al. Vascular Laboratory Practice, part VI. IPEM. 2005

# Coeliac Axis

Normal( Fasting) <240 cm/s

Abnormal (Fasting) >240cm/s = >50% stenosis

Abnormal non-fasting >200cm/s

Cole, S. E. A, et al. Vascular Laboratory Practice, part VI. IPEM. 2005

# Renal artery stenosis criteria

60-99 %age stenosis

RAR > 3.5

Renal artery PSV >200cm/s or <50 cm/s for proximal occlusion

Cole, S. E. A, et al. Vascular Laboratory Practice, part VI. IPEM. 2005

Stented renal arteries 60-99% stenosis

RAR >4.5

Renal artery PSV >280cm/s or <50cm/s for proximal occlusion

Walid Mohabbat, MD. et al. Revised duplex criteria and outcomes for renal stents and stent grafts following endovascular repair of juxtarenal and thoracoabdominal aneurysms. Journal of Vascular Surgery. Volume 49, Number 4.

# Deep Vein Thrombosis (DVT) pathway

At present any positive VTE identified should include the code “JVTE” then alt+P to enter the patient into a hospital audit to monitor diagnosis of DVT in patients.

Patient scanned as part of vascular clinic

Inform referring doctor of findings.  Fragmin will be administered by the clinic nurse and appointment made with the anti-coagulant clinic.  Patient will be provided with enough Fragmin to this date and shown how to self-administer.

Patient scanned as outpatient with no coinciding clinic appointment

In conclusion of report state “Positive scan for DVT – for DVT pathway” and take/send the patient to A/E reception with a copy of the report.  The treatment and any additional investigations will be performed by AMU who will follow the Trust DVT pathway.  As a curtesy you can ring A/E reception to inform them you are sending the patient but this is not required.

# Reporting of ultrasound findings when assessing for Temporal Artery Arteritis