
[image: image1.jpg]THE SOCIETY FOR
VASCULAR TECHNOLOGY OF
GREAT BRITAIN AND IRELAND





Vascular Physics, Haemodynamics and Instrumentation 
Syllabus 2017
Document ID:SVTPhysicsSyllabus2019v1
For review  2017 by SVT Education Committee
1.  Principles of Ultrasound, Transducers and Instrumentation (35%)
A. Elementary Principles of Ultrasound
· Definition of ultrasound

· Differentiation between audible sound and ultrasound

· Propagation of vibration

· Compression

· Rarefaction

· Frequency

· Wavelength

· Propagation speed

· Density

· Period

· Amplitude

· Pressure

· Power

· Intensity

· Decibels

· Units of measurement
B. General Physics Principles
· Voltage, current, charge

· Ohm’s law

· Power

· Intensity

· Units of measurement
C. Propagation of Ultrasound through Tissues
· Average speed of ultrasound in tissues

· Speed of ultrasound through air, bone and specific tissues

· Reflection

· Acoustic impedance

· Refraction

· Scattering

· Attenuation

· Absorption

· Units of measurement
D. Ultrasound Transducers
· Piezoelectric effect

· Piezoelectric materials

· Transducer construction and characteristics

· Crystal thickness

· Speed of sound in crystal material

· Frequency characteristics

· Bandwidth

· Quality factor

· Damping

· Sound beam characteristics

· Interference phenomenon

· Huygen’s principle

· Near field characteristics

· Far field characteristics

· Beam focusing

· Beam steering

· Effect of transducer frequency on beam characteristics

· Lateral resolution

· Axial resolution

· Slice thickness resolution
· 3D Transducer construction and  characteristics
· Electronic transducer construction and characteristics
E. Pulse-Echo Instruments, Storage and Display
· Continuous wave instrumentation

· Pulsed wave instrumentation

· Bi-directional Doppler instrumentation

· Uni-directional Doppler instrumentation

· Transmitter

· Receiver

· Amplification

· Compensation

· Compression

· Demodulation

· Rejection

· Scan Converter

· Image storage

· Digital devices

· Binary system

· Analogue and digital converters

· Digital memory

· Pre-processing functions

· Post-processing functions

· Display devices

· Archiving techniques

2.  Principles of Ultrasound Imaging (35%)
A. Pulse-Echo Imaging
· A-mode, B-mode, 3-D, and M-mode definitions

· Principles of real time B-mode image formation

· Principles of 3-D image formation

· Grey scale display

· Dynamic range

· Frame rate

· Number of lines per frame

· Number of focal regions

· Field of view

· Image depth

· Gain

· Time gain control (TGC)

· Image resolution

· Temporal resolution

· Range equation

· Pulse repetition frequency

· Pulse repetition period

· Pulse duration

· Spatial pulse length

· Compound imaging

· Tissue harmonic imaging
B. Doppler Physics Principles
· Doppler effect

· Doppler equation

· Doppler frequency shift

· Factors affecting the magnitude of the Doppler frequency shift

· Reflector Speed

· Audible Doppler signal analysis

· Continuous wave Doppler

· Pulsed wave Doppler
C. Spectral Doppler Imaging
· Basic principles

· Spectral analysis

· Fast Fourier Transform spectrum analysis

· Spectral Doppler display

· Direction

· Velocity

· Duration

· Magnitude

· Sample volume size

· Zero baseline

· Pulse repetition frequency (PRF)

· Wall filter

· Doppler gain

· Spectral broadening

· Aliasing

· Diagnostic measurements

· Pulsatility index

· Resistive index

· Volume flow
D. Colour flow imaging
· Basic principles

· Sampling methods

· Reflector direction

· Average velocity

· Velocity variance

· Autocorrelation

· Time domain processing

· Colour box size

· Frame rate

· Ensemble length

· Line density

· Maximum depth

· Hue

· Saturation

· Luminance

· PRF

· Colour display baseline

· Wall filter

· Colour gain

· Colour frame rate

· Aliasing

· Power Doppler

· Basic principles

· Displayed information

· Advantages and limitations

· Contrast agents and harmonic imaging

E. Artifacts
· Artifacts associated with resolution

· Artifacts associated with propagation

· Reverberation

· Comet tail

· Mirror image

· Multi-path side lobes

· Grating lobes

· Refraction

· Speed error

· Range ambiguity

· Artifacts associated with attenuation

· Shadowing

· Enhancement

· Focal enhancement

· Focal banding

· Artifacts associated with Doppler and colour flow imaging

· Aliasing

· Slice thickness

· Reverberation

· Mirror imaging

· Ghosting

· Flash

· Registration

· Incident beam angle

· Clutter

· Artifacts associated with electronic noise

· Artifacts associated with equipment malfunction
3.  Haemodynamics, Physiology and Fluid Dynamics (20%)
A. Arterial Haemodynamics
· Energy gradient

· Effects of viscosity, friction and inertia

· Pressure/flow relationships

· Velocity

· Steady flow

· Laminar flow

· Disturbed flow

· Turbulent flow

· Pulsatile flow

· Effects of stenosis on flow characteristics (direction, steal phenomenon, waveform )

· Effects of occlusion on flow characteristics (direction, steal phenomenon)

· Velocity

· Acceleration

· Entrance / exit effects

· Diameter reduction

· Area reduction (Diameter reduction and Stenosis calculation)
· Peripheral resistance

· Collateral effects

· Effects of exercise

· Hyperaemic response

· Bernoulli’s equation

· Poiseuille’s equation

· Reynolds Number
B. Venous Haemodynamics
· Venous resistance

· Hydrostatic pressure

· Pressure / volume relationship

· Effects of respiration

· Effect of oedema

· Effects of muscle pump action

· At rest

· Contraction

· Relaxation
C. Tissue Mechanics / Pressure Transmission
· Venous occlusion by limb positioning

· Superficial venous occlusion by tourniquet

· Volume changes caused by blood inflow/outflow variation

· Arterial occlusion by tourniquet (effect of oedema, calcification)

· Arterial pressure measurements

· Venous pressure measurements
D. Plethysmography
· Two-wire/four-wire resistance measurements, graphical recording, calibration, AC/DC

· Coupling
· Photoplethysmography

· Impedance plethysmography

· Displacement (pneumatic cuff)

· Strain gauge

· Oculoplethysmography pressure
4.  Quality Assurance and Ultrasound Safety (10%)
A. Instrument Performance, Evaluation, Maintenance and Safety
· Quality assurance programs

· Methods for evaluating equipment performance

· Test objects or tissue equivalent phantoms

· Doppler flow, string or belt phantoms

· Equipment parameters evaluated using test objects or phantoms

· Acoustic output quantities

· Pressure

· Power

· Intensity

· Spatial and temporal considerations

· Average and peak intensities

· SATA

· SPTA

· SPPA

· SPTP

· Methods for determining pressure, power and intensity

· Acoustic exposure

· Acoustic output labelling

· Thermal index

· Mechanical index

· Maintenance of equipment

· Electrical and mechanical hazards
B. Biological Effects and Safety
· Primary Mechanisms of Biological Effect Production

· Cavitation

· Thermal

C. Output display standards and BMUS safety guidelines (2009) for peripheral vascular scanning
                                                                                                                                                           7

